## 461.1-MI
South Coast Air Quality Management District 21865 Copley Drive, Diamond Bar, CA 91765 www.aqmd.gov 1-800-CUT-SMOG |  | Mobile Fueler Daily Maintenance Inspection Form Maintained pursuant to Rule 461.1 (j)(1)(A) and Attachment B
Company Name: | [16 empty] | Facility ID: | [7 empty] | Permit #:
Address: | [8 empty] | City: | [7 empty] | Zip: |  |  |  | Month: | [7 empty] | Year:
Day of the Month
Requirement |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
GENERAL
Mobile Fueler did not Transfer or Dispense Gasoline on this Date
Initials of Person who Performed Inspection
Defective Components Documented in Repair Log on this Date
PHASE I
Spill Containment - no liquid / no debris
Fill Caps and Vapor Dust Caps - undamaged / gasket installed / cap closes tight
*Drybreak Cap - undamaged / gasket installed / cap closes tight
*Drybreak Functioning - poppet depresses and seals properly
*Liquid not Visible in Vapor Return Line Drop Out Sight Gauge
*Cargo Tank Pressure - compliant range
PHASE II / DISPENSING
Signage - Sign posted with complete information
Hoses - no tears / no punctures / no kinks or crimps / no flat spots / no blockages
Nozzles - no drips / no leaks
Nozzle Spouts - not loose / proper diameter
Nozzle Faceplates - not torn / good seal / alignment marks correct
Nozzle Bellows - not damaged / no tears / no slits
Nozzle Shut-Off Mechanisms - no debris in shut-off port / functional
Nozzle Latching Device Springs - good condition / functional
Nozzle Hold Open Latches - good condition
*Nozzle Vapor Collection Holes (Phase II) - clear
*Nozzle Vapor Check Valve (Phase II) - good condition
*Insertion Interlock Mechanism (Phase II) - good condition
*Liquid Removal device (Phase II Balance Only) - good condition
*Breakaways - not damaged / leaking / flow direction correct
*Vapor Processor - functioning properly
** Vapor Return Line Vacuum (inches water column)
** Gasoline Supply Pressure (pounds per square inch gauge)
* If applicable
** If applicable and indicate value instead of √ or x.
Instructions for Mobile Fueler Daily Maintenance Inspection Form
• | Fill out the form when you perform your daily maintenance inspection.
• | Pursuant to Rule 461.1 (j)(1)(A), the owner or operator of an applicable mobile fueler shall perform daily maintenance inspections on a daily basis pursuant to the protocol specified in Rule 461.1 Attachment B – Daily Maintenance Inspection Protocol.
• | Pursuant to (k)(10)(E), on days the mobile fueler does not transfer or dispense gasoline the records, in lieu of daily maintenance inspections required pursuant to subparagraph (j)(1)(A), the owner or operator shall alternatively document that the mobile fueler did not operate on this date. Put a check mark ( √ ) in the spaces for each day if the mobile fueler did not transfer or dispense gasoline and leave it blank if the mobile fueler did transfer or dispense gasoline.
• | Put a check mark ( √ ) in the spaces for each day if the specified items are in good condition.
• | Put a cross mark ( X ) in the spaces for the specified items that are not in good condition. For those items that are marked with a cross, fill out the accompanying defective equipment repair log. If needed, specify the model numbers of the affected items. Describe in detail the defect observed on the specific items (e.g. 1/2" tear on bellows for Nozzle #1, missing gasket in the fill cap of UST, defective insertion interlock on nozzle # 15, etc.). Describe in detail the repair work done on said items. Keep records of repairs done on the defective items (e.g. receipts for parts used in the repair, work orders, etc.). The person who performed the daily maintenance inspection should initial the form.
• | Failure to maintain the required records constitutes a violation of South Coast AQMD Rule 461.1 and your facility may be issued a violation notice and could be subject to penalties.
• | Falsification of information is punishable by civil and criminal penalties (California Health and Safety Code § 42303.5).
• | Adjust this form to ensure the equipment is compliant with all South Coast Air Quality Management District and California Air Resources Board requirements for all equipment.
• | These records shall be retained for at least two years or, if the mobile fueler is permitted to operate or operates at a Title V facility, five years.