## EmergICE-Renewal
SOUTH COAST AIR QUALITY MANAGEMENT DISTRICT
Certified ICE-EMERGENCY GENERATORS (Updated December 7, 2018)
DIESEL FUEL EXCEPT AS SPECIFIED
Manufacturer/Distributor | Engine Mfg. | Model | Engine Rating | Appl. No. | Exp. Date | Comments | HC** | NOx | HC + NOx | CO | PM
Caterpillar Inc. | Caterpillar | C4.4 (60 KWe) | 99.9 BHP | 544534 | 2019-12-31 | TIER 3 | 0.22 | 2.87 | 3.09 | 1.25 | 0.13
Quinn Power Systems | Caterpillar | C4.4 (80/100 KWe) | 156.8 BHP | 482670 | 2019-12-31 | TIER 3 | 0.14 | 2.61 | 2.75 | 0.97 | 0.13
| Caterpillar | C-6.6 (125/150/175 KWe) | 274 BHP | 472638 | 2019-12-31 | TIER 3 | 0.09 | 2.6 | 2.69 | 1.34 | 0.13
P.O. Box 226789 | Perkins | 1106D-E66TAG4 | 274 BHP | 457877 | 2019-12-31 | TIER 3 | 0.07 | 2.62 | 2.69 | 1.34 | 0.11
Los Angeles, California 90022-0489 | Caterpillar | C7.1 (125 KWe) | 229 BHP | 585257 | 2019-12-31 | TIER 3 | 0.14 | 2.61 | 2.75 | 0.75 | 0.1
Bob Shepherd bshepherd@quinnpower.com | Caterpillar | C7.1 (150 KWe) | 247 BHP | 585258 | 2019-12-31 | TIER 3 | 0.14 | 2.61 | 2.75 | 0.75 | 0.1
(562) 463-6013 | Caterpillar | C7.1 (175 KWe) | 280 BHP | 585259 | 2019-12-31 | TIER 3 | 0.14 | 2.61 | 2.75 | 0.75 | 0.1
| Caterpillar | C7.1 (200 KWe) | 315 BHP | 567863 | 2019-12-31 | TIER 3 | 0.14 | 2.61 | 2.75 | 0.75 | 0.1
| Caterpillar | C9 (200/230 KWe) | 374 BHP | 514974 | 2019-12-31 | TIER 3 | 0.43 | 2.33 | 2.76 | 0.97 | 0.1
| Caterpillar | C-9 (250 KWe) | 398 BHP | 455162 | 2019-12-31 | TIER 3 | 0.27 | 2.49 | 2.76 | 2.31 | 0.11
Eric Johnson | Caterpillar | C-9 (300 KWe) | 480 BHP | 455163 | 2019-12-31 | TIER 3 | 0.16 | 2.75 | 2.91 | 2.45 | 0.118
ericj@johnson-power.com | Caterpillar | C15 (350 KWe) | 546 BHP | 554734 | 2019-12-31 | TIER 3 | 0.17 | 2.62 | 2.79 | 2.03 | 0.08
(951) 683-5960 | Caterpillar | C-15 (400 KWe) | 619 BHP | 452052 | 2019-12-31 | TIER 3 | 0.14 | 2.63 | 2.77 | 2.06 | 0.086
| Caterpillar | C15 (450 KWe) | 689 BHP | 600362 | 2019-12-31 | TIER 3 | 0.11 | 2.49 | 2.6 | 2 | 0.07
Karl Lany, SCEC (Consultant) | Caterpillar | C15 (500 KWe) | 762 BHP | 554729 | 2019-12-31 | TIER 2 | 0.08 | 3.85 | 3.93 | 1.57 | 0.085
(714) 282-8240 | Caterpillar | C15 (550 KWe) | 839 BHP | 554730 | 2019-12-31 | TIER 2 | 0.07 | 3.52 | 3.59 | 0.77 | 0.05
klany@scec.com | Caterpillar | C-18 (550 KWe) | 839 BHP | 453934 | 2019-12-31 | TIER 2 | 0.05 | 4.21 | 4.26 | 0.38 | 0.046
1582-1 N. Batavia St., Orange, CA 92867 | Caterpillar | C-18 (600 KWe) | 900 BHP | 453933 | 2019-12-31 | TIER 2 | 0.05 | 4.17 | 4.22 | 0.43 | 0.051
Bob Conklin | Caterpillar | C-27 (650 KWe) | 998 BHP | 459146 | 2019-12-31 | TIER 2 | 0.12 | 3.99 | 4.11 | 0.75 | 0.06
bconklin@scec.com | Caterpillar | C-27 (700 KWe) | 1069 BHP | 461016 | 2019-12-31 | TIER 2 | 0.1 | 4 | 4.1 | 0.75 | 0.06
| Caterpillar | C-27 (750 KWe) | 1141 BHP | 457437 | 2019-12-31 | TIER 2 | 0.02 | 4.08 | 4.1 | 0.75 | 0.06
| Caterpillar | C27 (800 KWe) | 1214 BHP | 554731 | 2019-12-31 | TIER 2 | 0.07 | 4.08 | 4.15 | 0.5 | 0.07
| Caterpillar | C-32 (900 KWe) | 1357 BHP | 452095 | 2019-12-31 | TIER 2 | 0.11 | 3.75 | 3.86 | 0.41 | 0.058
| Caterpillar | C-32 (1000 KWe) | 1502 BHP | 452094 | 2019-12-31 | TIER 2 | 0.1 | 3.76 | 3.86 | 0.34 | 0.052
| Caterpillar | C-32 (1250 KWe) | 1829 BHP | 600866 | 2019-12-31 | TIER 2 | 0.07 | 3.75 | 3.82 | 0.82 | 0.08
| Caterpillar | 3512C DITA (1500 KWe) | 2206 BHP | 449987 | 2019-12-31 | TIER 2 | 0.59 | 3.74 | 4.33 | 0.79 | 0.084
| Caterpillar | 3512C (1750 KWe) | 2584 BHP | 600865 | 2019-12-31 | TIER 2 | 0.19 | 3.78 | 3.97 | 0.67 | 0.09
| Caterpillar | 3516C DITA (2000 KWe) | 2937 BHP | 449979 | 2019-12-31 | TIER 2 | 0.25 | 3.93 | 4.18 | 0.49 | 0.082
| Caterpillar | 3516C (2500 KWe) | 3634 BHP | 554732 | 2019-12-31 | TIER 2 | 0.02 | 3.79 | 3.81 | 0.45 | 0.05
| Caterpillar | C175 (3000 KWe) | 4423 BHP | 554733 | 2019-12-31 | TIER 2 | 0.11 | 4.3 | 4.41 | 0.57 | 0.05
| Caterpillar | C4.4 (100 KWe) | 161 BHP | 588625 | 2019-12-31 | TIER 3 | 0.08 | 2.6 | 2.68 | 0.67 | 0.09
| Caterpillar | C4.4 (80 KWe) | 132 BHP | 588626 | 2019-12-31 | TIER 3 | 0.08 | 2.6 | 2.68 | 0.67 | 0.09
| Caterpillar | C13 (350 KWe) | 531 BHP | 588627 | 2019-12-31 | TIER 3 | 0.11 | 2.65 | 2.76 | 2.01 | 0.12
| Caterpillar | C13 (400 KWe) | 601 BHP | 588629 | 2019-12-31 | TIER 3 | 0.11 | 2.65 | 2.76 | 2.01 | 0.12
| Caterpillar | C4.4 (40/50/60 KWe) | 96 BHP | 589831 | 2019-12-31 | TIER 3 | 0.18 | 3.1 | 3.28 | 1.04 | 0.13
| Caterpillar | 3516E (2750 KWe) | 4043 BHP | 600864 | 2019-12-31 | TIER 2 | 0.13 | 3.98 | 4.11 | 1.12 | 0.1
Cummins Cal Pacific, Inc. | Cummins | 4BT3.3-G5 | 69 BHP | 551025 | 2019-12-31 | TIER 3 | 0.25 | 2.98 | 3.23 | 1.09 | 0.12
1939 Deere Avenue | Cummins | GM8.1L-HO (NatGas/LPG) | 225 BHP (210 w/Propane) | 505314 | 2019-12-31 |  | 0.38 | 0.05 | 0.43 | 0.29 | N/A
| Cummins | QSB5-G3 | 145 BHP | 465328 | 2019-12-31 | TIER 3 | 0.067 | 2.76 | 2.827 | 0.67 | 0.097
Paul O'Hara | Cummins | QSB7-G3 | 250 BHP | 471081 | 2019-12-31 | TIER 3 | 0.09 | 2.67 | 2.76 | 1.19 | 0.13
(949) 253-6021 | Cummins | QSB7-G5 NR3 | 324 BHP | 536951 | 2019-12-31 | TIER 3 | 0.111 | 2.879 | 2.99 | 0.746 | 0.082
Fax (949) 253-6070 | Cummins | QSB7-G5 with J.Matthey Diesel Particulate Filter | 324 BHP | 546461 | 2019-12-31 | TIER 3 | 0.03 | 2.88 | 2.91 | 0.15 | 0.01
paul.n.ohara@cummins.com | Cummins | QSB7-G5(GSGAA,GSGAB,&GSGAC) W/ JM-SDPF-1H | 324 BHP | 575968 | 2019-12-31 | TIER 3 | 0.01 | 2.89 | 2.9 | 0.52 | 0.01
| Cummins | QSB7-G5(GSGAD & GSGAE) W/ JM-SDPF-2-H | 324 BHP | 575967 | 2019-12-31 | TIER 3 | 0.01 | 2.89 | 2.9 | 0.52 | 0.01
| Cummins | QSB7-G6 with Integ'd. DPF and Oxidation Catalyst | 314 BHP | 529762 | 2019-12-31 | TIER 4 INTERIM | 0.0075 | 1.0444 | 1.0519 | 0.01 | 0.0022
Tom Golnick | Cummins | QSK19-G8 | 967 BHP | 555960 | 2019-12-31 | TIER 2 | 0.14 | 4.44 | 4.58 | 0.9 | 0.06
(619) 219-5044 | Cummins | QSK23-G7 NR2 | 1220 BHP | 471026 | 2019-12-31 | TIER 2 | 0.1 | 4.3 | 4.4 | 0.6 | 0.1
Fax (949) 253-6070 | Cummins | QSK50-G4 | 2220 BHP | 465917 | 2019-12-31 | TIER 2 | 0.14 | 4.41 | 4.55 | 0.87 | 0.06
tom.s.golnick@cummins.com | Cummins | QSK50-G4 | 2650 BHP | 455117 | 2019-12-31 | TIER 2 | 0.14 | 4.41 | 4.55 | 0.87 | 0.06
| Cummins | QSK50-G5 | 2220 BHP | 544897 | 2019-12-31 | TIER 2 | 0.14 | 4.03 | 4.17 | 0.9 | 0.05
| Cummins | QSK50-G5 W/ D4F-H Tier 4f Aftertreatment | 2220 BHP | 546507 | 2019-12-31 | TIER 4 FINAL | 0.02 | 0.38 | 0.4 | 1.02 | 0.0003
| Cummins | QSK60-G14 | 3280 BHP | 477447 | 2019-12-31 | TIER 2 | 0.097 | 3.931 | 4.028 | 0.37 | 0.07
| Cummins | QSK60-G6 | 2922 BHP | 471027 | 2019-12-31 | TIER 2 | 0.1 | 3.93 | 4.03 | 0.37 | 0.07
| Cummins | QSK60-G6 | 3352 BHP | 455115 | 2019-12-31 | TIER 2 | 0.1 | 3.93 | 4.03 | 0.37 | 0.07
| Cummins | QSK60-G6 with D4F-H Tier 4f Aftertreatment | 2922 BHP | 544894 | 2019-12-31 | TIER 4 FINAL | 0 | 0.43 | 0.43 | 0.44 | 0
| Cummins | QSK60-G619 | 3640 BHP | 572241 | 2019-12-31 | TIER 2 | 0.1 | 3.7 | 3.8 | 0.75 | 0.09
| Cummins | QSK78-G10 | 3680 BHP | 514652 | 2019-12-31 | TIER 2 | 0.55 | 4.15 | 4.7 | 0.313 | 0.09
| Cummins | QSK78-G11 | 3705 BHP | 544891 | 2019-12-31 | TIER 2 | 0.2 | 3.61 | 3.81 | 0.75 | 0.09
| Cummins | QSK78-G11 W/ D5F-H Tier 4f Aftertreatment | 3705 BHP | 544895 | 2019-12-31 | TIER 4 FINAL | 0.02 | 0.38 | 0.4 | 1.02 | 0.0003
| Cummins | QSK95-G9 | 5160 BHP | 577478 | 2019-12-31 | TIER 2 | 0.22 | 4.38 | 4.6 | 0.05 | 0.11
| Cummins | QSL9-G2 | 364 BHP | 455119 | 2019-12-31 | TIER 3 | 0.16 | 2.67 | 2.83 | 2.39 | 0.12
| Cummins | QSL9-G3 | 399 BHP | 461873 | 2019-12-31 | TIER 3 | 0.17 | 2.74 | 2.91 | 2.31 | 0.12
| Cummins | QSL9-G7 | 464 BHP | 542405 | 2019-12-31 | TIER 3 | 0.201 | 2.632 | 2.833 | 2.461 | 0.112
| Cummins | QSL9-G7 with JM SDPF-3-H-BITO-CS-10-LP | 464 BHP | 579034 | 2019-12-31 | TIER 2 | 0.16 | 2.67 | 2.83 | 1.7 | 0.01
| Cummins | QSM11-G4 | 470 BHP | 471439 | 2019-12-31 | TIER 3 | 0.11 | 2.35 | 2.46 | 0.45 | 0.06
| Cummins | QST30-G5 | 1490 BHP | 455112 | 2019-12-31 | TIER 2 | 0.22 | 4.4 | 4.62 | 0.52 | 0.08
| Cummins | QST30-G5 W/ JM MQB40 Diesel Oxidation Catalyst | 1490 BHP | 572682 | 2019-12-31 | TIER 2 | 0.164 | 3.87 | 4.034 | 0.16 | 0.064
| Cummins | QST30-G5 W/ S4F-H Tier 4f Aftertreatment | 1490 BHP | 545101 | 2019-12-31 | TIER 4 FINAL | 0.02 | 0.29 | 0.31 | 0.73 | 0.0019
| Cummins | QST30-G5 with JM MB20 Diesel Oxidation Catalyst | 1490 BHP | 558448 | 2019-12-31 | TIER 2 | 0.1 | 3.72 | 3.82 | 0.16 | 0.064
| Cummins | QSX15-G9 | 755 BHP | 455700 | 2019-12-31 | TIER 2 | 0.11 | 4.59 | 4.7 | 0.45 | 0.075
| Cummins | QSX15-G9 with JM-SDPF-4/3 | 755 BHP | 577235 | 2019-12-31 | TIER 2 | 0.1 | 4.53 | 4.63 | 0.52 | 0.01
| Cummins | WSG-1068 (NatGas/LPG) | 112.2 BHP Gas/119.8 BHP LPG | 526614 | 2019-12-31 |  | 1.5 | 1.5 | 3 | 2 | 0
| Cummins | WSG-1068 (NatGas/LPG) | 176 BHP GAS/164 BHP LPG | 530064 | 2019-12-31 | EPA (2010) | 0.1 | 0.2 | 0.3 | 0.01 | 0
| Cummins | KTA19G (Nat Gas) | 530 BHP | 580046 | 2019-12-31 |  | 0.22 | 1.5 | 1.72 | 1.51 | 0
| Power Solutions Int'l | PSI 8.8CAC (Nat Gas) | 243 BHP | 580047 | 2019-12-31 |  | 0 | 0.025 | 0.025 | 0.22 | 0
| Cummins | QSL9-G9 Tier 4F (w/ DOC & SCR) | 433 BHP | 582925 | 2019-12-31 | TIER 4 FINAL | 0.02 | 0.15 | 0.17 | 0.01 | 0.015
| Cummins | QSB7-G9 Tier 4F (w/ DOC & SCR) | 314 BHP | 582926 | 2019-12-31 | TIER 4 FINAL | 0.02 | 0.1 | 0.12 | 0.01 | 0.0075
| Cummins | QSK23-G7 with S250 DPF | 1220 BHP | 584752 | 2019-12-31 | TIER 2 | 0.33 | 4.07 | 4.4 | 0.37 | 0.01
| Cummins | WSG-1068 (NatGas/LPG) | 194 BHP | 586573 | 2019-12-31 |  | 0.13 | 0.33 | 0.46 | 1.64 | 0
| Cummins | QST30-G5 with S250 DPF | 1490 BHP | 586701 | 2019-12-31 | TIER 2 | 0.18 | 4.23 | 4.41 | 0.52 | 0.01
| Cummins | QSK60-G6 with D250 DPF | 2922 BHP | 586702 | 2019-12-31 | TIER 2 | 0.2 | 3.96 | 4.16 | 0.75 | 0.01
| Cummins | QSK50-G5 with D250 DPF | 2220 BHP | 586703 | 2019-12-31 | TIER 2 | 0.14 | 4.44 | 4.58 | 0.9 | 0.01
| Cummins | QSJ5.9G-G3 (Nat Gas) (70 KWe) | 113.6 BHP | 601978 | 2019-12-31 |  | 0.22 | 0.93 | 1.15 | 0.95 | 0
| Cummins | QSJ5.9G-G3 (Nat Gas) (80 KWe) | 127.6 BHP | 602038 | 2019-12-31 |  | 0.22 | 1.16 | 1.38 | 0.95 | 0
| Cummins | QSB5-G6 | 208 BHP | 603982 | 2019-12-31 | TIER 3 | 0.11 | 2.68 | 2.79 | 0.66 | 0.1
| Cummins | QSB5-G13 | 173 BHP | 603641 | 2019-12-31 | TIER 3 | 0.11 | 2.68 | 2.79 | 0.66 | 0.1
| Deere | 3029HFG03A with Oxidation Catalyst and DPF | 74 BHP | 572836 | 2019-12-31 | TIER 3 | 0.01 | 2.83 | 2.84 | 0.15 | 0
Deere and Company | Deere | 3029HFG89F | 62 BHP | 572839 | 2019-12-31 | TIER 3 | 0.39 | 2.72 | 3.11 | 1.8 | 0.11
Deere Power Systems Group | Deere | 4024HF285B | 80 BHP | 494710 | 2019-12-31 | TIER 3 | 0.16 | 2.9 | 3.06 | 1.3 | 0.15
P.O. Box 5100 | Deere | 4045HF285H | 133 BHP | 462962 | 2019-12-31 | TIER 3 | 0.1 | 2.74 | 2.84 | 1.64 | 0.15
Waterloo, IA 50701-5100 | Deere | 4045HF285I | 158 BHP | 462956 | 2019-12-31 | TIER 3 | 0.09 | 2.77 | 2.86 | 1.34 | 0.13
| Deere | 4045HF285J | 126 BHP | 462966 | 2019-12-31 | TIER 3 | 0.13 | 2.73 | 2.86 | 1.68 | 0.15
Travis Wibben | Deere | 4045HF285K | 197 BHP | 493792 | 2019-12-31 | TIER 3 | 0.13 | 2.5 | 2.63 | 1 | 0.13
319/292-5177 | Deere | 4045HF485E or 4045HFG85A | 197 BHP | 462957 | 2019-12-31 | TIER 3 | 0.04 | 2.68 | 2.72 | 0.65 | 0.07
wibbentravism@johndeere.com | Deere | 4045TF285E | 99 BHP | 493796 | 2019-12-31 | TIER 3 | 0.1 | 2.9 | 3 | 1.7 | 0.14
| Deere | 4045TF290J | 74 BHP | 568240 | 2019-12-31 | TIER 3 | 0.19 | 3.12 | 3.31 | 1.2 | 0.13
| Deere | 5030HF285G | 96 BHP | 494713 | 2019-12-31 | TIER 3 | 0.16 | 2.9 | 3.06 | 1.3 | 0.15
| Deere | 6068HF285K | 237 BHP | 462955 | 2019-12-31 | TIER 3 | 0.1 | 2.75 | 2.85 | 0.78 | 0.1
| Deere | 6068HF285L | 197 BHP | 462958 | 2019-12-31 | TIER 3 | 0.11 | 2.76 | 2.87 | 0.98 | 0.11
| Deere | 6068HF485T or 6068HFG85A | 315 BHP | 451077 | 2019-12-31 | TIER 3 | 0.05 | 2.71 | 2.76 | 0.43 | 0.06
| Deere | 6068HF485U or 6068HFG85B | 284 BHP | 475411 | 2019-12-31 | TIER 3 | 0.02 | 2.6 | 2.62 | 0.4 | 0.06
| Deere | 6068HFG82E | 284 BHP | 545149 | 2019-12-31 | TIER 3 | 0.075 | 2.83 | 2.905 | 0.89 | 0.089
| Deere | 6090HF484A | 422 BHP | 493797 | 2019-12-31 | TIER 3 | 0.09 | 2.6 | 2.69 | 0.7 | 0.11
| Deere | 6090HF484B | 385 BHP | 493799 | 2019-12-31 | TIER 3 | 0.09 | 2.6 | 2.69 | 0.7 | 0.11
| Deere | 6090HF484C | 346 BHP | 493800 | 2019-12-31 | TIER 3 | 0.09 | 2.6 | 2.69 | 0.7 | 0.11
| Deere | 6090HF484D | 307 BHP | 493801 | 2019-12-31 | TIER 3 | 0.09 | 2.6 | 2.69 | 0.7 | 0.11
| Deere | 6090HF485V | 422 BHP | 449704 | 2019-12-31 | TIER 3 | 0.08 | 2.62 | 2.7 | 0.38 | 0.08
| Deere | 6090HF485W | 385 BHP | 449705 | 2019-12-31 | TIER 3 | 0.08 | 2.62 | 2.7 | 0.38 | 0.08
| Deere | 6090HF485X | 346 BHP | 449706 | 2019-12-31 | TIER 3 | 0.08 | 2.62 | 2.7 | 0.38 | 0.08
| Deere | 6090HF485Y | 307 BHP | 449707 | 2019-12-31 | TIER 3 | 0.08 | 2.62 | 2.7 | 0.38 | 0.08
| Deere | 6090HFG86 | 463 BHP | 536689 | 2019-12-31 | TIER 3 | 0.08 | 2.76 | 2.84 | 0.45 | 0.08
| Deere | 6135HF485S | 617 BHP | 462959 | 2019-12-31 | TIER 3 | 0.11 | 2.68 | 2.79 | 0.51 | 0.07
| Deere | 6135HF485T | 538 BHP | 462960 | 2019-12-31 | TIER 3 | 0.12 | 2.62 | 2.74 | 0.57 | 0.09
| Deere | 6135HF485U | 463 BHP | 462961 | 2019-12-31 | TIER 3 | 0.14 | 2.6 | 2.74 | 0.71 | 0.09
| Deere | 6135HFG75 | 755 BHP | 536684 | 2019-12-31 | TIER 2 | 0.09 | 4.18 | 4.27 | 0.45 | 0.06
| Deere | 6135HFG84A | 617 BHP | 551055 | 2019-12-31 | TIER 3 | 0.13 | 2.65 | 2.78 | 1.15 | 0.09
| Deere | 6135HFG84B | 538 BHP | 551041 | 2019-12-31 | TIER 3 | 0.15 | 2.63 | 2.78 | 1.14 | 0.08
Detroit Diesel Corporation | Detroit Diesel | 6063-HV35 | 415 BHP | 439133 | 2019-12-31 | TIER 2 | 0.146 | 2.591 | 2.737 | 0.638 | 0.093
13400 West Outer Drive | Detroit Diesel | 6063-HV35 | 455 BHP | 439136 | 2019-12-31 | TIER 2 | 0.126 | 2.6 | 2.726 | 0.571 | 0.082
Detroit, Michigan 48239-4001 | Detroit Diesel | 6063-HV35 | 490 BHP | 439137 | 2019-12-31 | TIER 2 | 0.111 | 2.631 | 2.742 | 0.555 | 0.087
Frank Seymour, Manager | Detroit Diesel | 6063-HV35 | 550 BHP | 439138 | 2019-12-31 | TIER 2 | 0.133 | 2.493 | 2.626 | 0.873 | 0.143
Compliance & Regulatory Affairs | Detroit Diesel | 6063-HV35 | 635 BHP | 439139 | 2019-12-31 | TIER 2 | 0.122 | 2.538 | 2.66 | 0.979 | 0.133
Francis.seymour_Jr@daimler.com | Detroit Diesel | 6063-HV35 | 685 BHP | 439140 | 2019-12-31 | TIER 2 | 0.083 | 2.716 | 2.799 | 0.799 | 0.134
Distributor
Valley Power Systems
425 South Hacienda Blvd
City of Industry, California 91745
Bob Nehlsen
bob.nehlsen@valleypsi.com
800-924-4265; 909-969-9337
Valley Power Systems
1520 S. Bon View Ave
Ontario, CA 91761
Steve Homan
General Manager-Power Generation Group
(800) 254-4557
MTU Detroit Diesel Corporation | MTU Detroit Diesel | 6063-HK36 | 760 BHP | 465048 | 2019-12-31 | TIER 2 | 0.05 | 4.54 | 4.59 | 0.51 | 0.063
13400 West Outer Drive | MTU Detroit Diesel | 18V2000G85 TB/TD | 1597 BHP | 495349 | 2019-12-31 | TIER 2 | 0.15 | 4 | 4.15 | 1.2 | 0.12
Detroit, Michigan 48239-4001 | MTU Detroit Diesel | 18V2000G85 TB/TD | 1757 BHP | 495348 | 2019-12-31 | TIER 2 | 0.15 | 4 | 4.15 | 1.2 | 0.12
Daniel Ponder | MTU Detroit Diesel | R123-8A36 (12V-2000 G44 3B) | 896 BHP | 457873 | 2019-12-31 | TIER 2 | 0.1 | 4.25 | 4.35 | 1.45 | 0.136
Director-Quality Management North America | MTU Detroit Diesel | R123-8A36 (12V-2000 G44 3D) | 986 BHP | 457872 | 2019-12-31 | TIER 2 | 0.08 | 4.25 | 4.33 | 1.38 | 0.122
(248) 560-8220 | MTU Detroit Diesel | R123-8A36 (12V-2000 G84 3B) | 1021 BHP | 457871 | 2019-12-31 | TIER 2 | 0.19 | 3.88 | 4.07 | 1.38 | 0.142
dan.ponder@tognum.com | MTU Detroit Diesel | R123-8A36 (12V-2000 G84 3D) | 1120 BHP | 457870 | 2019-12-31 | TIER 2 | 0.17 | 3.95 | 4.12 | 1.3 | 0.135
| MTU Detroit Diesel | R123-8A36 (12V-2000 G84L) | 1234 BHP | 457869 | 2019-12-31 | TIER 2 | 0.15 | 3.95 | 4.1 | 1.17 | 0.117
| MTU Detroit Diesel | R163-8A36 (16V-2000 G44 3B) | 1227 BHP | 457875 | 2019-12-31 | TIER 2 | 0.24 | 4.25 | 4.49 | 1.8 | 0.141
| MTU Detroit Diesel | R163-8A36 (16V-2000 G84 3B) | 1354 BHP | 457876 | 2019-12-31 | TIER 2 | 0.22 | 4.1 | 4.32 | 1.6 | 0.131
| MTU Detroit Diesel | R163-8A36 (16V-2000 G84 3D) | 1495 BHP | 457874 | 2019-12-31 | TIER 2 | 0.19 | 4.1 | 4.29 | 1.58 | 0.136
| MTU Detroit Diesel | T1238A34 (12V-4000 G73) | 1482 BHP | 469312 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
MTU AMERICA, INC. | MTU America | 10V1600G80S | 752 BHP | 578846 | 2019-12-31 | TIER 2 | 0.19 | 4.25 | 4.44 | 0.72 | 0.06
660 Bettis Academy Rd. | MTU America | 18V2000G76S | 1839 BHP | 578847 | 2019-12-31 | TIER 2 | 0.19 | 3.99 | 4.18 | 0.43 | 0.04
Graniteville, SC 29829 | Mercedes-Benz | OM 924 LA | 197.1 BHP | 580124 | 2019-12-31 | TIER 3 | 0.04 | 2.89 | 2.93 | 0.66 | 0.1
| Mercedes-Benz | OM 926 LA | 331.2 BHP | 580125 | 2019-12-31 | TIER 3 | 0.08 | 2.65 | 2.73 | 0.7 | 0.08
Saeed Abolhasani | MTU America | 6R1600G70S | 419 BHP | 518630 | 2019-12-31 | TIER3 | 0.35 | 2.61 | 2.96 | 1.04 | 0.11
Certification Engineering Specialist | MTU America | 6R1600G80S | 460 BHP | 518631 | 2019-12-31 | TIER3 | 0.35 | 2.61 | 2.96 | 1.04 | 0.11
saeed.abolhasani@mtu-online.com | MTU America | 8V1600G70S | 548 BHP | 518632 | 2019-12-31 | TIER3 | 0.35 | 2.61 | 2.96 | 1.04 | 0.11
(803) 232-6032 | MTU America | 8V1600G80S | 601 BHP | 518633 | 2019-12-31 | TIER3 | 0.35 | 2.61 | 2.96 | 1.04 | 0.11
| MTU America | 12V1600G70S | 822 BHP | 503822 | 2019-12-31 | TIER 2 | 0.22 | 4.38 | 4.6 | 0.92 | 0.14
| MTU America | 12V1600G80S | 896 BHP | 503820 | 2019-12-31 | TIER 2 | 0.22 | 4.38 | 4.6 | 0.92 | 0.14
Nidhi Dobbala | MTU America | 12V2000G45 TB/TD (R1238A37) | 952 BHP | 495350 | 2019-12-31 | TIER 2 | 0.15 | 4 | 4.15 | 1.2 | 0.12
nidhi.dobbala@mtu-online.com | MTU America | 12V2000G85 TB/TD (R1238A37) | 1086 BHP | 495342 | 2019-12-31 | TIER 2 | 0.15 | 4 | 4.15 | 1.2 | 0.12
(313) 318-4356 | MTU America | 16V2000G45 TB/TD (R1638A37) | 1227 BHP | 495344 | 2019-12-31 | TIER 2 | 0.15 | 4 | 4.15 | 1.2 | 0.12
| MTU America | 16V2000G85 TB/TD (R1638A37) | 1354 BHP | 495345 | 2019-12-31 | TIER 2 | 0.15 | 4 | 4.15 | 1.2 | 0.12
| MTU America | G43D (20V-4000 G43 3D, 20V-4000 G83 3B) | 3674 BHP | 470538 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | G83L (20V-4000 G83L) | 4680 BHP | 470536 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | G83L (20V-4000 G83L, 20V-4000 G83 3D) | 4036 BHP | 470537 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | T1238A36 (12V-4000 G83) | 2561 BHP | 470532 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | T1238A36 (12V-4000 G83, 12V-4000 G43) | 2328 BHP | 470534 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | T1638A36 (16V-4000 G83 3D) | 3353 BHP | 470533 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | T1638A36 (16V-4000 G43 3D, 16V-4000 G83 3B) | 3058 BHP | 608239 | 2019-12-31 | TIER 2 | 0.19 | 4 | 4.19 | 0.82 | 0.12
| MTU America | 10V1600G80S | 752 BHP | 551793 | 2019-12-31 | TIER 2 | 0.193 | 4.255 | 4.448 | 0.72 | 0.058
| MTU America | 12V2000G45TB | 1045 BHP | 551794 | 2019-12-31 | TIER 2 | 0.184 | 4.151 | 4.335 | 0.582 | 0.06
| MTU America | 12V2000G85TB | 1194 BHP | 608240 | 2019-12-31 | TIER 2 | 0.151 | 4.1 | 4.251 | 0.533 | 0.05
| MTU America | 16V2000G45TB | 1354 BHP | 551796 | 2019-12-31 | TIER 2 | 0.214 | 4.021 | 4.235 | 0.625 | 0.074
| MTU America | 16V2000G85TB | 1495 BHP | 551797 | 2019-12-31 | TIER 2 | 0.17 | 4.045 | 4.215 | 0.629 | 0.063
| MTU America | 16V4000G83L | 3674 BHP | 551792 | 2019-12-31 | TIER 2 | 0.225 | 4.275 | 4.5 | 0.88 | 0.115
| MTU America | 16V2000G86S | 1839 BHP | 608241 | 2019-12-31 | TIER 2 | 0.14 | 4.24 | 4.38 | 0.82 | 0.09
| MTU America | 10V1600G70S | 685 BHP | 602447 | 2019-12-31 | TIER 3 | 0.24 | 2.3 | 2.54 | 0.64 | 0.08
| MTU America | 12V4000G14S | 2038 BHP | 608244 | 2019-12-31 | TIER 2 | 0.405 | 3.551 | 3.956 | 0.664 | 0.108
| MTU America | 12V4000G24S | 2328 BHP | 608247 | 2019-12-31 | TIER 2 | 0.368 | 3.69 | 4.058 | 0.635 | 0.09
| MTU America | 12V4000G74S | 2328 BHP | 608248 | 2019-12-31 | TIER 2 | 0.368 | 3.69 | 4.058 | 0.635 | 0.09
| MTU America | 12V4000G84S | 2561 BHP | 608249 | 2019-12-31 | TIER 2 | 0.331 | 3.756 | 4.087 | 0.633 | 0.082
| MTU America | 16V4000G14S | 2709 BHP | 608250 | 2019-12-31 | TIER 2 | 0.368 | 3.7 | 4.068 | 0.746 | 0.134
| MTU America | 16V4000G24S | 3058 BHP | 608251 | 2019-12-31 | TIER 2 | 0.31 | 3.749 | 4.059 | 0.692 | 0.131
| MTU America | 20V4000G64S | 3674 BHP | 608253 | 2019-12-31 | TIER 2 | 0.364 | 3.719 | 4.083 | 0.841 | 0.124
| MTU America | 20V4000G44S | 4036 BHP | 608260 | 2019-12-31 | TIER 2 | 0.245 | 3.491 | 3.736 | 0.746 | 0.069
| MTU America | 16V4000G74S | 3058 BHP | 608263 | 2019-12-31 | TIER 2 | 0.31 | 3.749 | 4.059 | 0.692 | 0.131
| MTU America | 20V4000G94S | 4680 BHP | 608264 | 2019-12-31 | TIER 2 | 0.215 | 3.819 | 4.034 | 0.767 | 0.101
| MTU America | 20V4000G74S | 4036 BHP | 608265 | 2019-12-31 | TIER 2 | 0.356 | 3.813 | 4.169 | 0.857 | 0.112
| MTU America | 20V4000G24S | 3674 BHP | 608267 | 2019-12-31 | TIER 2 | 0.367 | 3.713 | 4.08 | 0.96 | 0.113
| MTU America | 20V4000G14S | 3339 BHP | 608268 | 2019-12-31 | TIER 2 | 0.404 | 3.602 | 4.006 | 0.995 | 0.134
| MTU America | 16V4000G84S | 3353 BHP | 608269 | 2019-12-31 | TIER 2 | 0.303 | 3.727 | 4.03 | 0.702 | 0.119
| MTU America | 16V4000G94S | 3674 BHP | 608270 | 2019-12-31 | TIER 2 | 0.265 | 3.817 | 4.082 | 0.727 | 0.121
Generac Corporation | AB VOLO PENTA | TAD 1353GE | 601 BHP | 510818 | 2019-12-31 | TIER 3 |  |  | 2.9 | 0.6 | 0.14
P.O. Box 8 | Generac | 4.3LNGNA (Gas/LPG) | 62.3 BHP | 387603 | 2019-12-31 |  | 0.24 | 0.06 | 0.3 | 0.97 | 0
Waukesha, WI 53187 | Generac | 4.3LNGNA (Gas/LPG) | 56 BHP | 392431 | 2019-12-31 |  | 0.24 | 0.06 | 0.3 | 0.97 | 0
Sharon Ernest, Sr. Emissions Engineer | Generac | 5.7NGNA (Gas/LPG) | 80.2 BHP | 393846 | 2019-12-31 |  | 0.98 | 0.18 | 1.16 | 1.89 | 0
Sharon.Ernest@generac.com | Generac | 5.7LPGNA (Gas/LPG) | 98.6 BHP | 393847 | 2019-12-31 |  | 0.09 | 0.24 | 0.33 | 1.27 | 0
262-544-4811 x 2746 | Generac | 5.7NGNA (Gas/LPG) | 91.5 BHP | 393848 | 2019-12-31 |  | 0.77 | 0.17 | 0.94 | 1.67 | 0
| Generac | 5.7NGNA (Gas/LPG) | 120 BHP | 398576 | 2019-12-31 |  | 0.1 | 0.01 | 0.11 | 1.26 | 0
Brian Larsen x2337 | Generac | 7.4LPGNA (Gas/LPG) | 101 BHP | 387606 | 2019-12-31 |  | 0.09 | 0.04 | 0.13 | 0.14 | 0
| Generac | 6.8GLPN-GD (Gas/LPG) | 189 BHP | 402121 | 2019-12-31 |  | 0.07 | 0.36 | 0.43 | 0.86 | 0
Distributors | Generac | 7.4GTA (Gas) | 146 BHP | 403016 | 2019-12-31 |  | 0.09 | 0.02 | 0.11 | 0.18 | 0
YC Power Systems | Generac | 13.3GTA (Gas) | 309 BHP | 403329 | 2019-12-31 |  | 0.89 | 0.69 | 1.58 | 1.3 | 0
8089 Cherry Ave. | Generac | 6.8GLPN-GD (Gas/LPG) | 147 BHP | 404039 | 2019-12-31 |  | 0.75 | 0.008 | 0.758 | 0.78 | 0
Office (909) 428-3400 | Generac | 6.8GLPN-75 (Gas/LPG) | 107 BHP | 421964 | 2019-12-31 |  | 0.31 | 0.74 | 1.05 | 1.44 | 0
Fax (909) 428-6982 | Generac | 8.1GLPN-100 (Gas/LPG) | 151 BHP | 422985 | 2019-12-31 |  | 0.5 | 0.09 | 0.59 | 0.24 | 0
Cell (562) 639-8054 | Generac | 8.1GLPN-80 (Gas/LPG) | 122 BHP | 422988 | 2019-12-31 |  | 0.14 | 0.19 | 0.33 | 0.23 | 0
Chris Chesworth | Generac | 8.1GLPTA-125 (Gas/LPG) | 189 BHP | 431788 | 2019-12-31 |  | 0.41 | 0.2 | 0.61 | 0.13 | 0
ChrisC@yalechase.com | Generac | 3.9GLPN-40 (Gas/LPG) | 64 BHP | 449401 | 2019-12-31 |  | 1.14 | 0.31 | 1.45 | 0.62 | 0
| Generac | 6.8GLPNGDQT-100 (Gas/LPG) | 149/162.3 BHP | 453278 | 2019-12-31 |  | 0.5 | 0.89 | 1.39 | 1.95 | 0
Energy Systems | Generac | 2.4GLPNQT-45 (GAS/LPG) | 78.42/85.51 BHP | 457398 | 2019-12-31 |  | 0.59 | 0.3 | 0.89 | 0.47 | 0
7100 south longe street | Generac | 2.4GLPNQT-35 (GAS/LPG) | 74.7 BHP | 459641 | 2019-12-31 |  | 0.38 | 0.12 | 0.5 | 0.19 | 0
ste. 300 | Generac | 6.8DFN-70 | 110.64/112.42 BHP | 465416 | 2019-12-31 |  | 0.57 | 0.01 | 0.58 | 1.27 | 0
stockton, CA 95213 | Generac | 6.8GLPNGD-130 (Gas/LPG) | 193.49/208.48 BHP | 468191 | 2019-12-31 |  | 0.17 | 0.01 | 0.18 | 0.5 | 0
ph.209-983-6900 | Generac | 6.8GLPN-60 (Gas/LPG) | 99.15/99.58 BHP | 468721 | 2019-12-31 |  | 1.07 | 0.03 | 1.1 | 0.46 | 0
| Generac | 6.8GLPN-70 (Gas/LPG) | 110.64/112.42 BHP | 470208 | 2019-12-31 |  | 0.09 | 0.99 | 1.08 | 0.76 | 0
| Generac | 6.8GLPN-50 (Gas/LPG) | 85.65/85.92 BHP | 470347 | 2019-12-31 |  | 0.01 | 0.05 | 0.06 | 0.5 | 0
| Generac | 13.3 GTA-150 (Gas/LPG) | 243 BHP | 471072 | 2019-12-31 |  | 0.81 | 0.02 | 0.83 | 0.37 | 0
| Generac | 13.3GTAGD-300 (Gas) | 444.25 BHP | 472046 | 2019-12-31 |  | 0.5 | 0.04 | 0.54 | 1.88 | 0
| Generac | 13.3GTA-200 (Gas) | 309 BHP | 472069 | 2019-12-31 |  | 0.08 | 0.01 | 0.09 | 0.06 | 0
| Generac | 13.3GTA-175 (Gas) | 274 BHP | 472652 | 2019-12-31 |  | 0.19 | 0.01 | 0.2 | 0.14 | 0
| Generac | 6.8LPLN-70 (LPG) | 112.42 BHP | 473427 | 2019-12-31 |  | 0.14 | 1.08 | 1.22 | 0.27 | 0
| Generac | 6.8GNGD-100 (GAS) | 150.96 BHP | 474706 | 2019-12-31 |  | 0.11 | 0.31 | 0.42 | 0.19 | 0
| Generac | 6.8LPNGD-100 (LPG) | 164.2 BHP | 474707 | 2019-12-31 |  | 0.01 | 0.01 | 0.02 | 0.07 | 0
| Generac | 6.8LPLN-60 (LPG) | 99.15 BHP | 476080 | 2019-12-31 |  | 0.01 | 0.01 | 0.02 | 0.01 | 0
| Generac | 13.3GTAGD-230 (Gas) | 358.05 BHP | 476591 | 2019-12-31 |  | 0.08 | 0.16 | 0.24 | 0.21 | 0
| Generac | 13.3GTAGD-250 (Gas) | 386.07 BHP | 476592 | 2019-12-31 |  | 0.11 | 0.03 | 0.14 | 0.55 | 0
| Generac | 13.3GTAGD-275 (Gas) | 416.21 BHP | 476593 | 2019-12-31 |  | 0.1 | 0.01 | 0.11 | 0.59 | 0
| Generac | 4.2GLPNQT-48 (Gas/LPG) | 67.25/74.23 BHP | 477261 | 2019-12-31 |  | 0.057 | 1.309 | 1.366 | 0.069 | 0
| Generac | 6.8DFNGD-150 (Gas/LPG) | 231/230.13 BHP | 480069 | 2019-12-31 |  | 0.07 | 0.64 | 0.71 | 0.25 | 0
| Generac | 6.8DFNGD-130 (Gas/LPG) | 193.49/208.48 BHP | 480473 | 2019-12-31 |  | 0.27 | 0.33 | 0.6 | 1.4 | 0
| Generac | 13.3DFN-135 (NG/LPG) | 209 BHP | 481374 | 2019-12-31 |  | 0.02 | 0.23 | 0.25 | 0.17 | 0
| Generac | 6.8GLPNGD-80 (Gas/LPG) | 124.95/125.11 BHP | 486425 | 2019-12-31 |  | 0.05 | 0.38 | 0.43 | 0.27 | 0
| Generac | 6.8GLPNGDS-80 (Gas/LPG) | 128 BHP | 486427 | 2019-12-31 |  | 0.05 | 0.38 | 0.43 | 0.27 | 0
| Generac | 4.2GLPN-35 (Gas/LPG) | 58.11/58.19 BHP | 486428 | 2019-12-31 |  | 0.06 | 1 | 1.06 | 0.14 | 0
| Generac | 6.8GLPNGDQT-150 (Gas/LPG) | 230.63/231.4 BHP | 483767 | 2019-12-31 |  | 0.09 | 0.44 | 0.53 | 0.82 | 0
| Generac | 4.2GLPN-45 (GAS/LPG) | 66.07/72.01 BHP | 487014 | 2019-12-31 |  | 0.25 | 0.7 | 0.95 | 0.29 | 0
| Generac | 6.8GLPNQT-70 (Gas/LPG) | 108.35/111.93 BHP | 487844 | 2019-12-31 |  | 0.09 | 1.07 | 1.16 | 0.1 | 0
| Generac | 6.8GLPNGD-150 (Gas/LPG) | 231/230.13 BHP | 491605 | 2019-12-31 |  | 0.06 | 0.73 | 0.79 | 1.27 | 0
| Generac | 6.8GLPNGDQT-130 (Gas/LPG) | 192/208.3 BHP | 498304 | 2019-12-31 |  | 0.062 | 0.16 | 0.222 | 1.76 | 0
| Generac | 4.2GLPN-40 (Gas/LPG) | 64.21/65.75 BHP | 505494 | 2019-12-31 |  | 0.17 | 0.13 | 0.3 | 0.22 | 0
| Generac | 6.8DFNGD-100(GAS/LPG) | 150.96/164.22 BHP | 510548 | 2019-12-31 |  | 0.46/0.08 | 0.11/0.11 | 0.57/0.19 | 1.95/1.83 | 0
| Generac | C05.4GSN061A0 (GAS) | 82 BHP | 530212 | 2019-12-31 |  | 0.38 | 0.22 | 0.6 | 0.64 | 0
| Generac | C05.4GSN056A0 (GAS) | 75.7 BHP | 530213 | 2019-12-31 |  | 0.36 | 0.11 | 0.47 | 0.23 | 0
| Generac | C05.4GSV061A0 (LPG) | 81.7 BHP | 530215 | 2019-12-31 |  | 0.04 | 0.1 | 0.14 | 0.7 | 0
| Generac | C05.4GSV057A0 (LPG) | 77 BHP | 530216 | 2019-12-31 |  | 0.06 | 0.56 | 0.62 | 0.27 | 0
| Generac | 21.9DTA-600 | 954 BHP | 459722 | 2019-12-31 | TIER 2 | 0.075 | 4.7 | 4.775 | 0.67 | 0.067
| Generac | 21.9BFTA-600 (BI-FUEL Nat.Gas/Diesel, Compressin engine) | 954 BHP | 480471 | 2019-12-31 | TIER 2 | 0.1 | 3.97 | 4.07 | 0.04 | 0.032
| Generac | E13.3MSN349A2 (Gas) | 467.72 BHP | 518663 | 2019-12-31 |  | 0.05 | 0.05 | 0.1 | 0.81
| Generac | E13.3MSN349A1 (Gas) | 467.72 BHP | 518664 | 2019-12-31 |  | 0.05 | 0.05 | 0.1 | 0.81
| Generac | E13.3MSN320A2 (Gas) | 429.66 BHP | 518665 | 2019-12-31 |  | 0.05 | 0.14 | 0.19 | 0.6
| Generac | E13.3MSN320A1 (Gas) | 429.66 BHP | 518666 | 2019-12-31 |  | 0.05 | 0.14 | 0.19 | 0.6
| Generac | A2400T-Gen | 51 BHP | 511716 | 2019-12-31 | TIER 3 | 0.01 | 3.16 | 3.17 | 0.07 | 0.061
| Generac | E12.9MSN230A0(Nat. gas) | 307.87 BHP | 532838 | 2019-12-31 |  | 0.53 | 0.13 | 0.69 | 0
| Generac | E12.9MSN230A1(Nat. gas) | 307.87 BHP | 532839 | 2019-12-31 |  | 0.53 | 0.13 | 0.69 | 0
| Generac | D3400T-GEN1 | 85 BHP | 536263 | 2019-12-31 | TIER 3 | 0.14 | 2.65 | 2.79 | 1.51 | 0.114
| Generac | E12.9MSN283A0(Nat. Gas) | 379.1 BHP | 536816 | 2019-12-31 |  | 0.38 | 0.03 | 0.41 | 0.533 | 0
| Generac | E12.9MSN283A1(Nat. Gas) | 379.1 BHP | 536818 | 2019-12-31 |  | 0.38 | 0.03 | 0.41 | 0.533 | 0
| Generac | E08.9GSN111A0 (Nat.Gas) | 148.9 BHP | 543423 | 2019-12-31 |  | 0.17 | 0.007 | 0.177 | 0.06 | 0
| Generac | E08.9MDL101A0 (NAT. GAS) | 135.75 BHP | 543424 | 2019-12-31 |  | 0.34 | 0.006 | 0.346 | 1.1 | 0
| Generac | E08.9GDV099A0 (NAT. GAS) | 133.16 BHP | 543425 | 2019-12-31 |  | 0.3 | 0.4 | 0.7 | 0.79 | 0
| Generac | F08.9GSV118A0 (LPG) | 157.7 BHP | 543426 | 2019-12-31 |  | 0.03 | 0.08 | 0.11 | 0.14 | 0
| Generac | F08.9MSL116A0 (LP-LIQUID) | 156.1 BHP | 543427 | 2019-12-31 |  | 0.07 | 0.04 | 0.11 | 0.3 | 0
| Generac | C08.9GSN094A0 (NAT. GAS) | 126.3 BHP | 543428 | 2019-12-31 |  | 0.38 | 0.76 | 1.14 | 0.37 | 0
| Generac | C08.9GSV094A0 (LPG) | 126.4 BHP | 543429 | 2019-12-31 |  | 0.06 | 0.68 | 0.74 | 0.3 | 0
| Generac | E12.9MSN356A0 (Nat Gas) | 477 BHP | 557131 | 2019-12-31 |  | 0.064 | 0.06 | 0.124 | 0.807
| Generac | E12.9MSN356A1 (Nat Gas) | 477 BHP | 557132 | 2019-12-31 |  | 0.064 | 0.06 | 0.124 | 0.807
| Generac | E21.9MSN474A0 (Nat Gas) | 636 BHP | 558477 | 2019-12-31 |  | 0.17 | 0.13 | 0.3 | 0.82
| Generac | E21.9MSN474A1 (Nat Gas) | 636 BHP | 558478 | 2019-12-31 |  | 0.17 | 0.13 | 0.3 | 0.82
| Generac | E21.9MSN474A3 (Nat Gas) | 636 BHP | 573265 | 2019-12-31 |  | 0.18 | 0.13 | 0.31 | 0.82 | 0
| Generac | E21.9MSN474A2 (Nat Gas) | 636 BHP | 573266 | 2019-12-31 |  | 0.18 | 0.13 | 0.31 | 0.82 | 0
| Generac | E08.9MSV172A0 (Propane) | 230.3 BHP | 573267 | 2019-12-31 |  | 0.019 | 0.569 | 0.588 | 1.3 | 0
| Generac | E08.9MSL172A0 (Propane) | 230.3 BHP | 573269 | 2019-12-31 |  | 0.019 | 0.569 | 0.588 | 1.3 | 0
| Generac | E08.9MSL172A1 (Propane) | 230.3 BHP | 573270 | 2019-12-31 |  | 0.019 | 0.569 | 0.588 | 1.3 | 0
| Generac | E08.9MDL172A0 (Nat Gas) | 230.3 BHP | 573271 | 2019-12-31 |  | 0.097 | 0.033 | 0.13 | 0.023 | 0
| Generac | E08.9MDV158A0 (Nat Gas) | 212 BHP | 573273 | 2019-12-31 |  | 0.053 | 0.448 | 0.501 | 0.023 | 0
| Generac | E08.9MSN116A0 (Nat Gas) | 156 BHP | 573274 | 2019-12-31 |  | 0.06 | 0.24 | 0.3 | 0.013 | 0
| Generac | E08.9MSN172A0 (Nat Gas) | 230.3 BHP | 573276 | 2019-12-31 |  | 0.097 | 0.033 | 0.13 | 0.023 | 0
| Generac | C08.0GSN094A0 (Nat Gas) | 125.7 BHP | 575822 | 2019-12-31 |  | 0.42 | 0.51 | 0.93 | 0.1 | 0
| Generac | C08.0GSV095A0 (Propane) | 127.9 BHP | 575823 | 2019-12-31 |  | 0.05 | 0.14 | 0.19 | 0.34 | 0
| Generac | E14.2MSN227A0 (Nat Gas) | 304 BHP | 575824 | 2019-12-31 |  | 0.06 | 0.05 | 0.11 | 0.39 | 0
| Generac | E14.2MSN227A1 (Nat Gas) | 304 BHP | 575825 | 2019-12-31 |  | 0.06 | 0.05 | 0.11 | 0.39 | 0
| Generac | E14.2MSN279A0 (Nat Gas) | 374 BHP | 575826 | 2019-12-31 |  | 0.04 | 0.02 | 0.06 | 0.23 | 0
| Generac | E14.2MSN279A1 (Nat Gas) | 374 BHP | 575827 | 2019-12-31 |  | 0.04 | 0.02 | 0.06 | 0.23 | 0
| Generac | E14.2MSN343A0 (Nat Gas) | 460 BHP | 575828 | 2019-12-31 |  | 0.03 | 0.04 | 0.07 | 0.17
| Generac | E14.2MSN343A1 (Nat Gas) | 460 BHP | 575829 | 2019-12-31 |  | 0.03 | 0.35 | 0.38 | 0.17 | 0
| Generac | E21.9MSN0502A0 (Nat Gas) | 673 BHP | 593191 | 2019-12-31 |  | 0.18 | 0.1 | 0.28 | 0.35 | 0
| Generac | E21.9MSN0502A2 (Nat Gas) | 673 BHP | 593192 | 2019-12-31 |  | 0.18 | 0.1 | 0.28 | 0.35 | 0
| Generac | E08.9GSN111A1 (Nat Gas) | 153 BHP | 598551 | 2019-12-31 |  | 0 | 0.12 | 0.12 | 0.03 | 0
| Generac | E08.9MSN116A1 (Nat Gas) | 153 BHP | 598558 | 2019-12-31 |  | 0 | 0.12 | 0.12 | 0.03 | 0
| Generac | E08.9GSV106A0 (LPG) | 142 BHP | 598559 | 2019-12-31 |  | 0.01 | 0.2 | 0.21 | 0.22 | 0
| Generac | E33.9MSN677A0 (Nat Gas) | 908 BHP | 601949 | 2019-12-31 |  | 0.18 | 0.01 | 0.19 | 0.29 | 0
| Generac | E25.8MSN580A4 (Nat Gas) | 777.12 BHP | 606641 | 2019-12-31 |  | 0.021 | 0.107 | 0.128 | 0.005 | 0
| Generac | E21.9MSN474A6 (Nat Gas) | 624 BHP | 606642 | 2019-12-31 |  | 0.109 | 0.017 | 0.126 | 0.228 | 0
| Generac | E14.2MSN227A2 (Nat Gas) | 377 BHP | 606643 | 2019-12-31 |  | 0.043 | 0.044 | 0.087 | 0.263 | 0
| Generac | E14.2MSN279A2 (Nat Gas) | 377 BHP | 606644 | 2019-12-31 |  | 0.043 | 0.044 | 0.087 | 0.263 | 0
| Generac | E14.2MSN343A2 (Nat Gas) | 377 BHP | 606645 | 2019-12-31 |  | 0.043 | 0.044 | 0.087 | 0.263 | 0
| Generac | E14.2MSN227A3 (Nat Gas) | 304 BHP | 606646 | 2019-12-31 |  | 0.069 | 0.045 | 0.114 | 0.533 | 0
| Generac | E14.2MSN279A3 (Nat Gas) | 377 BHP | 606647 | 2019-12-31 |  | 0.043 | 0.044 | 0.087 | 0.263 | 0
| Generac | E14.2MSN343A3 (Nat Gas) | 460 BHP | 606648 | 2019-12-31 |  | 0.063 | 0.045 | 0.108 | 0.375 | 0
| Generac | E08.9MSN170A0 (Nat Gas) | 193.107 BHP | 606649 | 2019-12-31 |  | 0.075 | 0.084 | 0.159 | 0.671 | 0
| Generac | E08.9GDV110A1 (Nat Gas) | 147.78 BHP | 606650 | 2019-12-31 |  | 0.143 | 0.004 | 0.147 | 0.183 | 0
| Generac | E08.9MDV170A1 (Nat Gas) | 229 BHP | 606651 | 2019-12-31 |  | 0.107 | 0.122 | 0.229 | 0.963 | 0
| Generac | F08.9MSV169A0 (Nat Gas) | 230.4 BHP | 606652 | 2019-12-31 |  | 0.019 | 0.022 | 0.041 | 0.752 | 0
| Generac | E21.9MSN0502A6 (Nat Gas) | 535 BHP | 606653 | 2019-12-31 |  | 0.186 | 0.145 | 0.331 | 0.523 | 0
| Generac | E21.9MSN0502A7 (Nat Gas) | 535 BHP | 606654 | 2019-12-31 |  | 0.186 | 0.145 | 0.331 | 0.523 | 0
| Generac | E33.9MSN803A0 (Nat Gas) | 1077 BHP | 606655 | 2019-12-31 |  | 0.198 | 0.327 | 0.525 | 1.148 | 0
| Generac | E21.9MSN0502A4 (Nat Gas) | 673 BHP | 606656 | 2019-12-31 |  | 0.119 | 0.122 | 0.241 | 0.402 | 0
| Generac | E21.9MSN0502A5 (Nat Gas) | 692 BHP | 606657 | 2019-12-31 |  | 0.195 | 0.128 | 0.323 | 0.532 | 0
| Generac | E25.8MSN580A5 (Nat Gas) | 777.12 BHP | 606658 | 2019-12-31 |  | 0.021 | 0.107 | 0.128 | 0.005 | 0
| Generac | E21.9MSN474A4 (Nat Gas) | 621 BHP | 607326 | 2019-12-31 |  | 0.2997 | 0.0604 | 0.3601 | 0.1201 | 0
| Generac | E21.9MSN474A5 (Nat Gas) | 621 BHP | 607327 | 2019-12-31 |  | 0.2997 | 0.0604 | 0.3601 | 0.1201 | 0
| IVECO S.P.A. | F3BE9685A-E | 530 BHP | 511711 | 2019-12-31 | TIER 3 |  |  | 2.83 | 0.52 | 0.067
| IVECO S.P.A. | F2CE9685A-E | 389 BHP | 511712 | 2019-12-31 | TIER 3 |  |  | 2.61 | 0.37 | 0.097
| IVECO S.P.A. | F3AE9685A-E | 449 BHP | 511713 | 2019-12-31 | TIER 3 |  |  | 2.76 | 0.67 | 0.089
| IVECO S.P.A. | F4GE9485A*J | 131 BHP | 511714 | 2019-12-31 | TIER 3 |  |  | 2.76 | 0.67 | 0.119
| IVECO S.P.A. | F4GE9685A*J | 198 BHP | 511715 | 2019-12-31 | TIER 3 |  |  | 2.76 | 0.67 | 0.119
| IVECO S.P.A. | F4HE9685A*J | 279 BHP | 511717 | 2019-12-31 | TIER 3 |  |  | 2.76 | 0.89 | 0.06
| Perkins | 2206D-E13TAG3 | 619 BHP | 545375 | 2019-12-31 | TIER 3 | 0.15 | 2.61 | 2.76 | 2.01 | 0.119
| Perkins | 2506C-E15TAG3 | 762 BHP | 545376 | 2019-12-31 | TIER 2 | 0.067 | 4.1 | 4.167 | 1.19 | 0.067
| Perkins | 2806C-E18TAG3 | 909 BHP | 545379 | 2019-12-31 | TIER 2 | 0.082 | 3.8 | 3.882 | 0.6 | 0.052
Volvo Penta of the Americas, Inc.
1300 Volvo Penta Drive | AB VOLVO PENTA | TAD1642GE | 809 BHP | 442148 | 2019-12-31 | TIER 2 | 0.15 | 3.95 | 4.1 | 0.82 | 0.075
Chesapeake, VA 23320 | AB VOLVO PENTA | TAD1641GE | 757 BHP | 442149 | 2019-12-31 | TIER 2 | 0.15 | 3.95 | 4.1 | 0.82 | 0.075
| AB VOLVO PENTA | TWD1643GE | 903 BHP | 496154 | 2019-12-31 | TIER 2 | 0.08 | 4.1 | 4.18 | 0.31 | 0.067
Forrest Hooper (757) 382-4023
forrest.hooper@volvo.com
Fax (757) 436-5157
Kohler Company | Kohler | D50016.1B65 | 757 BHP | 446014 | 2019-12-31 | TIER 2 | 0.15 | 3.95 | 4.1 | 0.82 | 0.075
444 Highland Drive, Mail Stop 097 | Kohler | KDI3404TCR/70G | 94 BHP | 596042 | 2019-12-31 | TIER 3 | 0.02 | 2.09 | 2.11 | 0.13 | 0.017
Kohler, Wisconsin 53044 | Kohler | KD27V12 (891 KW) | 1195 BHP | 601819 | 2019-12-31 | TIER 2 | 0.16 | 4.06 | 4.22 | 0.6 | 0.07
| Kohler | KD27V12 (1019 KW) | 1367 BHP | 601821 | 2019-12-31 | TIER 2 | 0.13 | 4.34 | 4.47 | 0.6 | 0.05
Nishant Sharma, Rugulatory Engineering Manager | Kohler | KD27V12 (1114 KW) | 1494 BHP | 601822 | 2019-12-31 | TIER 2 | 0.12 | 4.35 | 4.47 | 0.6 | 0.07
(920) 457-4441 x72690 | Kohler | KD45V20 (1391 KW) | 1865 BHP | 601823 | 2019-12-31 | TIER 2 | 0.35 | 4.23 | 4.58 | 0.6 | 0.09
nishant.sharma@kohler.com | Kohler | KD45V20 (1654 KW) | 2218 BHP | 601824 | 2019-12-31 | TIER 2 | 0.32 | 4.2 | 4.52 | 0.6 | 0.09
Steve Oxtoby | Kohler | KD45V20 (1755 KW) | 2353 BHP | 601825 | 2019-12-31 | TIER 2 | 0.31 | 4.2 | 4.51 | 0.6 | 0.11
steve.oxtoby@kohler.com | Kohler | KD45V20 (1910 KW) | 2561 BHP | 601826 | 2019-12-31 | TIER 2 | 0.3 | 4.35 | 4.65 | 0.6 | 0.11
| Kohler | KD62V12 (2700 KW) | 3621 BHP | 601827 | 2019-12-31 | TIER 2 | 0.56 | 3.94 | 4.5 | 0.99 | 0.12
| Kohler | KD62V12 (2500 KW) | 3353 BHP | 601829 | 2019-12-31 | TIER 2 | 0.59 | 3.9 | 4.49 | 0.92 | 0.12
| Kohler | KD62V12 (2180 KW) | 2923 BHP | 601830 | 2019-12-31 | TIER 2 | 0.65 | 3.89 | 4.54 | 0.95 | 0.12
| Kohler | KD83V16 (3490 KW) | 4680 BHP | 605745 | 2019-12-31 | TIER 2 | 0.39 | 3.77 | 4.16 | 0.94 | 0.11
| Kohler | KD83V16 (3230 KW) | 4331 BHP | 605746 | 2019-12-31 | TIER 2 | 0.42 | 3.89 | 4.31 | 0.94 | 0.1
| Kohler | KD83V16 (3010 KW) | 4036 BHP | 605747 | 2019-12-31 | TIER 2 | 0.46 | 3.89 | 4.35 | 0.99 | 0.12
| Kohler | KD36V16 (1391 KW) | 1865 BHP | 605748 | 2019-12-31 | TIER 2 | 0.04 | 4.16 | 4.2 | 0.7 | 0.13
| Kohler | KD36V16 (1450 KW) | 1944 BHP | 605749 | 2019-12-31 | TIER 2 | 0.1 | 4.65 | 4.75 | 0.7 | 0.14
Mitsubishi Engine North America, Inc. | Mitsubishi | S6R-Y2PTAW-1 | 918 BHP | 476459 | 2019-12-31 | TIER 2 | 1 | 3.6 | 4.6 | 0.52 | 0.104
Mitsubishi Turbocharger and Engine America, Inc. | Mitsubishi | S12A2-Y2PTAW-2 | 1207 BHP | 476460 | 2019-12-31 | TIER 2 | 1 | 3.6 | 4.6 | 0.52 | 0.104
Two Pierce Place, 11th floor | Mitsubishi | S12H-Y2PTAW-1 | 1528 BHP | 476462 | 2019-12-31 | TIER 2 | 1 | 3.6 | 4.6 | 0.52 | 0.082
Itasca, Illinois 60143 | Mitsubishi | S12R-Y2PTAW-1 | 1881 BHP | 476463 | 2019-12-31 | TIER 2 | 1 | 3.33 | 4.33 | 0.52 | 0.12
Samson Ayele | Mitsubishi | S16R-Y2PTAW-1 | 2346 BHP | 476467 | 2019-12-31 | TIER 2 | 1 | 3.5 | 4.5 | 0.52 | 0.13
(630) 268-0750 ext 507 | Mitsubishi | S16R-Y2PTAW2-1 | 2923 BHP | 476471 | 2019-12-31 | TIER 2 | 1 | 3.5 | 4.5 | 0.52 | 0.13
sayele@mitsubishi-engine.com
Liebherr Machines Bulle SA | Liebherr | D9620 A7-02 1755KW | 2353 BHP | 596468 | 2019-12-31 | TIER 2 | 0.31 | 4.2 | 4.51 | 0.55 | 0.1
Liebherr USA Co. | Liebherr | D9620 A7-02 1910KW | 2561 BHP | 596469 | 2019-12-31 | TIER 2 | 0.29 | 4.36 | 4.65 | 0.59 | 0.11
1465 Woodland Dr. | Liebherr | D9612 A7-02 891KW | 1195 BHP | 596470 | 2019-12-31 | TIER 2 | 0.15 | 4.07 | 4.22 | 0.61 | 0.066
Saline, MI 48176 | Liebherr | D9612 A7-02 1019KW | 1367 BHP | 596471 | 2019-12-31 | TIER 2 | 0.13 | 4.02 | 4.15 | 0.56 | 0.051
Andreas Schilling | Liebherr | D9612 A7-02 1114KW | 1494 BHP | 596472 | 2019-12-31 | TIER 2 | 0.12 | 4.04 | 4.16 | 0.58 | 0.068
Director, Components Division | Liebherr | D9620 A7-02 1654KW | 2218 BHP | 596473 | 2019-12-31 | TIER 2 | 0.32 | 4.2 | 4.52 | 0.56 | 0.087
(734) 944-5941 | Liebherr | D9620 A7-02 1391KW | 1865 BHP | 596474 | 2019-12-31 | TIER 2 | 0.35 | 4.23 | 4.58 | 0.61 | 0.086
andreas.schilling@liebherr.com
**Emission Factors in gms/bhp-hr
Contacts:
Susan Tsai, Sr. Air Quality Engineer
Phone (909) 396-2529
stsai@aqmd.gov
CJ Chang, Air Quality Engineer II
Phone (909) 396-3293
cchang@aqmd.gov
Note on I7: Rizaldy Calungcagin: revised emissions data
Note on K7: Rizaldy Calungcagin: revised emissions data
Note on L7: Rizaldy Calungcagin: revised emissions data
Note on D19: rpatel: Revised from 636 BHP 6/11/09
Note on D20: Chwen-Jy Chang: BHP changed from 691 to 689 (April 2018)
Note on E20: Chwen-Jy Chang: Previously AN 554735
Note on D198: Chwen-Jy Chang: BHP changed from 3057 to 3058 (Nov. 2018)
Note on E198: Chwen-Jy Chang: Previously AN 470535
Note on D201: Chwen-Jy Chang: BHP changed from 1193 to 1194 (Nov 2018)
Note on E201: Chwen-Jy Chang: Previously AN 551795
Note on D205: Chwen-Jy Chang: BHP changed from 1837 to 1839 (Nov. 2018)
Note on E205: Chwen-Jy Chang: Previously AN 595859
Note on E243: rpatel: See Note below
Note on D359: rpatel: BHP changed from 784 3/14/08
Note on D361: rpatel: 903 BHP w/o fan 864 BHP w/fan