south coast air quality management district

Final Environmental Assessment:

Proposed Rule 1426 – Emissions from Metal Finishing Operations; and,

Proposed Amended Rule 1469 – Hexavalent Chromium Emissions from Chrome Plating and Chromic Acid Anodizing Operations

SCAQMD No. 030703BAR

April 11, 2003

Executive Officer
Barry R. Wallerstein, D. Env.

Deputy Executive Officer
Planning, Rule Development and Area Sources
Elaine Chang, DrPH

Assistant Deputy Executive Officer
Planning, Rules, and Area Sources
Laki Tisopulos, Ph.D., P.E.

Planning and Rules Manager
Jill Whynot

Author:	Barbara A. Radlein - Air Quality Specialist

Technical	Chris Abe - Air Quality Specialist
Assistance:	Robert Gottschalk – Air Quality Engineer II

Reviewed By:	Steve Smith, Ph.D. - Program Supervisor, CEQA

Andrew Lee, P.E. – Program Supervisor, Rules

Barbara Baird - District Counsel

South coast air quality management district

##### governing board

CHAIRMAN:	WILLIAM A. BURKE, Ed.D.

Speaker of the Assembly Appointee

VICE CHAIRMAN:	S. ROY WILSON, Ed.D.

Supervisor, Fourth District

Riverside County Representative

MEMBERS:

FRED AGUIAR

Supervisor, Fourth District

San Bernardino County Representative

MICHAEL D. ANTONOVICH

Supervisor, Fifth District

Los Angeles County Representative

HAL BERNSON

Councilmember, City of Los Angeles

Cities Representative, Los Angeles County, Western Region

JANE W. CARNEY

Senate Rules Committee Appointee

WILLIAM CRAYCRAFT

Councilmember, City of Mission Viejo

Cities Representative, Orange County

BEATRICE J.S. LAPISTO-KIRTLEY

Councilmember, City of Bradbury

Cities Representative, Los Angeles County, Eastern Region

Ronald O. Loveridge

Mayor, City of Riverside

Cities Representative, Riverside County

LEONARD PAULITZ

Mayor Pro Tem, City of Montclair

Cities Representative, San Bernardino County

JAMES SILVA

Supervisor, Second District

Orange County Representative

CYNTHIA VERDUGO-PERALTA

Governor's Appointee

EXECUTIVE OFFICER:

BARRY R. WALLERSTEIN, D.Env.

PREFACE

This document constitutes the Final Environmental Assessment (EA) for Proposed Rule (PR) 1426 – Emissions from Metal Finishing Operations; and, Proposed Amended Rule (PAR) 1469 – Hexavalent Chromium Emissions from Chrome Plating and Chromic Acid Anodizing Operations.  The Draft EA was released for a 30-day public review and comment period from March 7, 2003, to April 8, 2003.  One comment letter was received from the public relative to the Draft EA.  This comment letter and the responses are included in Appendix F of this document.  Note that some modifications have been made to PR 1426 and PAR 1469 since the release of the Draft EA based on input from the regulated industry to the rule development staff.  To ease in identification, modifications to the document are included as underlined text and text removed from the document is indicated by strikethrough.  The key modification to PR 1426 since the release of the Draft EA is the inclusion of a partial exemption from the data collection and compliance report requirements in PR 1426 for the owner/operator of any facility that has an approved emissions inventory prepared pursuant to Rule 1402, subdivision (n).  The key modifications to PAR 1469 since the release of the Draft EA include:  1) changing one of the criteria for an emission-related exceedance of an applicable annual ampere-hour limit from ten percent to 135,000 ampere-hours per year or less; 2) lowering the minimum ampere-hour limit for facilities only using chemical fume suppressants to comply with PAR 1469 from 460,000 ampere-hours per year to 365,000 ampere-hours per year; and, 3) changing the maximum allowable annual ampere-limit to 500,000 ampere-hours per year instead of ten percent above 460,000 ampere-hours per year.  Other minor modifications have been made to PR 1426 and PAR 1469 for clarity and continuity.

Staff has evaluated the proposed modifications to PR 1426 and PAR 1469 since the release of the Draft EA, and has determined that the net result from the proposed changes is within the scope of the project-specific analysis.  Aside from air quality and solid/hazardous waste, no other environmental areas were affected by the proposed modifications to PR1426 and PAR 1469.  Further, none of the modifications alter any conclusions reached in the Draft EA, nor provide new information of substantial importance relative to the Draft document.  Based on the fact that the proposed modifications to PR 1426 and PAR 1469 do not create any new significant adverse impacts nor do they result in a substantial increase in the severity of any impacts relative to the project-specific analysis, the proposed modifications do not constitute significant new information that would require recirculation of the Draft EA pursuant to CEQA Guidelines §15073.5.  Therefore, this document is now a Final EA.

Table of contents

Chapter 1 - Project Description

Introduction		1-1

California Environmental Quality Act		1-2

Project Location		1-3

Project Objective		1-3

Project Background		1-4

PR 1426 Project Description		1-10

PAR 1469 Project Description		1-12

PAR 1469 Methods of Compliance		1-18

Chapter 2 – Environmental Checklist

Introduction		2-1

General Information		2-1

Environmental Factors Potentially Affected		2-2

Determination		2-3

Environmental Checklist and Discussion		2-4

Appendix A – Proposed Rule 1426

Appendix B – Proposed Amended Rule 1469

Appendix C – Construction-Related Emissions Calculations

Appendix D – Operation-Related Emissions Calculations

Appendix E – Ventilation Rates and Energy and Water Consumption From Operation

of Control Equipment

Appendix F - Comment Letter on the Draft EA and Responses to the Comments

LIST OF TABLES

Table 1-1:  Summary of Facilities Conducting Electroplating
                   and Chromic Acid Anodizing Within the District	1-6

Table 1-2:  TACs Used in the Metal Finishing Industry	1-10

Table 1-3:  Ampere-Hours Which Correspond to a Cancer Risk of
                   25 in a Million for a Worker Receptor at 25 Meters	1-15

Table 1-4:  Emissions of Hexavalent Chromium Which Create a
                   Cancer Risk of 25 in a Million for a Worker Receptor
                    at 25 Meters	1-16

Table 1-5:  Approved Control Efficiencies for Chemical Fume
                   Suppressants	1-19

Table 1-6:  Summary of Air Pollution Control Equipment Used for 
                   Metal Plating	1-22

Table 1-7:  Summary of Alternative Processes	1-27

Table 2-1:  Air Quality Significance Thresholds	2-8

Table 2-2:  Estimated Number of HEPA Systems Needed
                   Per Designed Ventilation Rate	2-10

Table 2-3:  Construction Emissions	2-12

Table 2-4:  Operation Emissions	2-14

Table 2-5:  Total Projected Fuel Usage for Construction Activities	2-20

Table 2-6:  Total Projected Energy Impacts for Operation Activities	2-21

Table D-1:  Summary of Total Estimated Annual Rectifier Usage per
                    Type of Plating Activity	D-1

Table E-1:  Calculated and Vendor Design Ventilation Rates and
                    Filter Parameters for HEPA Systems	E-1

Table E-2:  Total Projected Energy Impacts for Operation Activities	E-1

C H A P T E R   1  -  P R O J E C T   D E S C R I P T I O N

Introduction

California Environmental Quality Act

Project Location

Project Objective

Project Background

PR 1426 Project Description

PAR 1469 Project Description

PAR 1469 Methods of Compliance

# introduction

The California Legislature created the South Coast Air Quality Management District (SCAQMD) in 1977 as the agency responsible for developing and enforcing air pollution control rules and regulations in the South Coast Air Basin (Basin) and portions of the Salton Sea Air Basin and Mojave Desert Air Basin (collectively known as the “district”).  By statute, the SCAQMD is required to adopt an air quality management plan (AQMP) demonstrating compliance with all federal and state ambient air quality standards for the district.  Furthermore, the SCAQMD must adopt rules and regulations that carry out the AQMP.  The 1997 AQMP concluded that major reductions in emissions of volatile organic compounds (VOCs) and oxides of nitrogen (NOx) are necessary to attain the air quality standards for ozone and particulate matter (PM10).

In addition to the extensive control program in the AQMP, which includes traditional and innovative rules and policies, the SCAQMD, in cooperation with efforts at the local, state and federal level, has a history of reducing “toxic air contaminants” (TAC) or “air toxics” in the Basin.  A substance is considered toxic if it has the potential to cause adverse health effects.  TACs are identified on a list by state and federal agencies based on a review of available scientific evidence.  Exposure to TACs can increase the risk of contracting cancer or produce other adverse health effects such as birth defects and other reproductive damage, neurological and respiratory health effects.  A health risk assessment is used to estimate the likelihood that an individual would contract cancer or experience other adverse health effects as a result of exposure to listed TACs.

Some TACs have the potential to cause adverse noncancer health impacts.  A chronic effect is a noncancer health impact that is the result of exposure to a TAC over a long period of time.  Chronic health effects are problems such as birth defects and reproductive damage, neurological, respiratory, and other adverse health effects.  Acute effects may result from short-term exposures to a chemical.  Examples of acute health effects include headache, respiratory problems, and eye and skin irritation.

In March 2000, the SCAQMD adopted the Air Toxics Control Plan (ATCP), which was created in response to extensive air monitoring conducted under the SCAQMD’s Multiple Air Toxics Exposure Study (MATES II) and to fill the need for a more systematic approach to reducing air toxics emissions in the district .  The ATCP is a planning document designed to examine the overall direction of SCAQMD’s air toxics control program and to reduce air toxic exposures in a manner that will promote clean, healthful air for district residents and businesses.  As such, the ATCP seeks to identify measures that are technically feasible or are expected to be technically feasible and cost-effective over a period of ten years after adoption of the ATCP.  Implementation of the strategies identified in the ATCP will occur through the adoption of new or amended rules and regulations with environmental and economic analyses included.

Because metal finishing uses many compounds that contain TACs, such as hexavalent chromium, nickel, cadmium, lead, copper, sodium hydroxide, sulfuric acid, nitric acid, and hydrochloric acid, control strategy AT-STA-01 - Control of Emissions from Metal Finishing Operations, Nickel Plating Operations and Chromium Emissions from Plating and Anodizing Operations was earmarked as having potential for future controls of TACs.  The objective of AT-STA-01 is to control nickel emissions through process changes, material substitution, or add-on controls plus further reduce chromium emissions through reduced surface tension, material substitution, and/or add-on controls.  Some equipment/facilities that would be subject to the concepts of AT-STA-01 would also be required to reduce TAC emissions and overall facility risk by conducting detailed inventories to determine individual risk assessments in accordance with SCAQMD Rule 1402 – Control of Toxic Air Contaminants from Existing Sources.  In lieu of complying with this portion of Rule 1402 and to simultaneously implement control strategy AT-STA-01, the preferred approach was for SCAQMD to develop a source-specific rule to reduce the cancer risks to neighboring residents and businesses.  As a result, PR 1426 – Emissions from Metal Finishing Operations, is a new rule that has been created specifically for nickel, cadmium, lead, or copper electroplating operations.  PAR 1469 – Hexavalent Chromium Emissions from Chrome Plating and Chromic Acid Anodizing Operations, focuses on further controlling chromium emissions from plating and anodizing activities.

In addition, the Chairman of the SCAQMD Governing Board established a Negotiated Rulemaking Pilot Program (Initiative #8) consisting of stakeholders representing various agencies, industry such as the Small Business Alliance, and environmental and community groups such as the Ethnic Community Advisory Group, plus technical experts to meet on a regular basis with a facilitator and an independent observer to work together to develop new or amend existing rules.   The proposed project was selected to test the negotiated rulemaking process.  A separate report to the Governing Board will be prepared summarizing the results of the negotiated rulemaking pilot program.

# california environmental quality act

PR 1426 and PAR 1469 both affect processes at metal finishing facilities and, therefore, are a “project” as defined by the California Environmental Quality Act (CEQA).  SCAQMD is the lead agency for the project and has prepared this draft Environmental Assessment (EA) with no significant adverse impacts pursuant to its Certified Regulatory Program.  California Public Resources Code §21080.5 allows public agencies with regulatory programs to prepare a plan or other written document in lieu of an environmental impact report once the Secretary of the Resources Agency has certified the regulatory program.  SCAQMD's regulatory program was certified by the Secretary of the Resources Agency on March 1, 1989, and is codified as SCAQMD Rule 110.  Pursuant to Rule 110, SCAQMD has prepared this draft EA.

CEQA and Rule 110 require that potential adverse environmental impacts of proposed projects be evaluated and that feasible methods to reduce or avoid significant adverse environmental impacts of these projects be identified.  To fulfill the purpose and intent of CEQA, the SCAQMD has prepared this draft EA to address the potential adverse environmental impacts associated with the proposed project.  The draft EA is a public disclosure document intended to:  (a) provide the lead agency, responsible agencies, decision makers and the general public with information on the environmental effects of the proposed project; and, (b) be used as a tool by decision makers to facilitate decision making on the proposed project.

SCAQMD’s review of the proposed project shows that the project would not have a significant adverse effect on the environment.  Therefore, pursuant to CEQA Guidelines §15252, no alternatives or mitigation measures are included in this draft EA.  An analysis of a least toxics alternative pursuant to SCAQMD Governing Board direction is also not required.  The analysis in Chapter 2 supports the conclusion of no significant adverse environmental impacts.

# project location

PR 1426 and PAR 1469 would apply to SCAQMD’s entire jurisdiction.  The SCAQMD has jurisdiction over an area of 10,473 square miles, consisting of the four-county South Coast Air Basin (Basin) and the Riverside County portions of the Salton Sea Air Basin (SSAB) and the Mojave Desert Air Basin (MDAB).  The Basin, which is a subarea of the district, is bounded by the Pacific Ocean to the west and the San Gabriel, San Bernardino, and San Jacinto Mountains to the north and east.  The 6,745 square-mile Basin includes all of Orange County and the non-desert portions of Los Angeles, Riverside, and San Bernardino counties.  The Riverside County portion of the SSAB and MDAB is bounded by the San Jacinto Mountains in the west and spans eastward up to the Palo Verde Valley.  The federal non-attainment area (known as the Coachella Valley Planning Area) is a subregion of both Riverside County and the SSAB and is bounded by the San Jacinto Mountains to the west and the eastern boundary of the Coachella Valley to the east (Figure 1-1).

# project OBJECTIVE

The objective of PR 1426 is to establish a better characterization of the electroplating and chromic acid anodizing processes and the materials used, especially those containing TACs, for these sectors of the metal finishing industry.  Specifically, PR 1426 is the first step in a two-step rulemaking process to obtain operational data from facilities that conduct chromium, nickel, cadmium, lead and copper electroplating operations or chromic acid anodizing and the related process tanks that contain sulfuric acid, nitric acid, hydrochloric acid, chromic acid (excluding use in electroplating and anodizing tanks), and sodium hydroxide used in spraying operations.  Data collected from implementing PR 1426 will be compiled and analyzed to determine if a future emissions control rule (second step) is warranted.  No primary or secondary emission impacts are associated with PR 1426 because no facility modifications such as the installation of air pollution control equipment will be required..

The objective of PAR 1469 is to further reduce the quantity of and cancer risk associated with hexavalent chromium emissions from the metal finishing industry by establishing additional, more stringent requirements for chrome plating and chromic acid anodizing processes.  PAR 1469 also includes tougher standards for affected facilities near sensitive receptors such as hospitals or day care as well as for residences or schools, allows several compliance options, requires training, and establishes good operating practices.  PAR 1469 is expected to achieve a reduction in the number of cancer cases for most chrome plating facilities to less than 25 in a million.

Figure 1-1
Boundaries of the South Coast Air Quality Management District

# project BaCkground

# Metal Finishing

The metal finishing industry is mainly comprised of small businesses that provide support for other industries that rely on the finished metal products produced at these facilities, such as automotive, computer/electronics, machinery/industrial equipment and defense/government.  To meet the demand for a wide range of products, the metal finishing industry primarily utilizes two key processes, electroplating and anodizing, in addition to the other related finishing processes used such as metal stripping, bright dipping, immersion plating and paint stripping.

Businesses that conduct electroplating are commonly referred to as plating shops and are classified as either “job shops” or “captive shops”.  Job shops are independent operators that serve a variety of industries while captive shops are found within companies that manufacture products rather than specialize in metal plating exclusively.  Captive shops typically have a higher degree of automation, due to their more predictable finishing requirements.  Both job and captive shops utilize similar types of “rack and barrel” systems for their process lines, including manual hoists, hand lines, automated hoists, automated returns and reel-to-reel lines.  The most common electroplating processes in job shops use decorative chromium, nickel, copper, and zinc.  In captive shops, the most common metals used are decorative chromium, nickel, and zinc.  The average number of process lines for plating and anodizing equipment is 4.8 for job shops and 3.1 for captive shops.

# Electroplating and Anodizing

Electroplating is an electrochemical process of providing a negative electrical charge to an object while it is immersed in a metal-salt solution such that the positively charged metal ions attach to the object and form a layer of the desired metal coating.  In general, the electroplating process can use any metal, though chrome, nickel, cadmium, lead, and copper are the most common.  However, the choice of metal used depends on the desired finish and properties of the final product.  For example, the chrome chemistry used and the time lapsed for chrome plating varies depending on the purpose or function of the finished product and the desired thickness of the chromium layer.  Specifically, hard chrome plating is a process used to impart corrosion protection, wear resistance, lubricity and oil retention among other properties by depositing a thick layer of chromium (measured in thousandths of an inch) on an object over a period of hours or days.  Examples of objects that are typically hard chrome plated include engine parts, industrial machinery and tools, and parts made of steel.

Alternately, decorative chrome plating is a less time consuming process used to improve the aesthetics of an object while providing a thin layer of chromium (measured in millionths of an inch) for a protective finish.  Examples of decorative chrome plated parts include furniture components, bathroom fixtures, car bumpers and wheels and the process can take anywhere from a few seconds to minutes.  Similar to chrome, nickel plating is used for decorative, engineering and electroforming purposes.  Decorative plating, where appearance is important, accounts for about 80 percent of nickel consumed in plating.

Anodizing, also an electrochemical process, oxidizes the metal surface of an object to produce a wear- and corrosion-resistant surface, without depositing a separate metallic layer.  The difference between anodizing and electroplating is that the oxide coating is integral with the metal object or substrate as opposed to the object being coated via metallic deposition.  The resulting oxidized surface is hard and abrasion resistant, and it provides some degree of corrosion resistance.

The electroplating and anodizing processes trigger a chemical reaction that causes hydrogen gas to bubble at the cathode while smaller amounts of oxygen gas bubble at the anode.  These bubbles are the primary source of pollution because they become coated with a layer of the unused TAC-containing chemical solution from the plating bath which floats to the surface as a mist.  For example, during chromium electroplating, the part to be plated is submerged into a bath that contains sulfuric acid and chromic anhydride (CrO3), also known as chromic acid.  A maximum of only 20 percent of the chrome from the chromic acid is plated onto the part, thus making the remaining bath solution potentially available for coating the released hydrogen and oxygen bubbles as they break the surface of the plating bath to form a chromic acid mist.  The magnitude of emissions generated from these plating processes depends on several variables, including the concentration of the solution (in this example chromic acid) used in the bath, the number of ampere-hours used during plating, the bath temperature, the bath purity and surface tension.

Within the district, there are approximately 238 facilities that conduct electroplating and chromic acid anodizing.  Table 1-1 identifies the number of facilities that will be affected by PR 1426 and PAR 1469 relative to the type of plating activity and the metal used in the process.

Table 1-1

Summary of Facilities Conducting Electroplating
and Chromic Acid Anodizing Within the District

| Type of Plating Activity | Number of Facilities |
| --- | --- |
| Chromium Electroplating and/or Anodizing Only | 36 |
| Nickel Electroplating Only | 34 |
| Cadmium Electroplating Only | 8 |
| Lead Electroplating Only | 0 |
| Copper Electroplating Only | 5 |
| Chromium and Nickel | 29 |
| Chromium and Cadmium | 5 |
| Chromium, Nickel, and Cadmium | 14 |
| Chromium, Nickel, Cadmium, and Lead | 1 |
| Chromium, Nickel, Cadmium, Lead, and Copper | 4 |
| Chromium, Nickel, Cadmium, and Copper | 6 |
| Chromium, Nickel, Lead, and Copper | 1 |
| Chromium, Nickel, and Copper | 35 |
| Nickel and Cadmium | 15 |
| Nickel, Cadmium, and Lead | 2 |
| Nickel, Cadmium, Lead, and Copper | 2 |
| Nickel, Cadmium, and Copper | 5 |
| Nickel and Lead | 1 |
| Nickel, Lead, and Copper | 11 |
| Nickel and Copper | 20 |
| Cadmium, Lead, and Copper | 1 |
| Cadmium and Copper | 1 |
| Lead and Copper | 2 |
| Total | 238 |

# Overview of Current Regulatory Requirements

There are three levels of air-related regulatory requirements that apply to TAC emissions from the metal plating industry, including the requirements proposed in PR 1426 and PAR 1469:  1) federal requirements (i.e., Environmental Protection Agency or EPA); 2) state (i.e., California legislature); and, 3) local (i.e., SCAQMD).  The SCAQMD’s local efforts to specifically regulate sources of TACs from this industry have been based partly on implementing measures already adopted by EPA and the California Air Resources Board (CARB).  The following is an overview of the federal and state air toxic legislation and TAC programs and the SCAQMD TAC rules that have been adopted to implement federal, state, or SCAQMD TAC reduction programs.

# Federal Requirements

The federal Clean Air Act (CAA) establishes requirements to regulate emissions of air pollutants to protect human health and the environment.  In addition to regulating criteria pollutants, the CAA requires the EPA to regulate TACs that have been found to adversely affect human health.  Federal regulations in the CAA include the New Source Performance Standards (NSPS) under §111 and the National Emissions Standards for Hazardous Air Pollutants (NESHAPs) under §112.  The EPA periodically promulgates NSPS standards in the Code of Federal Regulations (CFR), Chapter 40, Part 60 (40 CFR Part 60) and NESHAPs in 40 CFR Parts 61 and 63.  The SCAQMD has been delegated authority by EPA to implement and enforce both NSPS and NESHAP requirements.  The requirements in 40 CFR Parts 60 and 61 were adopted by reference in SCAQMD Regulations IX and X respectively.  These regulations are periodically updated to maintain consistency with changes to the federal requirements.

For the metal finishing industry, there is currently no applicable NSPS standard and no NESHAP specific to nickel, cadmium, lead or copper electroplating operations.  However, there is an applicable NESHAP for chrome plating (National Emission Standards for Chromium Emissions from Hard and Decorative Chromium Electroplating and Chromium Anodizing Tanks), promulgated in 40 CFR Part 63, Subpart N.  The chrome NESHAP establishes emission limits for hard chromium electroplating operations and for facilities with a cumulative rectifier capacity greater than 60 million ampere-hours per year and imposes increasingly more stringent requirements as facility mass emissions increase.  For decorative chrome plating and chromic acid anodizing operations, the chrome NESHAP requires the affected facilities to meet an exhaust standard or maintain the surface tension of their plating baths at 45 dynes per centimeter or less.  In addition, the NESHAP specifies numerous monitoring, recordkeeping and reporting requirements.

The TACs used in the metal finishing industry are also addressed in other federal legislation including but not limited to:

- Occupational Safety and Health Act (OSHA);

- Toxic Substances Control Act (TSCA);

- Comprehensive Environmental Response, Compensation and Liability Act (CERCLA);

- Title III of the Superfund Amendments and Reauthorization Act (SARA); and,

- Resource Conservation and Recovery Act (RCRA).

# State Requirements

There are two requirements that are applicable to the metal finishing industry at the state level.  The first, the Air Toxics "Hot Spots" Information and Assessment Act, was enacted in September 1987 by the California State Assembly as Assembly Bill 2588 (hereafter referred to as the AB2588 program).  Under this act, certain stationary sources are required to report the types and quantities of specified toxic substances, including all of the TACs listed in Table 1-2, they release into the air.  Emissions of interest are those that result from the routine operation of a facility or that are predictable, including but not limited to continuous and intermittent releases and process upsets or leaks.  The goals of AB2588 are to collect emission data, to identify facilities having localized impacts, to ascertain health risks, to notify nearby residents of significant risks, and to reduce risk for facilities over specific thresholds.

In addition to the AB2588 program, CARB promulgated a State Airborne Toxic Control Measure (ATCM) for chrome plating to reduce emissions by establishing control requirements for new and existing hard and decorative chromium plating operations and chromic acid anodizing facilities.  Overall, the state ATCM for the metal finishing industry is consistent with the requirements in the chrome plating NESHAP.  The requirements in the ATCM are identical to the current version of Rule 1469, except for some minor differences in formatting, definitions and reporting requirements.

# SCAQMD Requirements

Some equipment/facilities that would be affected by PR 1426 and PAR 1469 may also be regulated by other SCAQMD rules that focus on toxics such as Rule 1401 – New Source Review of Toxic Air Contaminants, and Rule 1402.  Rule 1401 establishes permitting requirements for new, relocated and modified sources that emit TACs.  The risk-based limits are a maximum individual cancer risk (MICR) of one in one million (1 x 10-6) if a permit unit is not constructed with best available control technology for toxics (T-BACT) or ten in one million (10 x 10-6) if T-BACT is used.  The increase in excess cancer cases in the population due to the permit unit is limited to 0.5, and the limit for noncancer acute and chronic compounds is a Hazard Index (HI) of 1.0.

The objective of Rule 1402 is to minimize public health risk from existing emissions of TACs by imposing risk reduction requirements for facilities that exceed as specified action risk level.  Rule 1402 applies to existing facilities within SCAQMD’s jurisdiction whose facility-wide TAC emissions exceed specific risk levels.  Rule 1402 establishes requirements for applicability, significant risk levels, risk assessment, risk reduction plans, implementation of risk reduction plans and progress reports.  Facilities subject to Rule 1402 may be required to prepare detailed inventories, and depending on their emissions and health risks, may need to prepare risk assessments and implement risk reduction plans.  Rule 1402 establishes a significant cancer risk level at 100 in a million and an action risk level at 25 in a million.  There are also non-cancer risk levels.

Hexavalent chromium, nickel, cadmium, lead, copper, sodium hydroxide, sulfuric acid, and nitric acid are commonly used in the metal finishing industry and are identified in Table 1 of Rule 1401 as TACs with varying health effects (i.e., they are identified in Rule 1401 as carcinogenic, or having chronic or acute HIs).  A chronic effect is a noncancer health impact that is the result of exposure to a TAC over a long period of time.  Chronic health effects are problems such as birth defects and other reproductive damage, neurological, respiratory, and other adverse health effects.  Acute effects may result from short-term exposures to a chemical.  Examples of acute health effects include headache, respiratory problems, and eye and skin irritation.

Specific to metal finishing, hexavalent chromium is a potent carcinogen that is identified as a key TAC in the MATES II study.  Nickel is a carcinogen known to have chronic health effects to the cardiovascular or blood system and acute health effects to the immune system.  Cadmium and lead are also classified as carcinogens.  Copper, an acute TAC, affects the respiratory system.  Sodium hydroxide, an acute toxic, affects the eyes, respiratory system, and skin, while sulfuric and nitric acids are both acute TACs that affect the respiratory system.  Similarly, hydrochloric acid is a chronic TAC affecting the respiratory system and an acute TAC affecting the eyes and respiratory system.

For existing facilities, Rule 1402 establishes reporting thresholds for hexavalent chromium, cadmium, nickel and copper.  Any facility that exceeds these emission thresholds are required to submit an emissions inventory within 60 days after notification from the Executive Officer, unless a source-specific rule specifically exempts the industry from the inventory requirements.  Though the current version of Rule 1469 does not contain this specific exemption, both PR 1426 and PAR 1469 contain proposals to exempt facilities from the Rule 1402 inventory requirements provided that the affected facilities are otherwise in compliance with PR 1426 or PAR 1469, as applicable.  However, PAR 1469 also contains a proposal that provides an alternative compliance option for facilities to comply with the emission inventory and health risk assessment requirements in Rule 1402 in lieu of complying with certain emission limits in PAR 1469.

Table 1-2 summarizes the TACs used in the metal finishing industry and lists the applicable reporting thresholds pursuant to Rule 1402.

Table 1-2

TACs Used in the Metal Finishing Industry

| TAC | Carcinogen? | Chronic Hazard Index? | Acute Hazard Index? | TAC Reporting Threshold in Rule 1402 (pounds/year) |
| --- | --- | --- | --- | --- |
| Hexavalent Chromium | Yes | Yes | No | 0.005 |
| Cadmium | Yes | Yes | No | 0.2 |
| Lead | Yes | Yes | No | -- |
| Nickel | Yes | Yes | Yes | 3.3 |
| Copper | No | Yes | Yes | 500 |
| Sodium Hydroxide | No | Yes | Yes | -- |
| Sulfuric Acid | No | Yes | Yes | -- |
| Nitric Acid | No | Yes | Yes | -- |

# pr 1426 project description

PR 1426 is a new rule that focuses on collecting data about electroplating processes and chromic acid anodizing without proposing any physical changes to affected facilities.  Specifically, PR 1426 is the first step in a two-step rule development process and would require facilities that perform chromic acid anodizing and chromium, nickel, cadmium, lead or copper electroplating operations to submit data on process and receptor information.  PR 1426 also applies to the chemicals used in process tanks associated with electroplating and anodizing activities such as sulfuric acid, nitric acid, hydrochloric acid, chromic acid (excluding chromic acid used in electroplating and anodizing tanks) and sodium hydroxide used for spraying operations.  Since currently there is limited data available, implementing PR 1426 will help determine if electroplating and chromic acid anodizing operations cause cancer risks or hazard indices that warrant future rule amendments.  Data collected from implementing PR 1426 will be compiled and analyzed to determine if a future emissions control rule (second step) is warranted.  The proposed rule also has good operating and housekeeping requirements to minimize emissions.  The following summarizes the major requirements of the proposed rule.  A copy of the proposed rule is included in Appendix A.

#### Applicability

PR 1426 will apply to facilities that perform chromic acid anodizing and chromium, nickel, cadmium, lead or copper electroplating operations.  In addition, PR 1426 applies to facilities with electroplating and anodizing process tanks that contain sulfuric acid, nitric acid, hydrochloric acid, or chromic acid (excluding chromic acid used in electroplating and anodizing tanks that would otherwise be subject to PAR 1469), and related spraying operations that use sodium hydroxide.

#### Definitions of Terms

# Equipment- and process-specific definitions specifically referenced in PR 1426 include, but are not limited to “ampere-hours,” “electroplating bath,” “fugitive dust,” “metal plating facility,” “process tank,” “stalagmometer,” “surface tension,” and “tensiometer.”  In addition, more general definitions are included in PR 1426 such as “add-on air pollution control equipment,” “enclosed storage area,” and “sensitive receptor locations.”

#### Requirements

PR 1426 would require data collection, housekeeping practices, air sparging limitations, and an initial plus one annual follow-up compliance report for the affected metal plating facilities.  The data collection requirements focus on the process description including descriptions of control equipment and their operating parameters, such as the tank dimensions (i.e., surface area and volume); bath concentration; ampere-hours consumed from rectifiers serving the plating tanks; receptor information, including distances to residential, commercial/industrial, and sensitive receptors; purchase records; and other parameters that may be relevant to the specific process.  For example, data collected regarding nickel electroplating tanks includes the concentration of nickel in plating tanks, tank surface area and volume, and air sparging rate.

The housekeeping practices, effective within 60 days after the adoption of PR 1426, require reducing fugitive dust from the storage and transport of nickel, cadmium, lead and copper containing powders or salts, plus the clean-up and handling (i.e., storage, disposal, recovery, or recycling) of wastes generated by the housekeeping activities.  Further, PR1426 proposes to limit the time when air sparging activities can only occur up to one hour prior to parts being placed in the tank and one hour after the parts are removed for process tanks containing chromic acid.

By February 1, 2004, affected facilities will be required to prepare an initial compliance report containing the collected data.  Finally, as a follow-up to the initial compliance report, a second and final compliance report is due by February 1, 2005.  This report will include purchase records and identify any changes to or new applications to change the processes or control equipment previously identified in the initial compliance report.

#### Inspection and Maintenance Requirements

# For facilities using add-on air pollution control equipment, inspection and maintenance requirements are proposed in accordance with manufacturer recommended inspection and maintenance schedule.  In the absence of manufacturer specifications, PR 1426 establishes a minimum requirement for quarterly inspections of nickel, cadmium, lead, or copper electroplating operations using add-on control equipment.

#### Recordkeeping

# In accordance with the data collection and compliance reporting requirements, PR 1426 includes requirements to maintain and retain records of monitoring data for at least five years, with the most current two years stored on site.  The records shall include the following:  1) cumulative monthly and annual rectifier usage; and, 2) actions taken to support the housekeeping requirements as they pertain to the storage, disposal, recovery, or recycling of waste products containing nickel, cadmium, lead or copper.

#### Rule 1402 Inventory Requirements

# Facilities in compliance with the requirements of PR 1426 will not be subject to the requirement to prepare and submit an emissions inventory in accordance with subparagraph (n)(1)(B) of Rule 1402.

#### Exemptions

# Facilities that have submitted an emissions inventory in accordance with subdivision (n) of Rule 1402 and received SCAQMD approval, will not be subject to the compliance reporting and data collection requirements in paragraphs (c)(1), (c)(2), and (c)(3) of PR 1426.

# pAr 1469 project description

The current version of Rule 1469 applies to hard chrome plating, decorative chrome plating, and chromic acid anodizing and requires facilities to meet hard chrome plating emission limits and to meet either an exhaust standard or plating bath surface tension limit for decorative chrome plating and chromic acid anodizing.  The purpose of amending Rule 1469 is to establish more stringent levels of control requirements for hard and decorative chrome plating and chromic acid anodizing.  More stringent requirements are proposed for facilities located 25 meters or less from a sensitive receptor or residence or 100 meters or less from an existing school (kindergarten through grade 12).

Not all subdivisions contain proposed changes and for those that do, some are relatively minor changes proposed for clarity and consistency throughout the rule.  For simplicity, the following paragraphs summarize the major changes proposed in PAR 1469.  A copy of PAR 1469 is included in Appendix B.

#### Applicability

# This subdivision has been clarified to emphasize that compliance with PAR 1469 is in addition to complying with other applicable local, state and federal rules (i.e., Rule 1401, the ATCM, and the NESHAP).

Definitions

# This subdivision has been modified to include the following new definitions applicable to chrome plating and chromic acid anodizing operations:  “enclosed storage area,” “fugitive dust,” and, “sensitive receptor locations.”  Also, several definitions are proposed to be amended for clarity and continuity with the other proposed changes throughout PAR 1469.  Also, some definitions have been deleted for consistency with the other new requirements proposed in PAR 1469.

Requirements

# The proposed changes to subdivision (c) of PAR 1469 contains multiple layers of requirements, some that apply to all tanks at affected facilities (i.e., hexavalent chrome electroplaters and chromic acid anodizers) and others that vary based on the type of chrome plating or anodizing operation, the facility size (electrical current consumption in electroplating or anodizing operations) and location with respect to residences and sensitive receptors.  It is important to note, however, that until the PAR 1469 requirements become effective, facilities are subject to interim standards which are identical to the requirements in the existing or current version of Rule 1469.

# To provide flexibility for compliance with the more stringent requirements in PAR 1469, alternative emission standards and criteria for calculating these standards are also proposed.  For simplicity, the following summarizes the proposed changes to this subdivision of PAR 1469 that would apply to all affected facilities.

All owners/operators of facilities subject to PAR 1469 shall:

- Comply with the chrome ATCM and NESHAP requirements, until PAR 1469 is fully implemented;

- Comply with interim standards until more stringent requirements in PAR 1469 become effective;

- Continue to equip each tank with continuous ampere-hour meter for each rectifier;

- Use only certified chemical fume suppressants within one year after adoption of PAR 1469, as applicable;

- Cease air sparging activities when plating is not occurring and when adding chromic acid to plating bath;

- Implement housekeeping practices pertaining to the transport and storage of chromic acid powder or flakes, spill clean-up, and dust minimization procedures;

- Not remove any existing air pollution control equipment without replacing it with other air pollution control equipment or technique that can meet an equal or higher control efficiency;

- Train and certify all chrome plating personnel responsible for environmental compliance, bath chemistries, testing and recordkeeping in accordance with SCAQMD-approved training program; and,

- Submit a compliance plan specifying the emission limit, alternative standard, or alternative compliance option, the method(s) to be used for compliance, the name of the certified wetting agent fume suppressant to be used, and the certified surface tension of the fume suppressant, as applicable.

# PAR 1469 also contains several key changes to the process specific requirements (e.g., hexavalent chromium emission control limitations) and any applicable alternative emissions standards, as they pertain to various types of plating tanks (e.g., hard and decorative chrome electroplating and chromic acid anodizing), the distance from a residence or sensitive receptor, operating schedule, annual ampere-hour usage, and requirement for air pollution control equipment. To increase compliance flexibility for decorative chromium electroplating using a trivalent chromium bath, an additional emission limit of less than or equal to 0.01 mg/ampere-hour is proposed.

# In addition, the following discussion applies to the proposed changes to PAR 1469 with respect to facilities located 25 meters or less from a sensitive receptor or residence or 100 meters or less from an existing school (kindergarten through grade 12).  To be health protective of sensitive receptors and residents located near a plating or anodizing facility, these facilities are required to meet more stringent standards.  Further, PAR 1469 establishes criteria for determining emission-related exceedances for these facilities.  Specifically, any facility that receives a Notice of Violation (NOV) for more than two emission related exceedances within five years is required to install a HEPA filtration system or other equivalent air pollution control equipment within 15 months.  Examples of emission-related exceedances include: 1) exceeding the applicable surface tension limit for a plating bath; 2) exceeding the applicable annual ampere-hour limit by 135,000 ampere-hours per year or less; 3) exceeding a permit limit that specifies the chromic acid weight concentration limit; or, 4) missing or inoperable equipment for measuring plating bath surface tension or ampere-hours used.  The following summarizes the key changes that would apply to the specified affected facilities.

Facilities located 25 meters or less from a sensitive receptor or residence or 100 meters or less from an existing school (kindergarten through grade 12) are required to:

- Reduce emissions to an emission limitation of 0.0015 mg/ampere-hr within two years; or

- Comply with an alternative compliance option.

# In addition, the following is a summary of the requirements applicable to facilities that are located more than 25 meters from a sensitive receptor or residence.

Facilities located more than 25 meters from a sensitive receptor or residence are required to:

- Reduce emissions to an emission limitation of 0.01 mg/ampere-hour within two years if operating less than the ampere-hour thresholds in Table 1-3 or less than a calculated level which is based on actual receptor distance; or

- Reduce emissions to an emission limitation of 0.0015 mg/ampere-hour within two years if operating more than the ampere-hour thresholds in Table 1-3 or more than a calculated level which is based on actual receptor distance; or

- Comply with an alternative compliance option.

Table 1-3

Ampere-Hours Which Correspond to a Cancer Risk of 25 in a Million
for a Worker Receptor at 25 Meters

| Operating Scenario | Regular Operating Schedule | Ampere-Hour Threshold* |
| --- | --- | --- |
| Vented to Air Pollution Control Equipment | More than 12 hours per day | 1,800,000 ampere-hours/year |
| Vented to Air Pollution Control Equipment | Less than 12 hours per day | 1,600,000 ampere-hours/year |
| Not Vented to Air Pollution Control Equipment | Any | 1,150,000 ampere-hours/year |

*  Pursuant to Appendix 7 of PAR 1469, in lieu of using 25 meters as the receptor distance, any facility may choose to adjust the applicable ampere-hour/year threshold based on the facility’s actual receptor distance.

### Alternative Compliance Options

Similar to the requirements, the proposed rule includes several alternative compliance options, for all facilities, based on receptor distance and type.  The following summarizes the criteria for each receptor distance and facility type addressed in the requirements subdivision.

Facilities located more than 25 meters from a sensitive receptor or residence may:

  - Submit an inventory and health risk assessment prepared pursuant to Rule 1402 – Control of Toxic Air Contaminants from Existing Sources demonstrating facility-wide emissions result in a cancer risk of less than 25 in a million.  The Executive Officer’s HRA review process will be consistent with the process for Rule 1402 and the AB 2588 program; or

  - Demonstrate through a Compliance Plan a facility-wide mass emission rate of less than the annual emission thresholds in Table 1-4 or less than a calculated level which is based on actual receptor distance; or

  - For facilities consuming less than 365,000 ampere-hours per year, at a minimum use chemical fume suppressants containing a wetting agent to lower the surface tension of the plating bath to no more than 45 dynes per centimeter or the surface tension established during certification of the fume suppressant.

Table 1-4

Emissions of Hexavalent Chromium Which Create a Cancer Risk
 of 25 in a Million for a Worker Receptor at 25 Meters

| Operating Scenario | Regular Operating Schedule | Annual Emission Threshold* |
| --- | --- | --- |
| Vented to Air Pollution Control Equipment | More than 12 hours per day | 0.04 lbs/yr |
| Vented to Air Pollution Control Equipment | Less than 12 hours per day | 0.036 lbs/yr |
| Not Vented to Air Pollution Control Equipment | Any | 0.025 lbs/yr |

*  Pursuant to Appendix 7 of PAR 1469, in lieu of using 25 meters as the receptor distance, any facility may choose to adjust the applicable annual emission threshold based on the facility’s actual receptor distance.

Facilities located 25 meters or less from a sensitive receptor or residence or 100 meters or less from an existing school (kindergarten through grade 12) may:

- Submit an inventory and health risk assessment prepared pursuant to Rule 1402 demonstrating facility-wide emissions result with a cancer risk of less than 10 in a million (10 x 10-6).   The Executive Officer’s HRA review process will be consistent with the process for Rule 1402 and the AB 2588 program; or

- Submit an emission reduction plan for executive officer approval demonstrating that facility-wide hexavalent chromium emissions result in a cancer risk of less than or equal to 10 in a million (10 x 10-6).  Upon approval, implementation of the emission reduction plan, including installation of control equipment, would be required within 15 months; or

- For facilities consuming less than 365,000 ampere-hours per year, at a minimum use chemical fume suppressants containing a wetting agent to lower the surface tension of the plating bath to no more than 45 dynes per centimeter or the surface tension established during certification of the fume suppressant.  Facilities that exceed either the 500,000 ampere-hours per year limit or a threshold specified in a compliance plan by more than 135,000 ampere-hours per year are required to install HEPA filters or equivalent air pollution control equipment within 15 months.  Facilities that receive a Notice of Violation (NOV) for more than two emission related exceedances, as specified in PAR 1469, within five years are required to install HEPA filters or equivalent air pollution control equipment within 15 months.

Performance Test Requirements and Test Methods

# For continuity with the other proposed changes throughout PAR 1469, this subdivision contains a clarification that a performance test is required for any facility using add-on air pollution control equipment, foam blanket chemical fume suppressants, or mechanical fume suppressants in order to demonstrate compliance with the applicable emission standards.

Certification of Wetting Agent Chemical Fume Suppressants

# New subdivision (f) will require that all wetting agent chemical fume suppressants in use are SCAQMD certified so that the electroplating or anodizing bath can achieve an emission limitation of 0.01 milligrams/ampere-hour and the surface tension of the fume suppressant is 45 dynes/cm or less.  An alternative surface tension may also be approved for use and certified by SCAQMD.

Parameter Monitoring

# A minor clarification is included in the parametric monitoring requirements to emphasize that the surface tension of decorative chromium electroplating tanks using a trivalent chromium bath is not required to be monitored.

Recordkeeping

# Paragraph (j)(3) contains a recordkeeping clarification that requires performance test records and test results to include the pressure drop across an air pollution control device and the inlet velocity pressure to demonstrate compliance with the applicable emission limitation.  New paragraph (j)(8) is proposed to require facility owners/operators to maintain records that demonstrate compliance with the housekeeping practice requirements proposed in subdivision (c).

Reporting

# Paragraph (k)(3) contains a clarification that annual ongoing compliance status and emission reports shall be submitted on or before February 1 and shall cover the preceding calendar year from January 1 through December 31.

Rule 1402 Inventory Requirements

# New subdivision (p) is being proposed to exempt chromium electroplating and chromic acid anodizing tanks at facilities in compliance with PAR 1469 from having to prepare and submit an emission inventory pursuant to Rule 1402, subparagraph (n)(1)(B).

Appendix 6

Appendix 6 - Approval of Alternatives for Specific Requirements, is a table that outlines the rule requirements, the description of authority as it pertains to the rule requirement, and the public agencies that have jurisdiction over approving a given alternative.  Appendix 6 is an updated replacement to Table 3 – Requirements for Approval of Alternatives as previously found in PAR 1469, paragraph (k)(3).

Appendix 7

In accordance with the new alternative emission standards allowed for facilities located more than 25 meters from a residential or sensitive receptor, Appendix 7 – Distance-Adjusted Ampere-Hour and Annual Emissions Limits for Facilities Located More Than 25 Meters from a Residence or Sensitive Receptor, has been added to PAR 1469.  Appendix 7 contains the procedures and criteria for adjusting ampere-hour or annual emissions limits according to the actual receptor distance.

# par 1469 methods of Compliance

# To comply with PAR 1469 and subsequently reduce the quantity of chromium emissions from electroplating and anodizing operations, operators of each facility will need to determine the appropriate compliance method based on the type of plating operation(s) and equipment configurations and whether or not air pollution control equipment is currently in place or required.  There are five main ways for a facility to comply with PAR 1469:  1) mechanically suppressing mists at the surface of the tank; 2) suppressing fumes via the use of chemical fume suppressants; 3) venting tanks to new or modified air pollution control equipment; 4) preparing an emissions inventory and receiving approval for a hazards risk assessment that demonstrates a facility-wide cancer risk for all toxic compounds of less than 25 in a million (25 x 10-6) for facilities located more than 25 meters from a sensitive receptor or residence; 5) preparing an emissions inventory and receiving approval for a hazards risk assessment that demonstrates a facility-wide cancer risk for all toxic compounds of less than 10 in a million (10 x 10-6) for facilities located 25 meters or less from a sensitive receptor or residence or 100 meters or less from an existing kindergarten through grade 12 school; 6) preparing an Emission Reduction Plan that identifies emission reduction strategies that can demonstration a facility-wide cancer risk of  less than 10 in a million (10 x 10-6) for hexavalent chromium for facilities located 25 meters or less from a sensitive receptor or residence or 100 meters or less from an existing kindergarten through grade 12 school; and 7) replacing current operations with pollution prevention techniques (i.e., using alternative processes to hexavalent chrome plating).  The following subsections discuss each of the potential methods for complying with PAR 1469.

###### Mist Suppression at Tank Surface

Mist suppression or the act of minimizing the production of aerosols or wet particulates containing chrome and other heavy metals from escaping the metal plating or anodizing tanks can be accomplished by adding polyethylene balls, commonly referred to as polyballs.  Polyballs are usually used in combination with a foam blanket to cover the wet surface of the bath.  The layer of floating polyballs acts as a barrier that blocks mist from escaping above the tank surface.  Tanks using polyballs remain fully functional with respect to work piece submergence and removal.  The control efficiency of polyballs minimizes the generation of wet particulates from 50 to 80 percent.

###### Chemical Fume Suppressants

Another approach to reducing or suppressing chrome-laden mist or fumes at the surface of plating and anodizing baths is through the use of chemical fume suppressants.  There are two basic types of chemical fume suppressants:  wetting agents (surfactants) and foam blankets.  A wetting agent chemical fume suppressant contains a surfactant, so that when it is added to a tank, the surface tension of the plating bath is lowered and the quantity of mist produced is reduced.  The most common surfactant-based fume suppressants are fluorinated or perfluorinated because fluorine adds stability over a wide range of operating parameters and plating bath chemistries.  Typically, wetting agent chemical fume suppressants can reduce emissions by 95 to 99 percent or more, depending on the surface tension of the plating bath.

The second type of chemical fume suppressant, foam blanket fume suppressants, control tank emissions differently from wetting agents.  Instead of inhibiting the formation of mists, foam blanket fume suppressants create a foam layer that covers the surface of the bath and physically traps any mist that would otherwise be released.  Foam blankets are initially generated from the agitation that occurs when the hydrogen and oxygen bubbles are generated during the plating process.  In general, the effectiveness of the foam blanket is dependent on maintaining optimal blanket thickness which is typically in the range of 0.5 to one inch.  If the foam blanket is too thin, the mists will not be adequately contained and if it becomes too thick, hydrogen gas will get trapped and an extremely dangerous potential explosion hazard will result.  On average, foam blanket fume suppressants are expected to reduce emissions by approximately 70 percent.

Table 1-5 contains a list of both wetting agent and foam blanket chemical fume suppressants whose control efficiencies have been approved by SCAQMD for surface tensions at or below 45 dynes per centimeter.

Table 1-5

Approved Control Efficiencies for Chemical Fume Suppressants

| Chemical Fume Suppressant (Brand Name) | Type of Chemical Fume Suppressant | Type of Metal Plating Activity | Control Efficiency (%) |
| --- | --- | --- | --- |
| Fumetrol 101 | Foam Blanket | Hard | 95%* |
| Fumetrol 140 | Wetting Agent | Decorative; Hard; & Anodizing | 99% |
| Foam-Lok L | Foam Blanket | Hard | 95%* |
| Harshaw MSP-ST | Wetting Agent | Anodizing | 95% |
| Dis-Mist NP | Wetting Agent | Decorative | 99% |
| Zero-Mist Liquid | Wetting Agent | Decorative | 99% |
| Benchbrite CR-1700 3X | Wetting Agent | Decorative; Hard; & Anodizing | 99% |

* This control efficiency is achieved with the combined use of chemical fume suppressant
with polyballs.

###### Air Pollution Control Equipment

There are four types of air pollution control equipment available and currently in use for reducing emissions from metal plating and anodizing operations.  They are high efficiency particulate arrestor (HEPA) filters, mist eliminators (mesh pad and chevron types), wet packed bed scrubbers, and totally enclosed tanks.  The following discussion summarizes each type of control technology.

###### HEPA Filters

If one or more plating or anodizing tanks are connected to a ventilation system consisting of ductwork and blowers, the air can be routed to a series of filters to capture the dry toxic particulate emissions produced during metal finishing activities.  The first filter or prefilter is designed to collect the larger particles entrained in the air stream and to prevent clogging of the filter system overall.  After the prefilter, the air stream is routed through one or more HEPA filters, which are capable of trapping the smaller toxic particles associated with metal plating and anodizing activities.  A HEPA filter is capable of collecting fine particles as small as 0.3 µm in diameter at an efficiency of 99.97 percent or greater.

The HEPA filter design consists of a pleated construction, which is similar to other filter designs available, but it is unique because the filter media is denser to capture smaller particles.  HEPA filters are generally limited to handle airflow with an ambient temperature up to approximately 100 degrees Fahrenheit (oF), though special applications for higher temperatures are available.  However, since the temperatures of most plating and anodizing baths are well within the ambient temperature limit, most HEPA filters should be suitable for this type of application.  In addition, with respect to maintenance, unlike other less efficient filter systems, HEPA filters are not automatically cleaned.  When one HEPA filter element becomes loaded with particulate matter, it needs to be manually changed and disposed of as hazardous waste.

###### Mist Eliminators

There are two kinds of mist eliminators used to collect wet toxic particulates entrained in the air collected by tank ventilation systems, mesh pad and chevron type.  A mesh pad resembles a screen that is made up of multiple layers of a fine woven plastic filament.  As the exhaust air flows through the ventilation system towards the mesh pad, the wet droplets impact the mesh pad and fall out of the exhaust stream.  The ability of a mesh pad to remove the wet particulates from the exhaust stream is dependent upon the particle size, air velocity as it travels through the ventilation system, the filament diameter of the mesh pad, the quantity of stages plus the orientation and depth of the mesh pad(s) relative to the direction of the air flow.  Mesh pads are capable of collecting fine particles as small as 5.0 µm in diameter.

In a typical arrangement, a mesh pad mist eliminator serves a single plating tank and is installed inside the ventilation system.  The cross sectional area of the exhaust duct is increased by the unit, which reduces the velocity of the exhaust stream and allows the wet particulates to adhere to the mesh pad.  Removal efficiency is increased by adding multiple stages of mesh pads.  The pads are periodically washed down and the collected plating solution is returned to the plating bath.

Because of their design, mesh pads are ideal for chemical recovery purposes and for preventing corrosion of the ventilation system, especially for tanks that contain a caustic bath solution.  Mesh pads are also used for controlling air pollutant emissions when used in combination with a wet packed bed scrubber system to remove wet particulates entrained in the tank exhaust air stream.  However, a mesh pad cannot be used for both purposes when there are multiple exhaust streams (i.e., several tanks using multiple tank chemistries) directed to one or more mist eliminators.  In this case, the wet particulates will be captured, but the chemicals cannot be recovered for reuse for future metal finishing activities.

A chevron mist eliminator contains several baffles that are arranged in a chevron or ‘zigzag’ pattern.  As the mist-laden air travels through the device, it impacts the baffles and is forced to make several abrupt changes in direction between the entry and exit points of the mist eliminator.  Since the wet particulates or mist droplets are much heavier than air molecules, they have too much linear momentum to make sharp turns without impacting a baffle.  Each change in direction of the air flow forces the wet particulates to impact the baffles and drop out of the exhaust stream.  Eventually a liquid film builds up on the baffles, large droplets coalesce and return to the metal finishing tank for reuse, thus, making the placement of a chevron mist eliminator at the exhaust point of a tank vent ideal for conserving process tank solutions.  In addition, like mesh pad units, a chevron mist eliminator may also be used in combination with a wet packed bed scrubber to prevent excessive emissions of wet particulates.

###### Wet Packed Bed Scrubber

A wet packed bed scrubber is a device that forces air laden with wet particulates through a vertical column or bed filled with non-corrosive plastic packing media.  Exhaust air from a plating or anodizing tank line enters at the bottom of the scrubber and exits at the top.  As the air passes through the column, the wet particulates are impinged onto the packing media which is regularly sprayed with a scrubbing solution.  Subsequently, the wet particulates are dissolved into the scrubbing liquor.  Typically, the scrubbing solution is pumped from a reservoir at the base of the scrubber and sprayed down into the packing from the top, in a counter-current flow.  Plugging of the nozzles or too high of an acid concentration of the scrubbing solution can adversely affect the efficiency of the scrubber.  To prevent these effects, some portion of the scrubbing solution is regularly purged and replaced with clean water.  The purged solution is either sent to a pretreatment system for recovery or disposed of as hazardous waste.  In addition, to increase removal efficiency, any wet particulates remaining in the exhaust air stream flow through a dewatering or demisting stage after the packed bed.  For several applications, wet packed bed scrubbers can achieve a high pollutant removal efficiency, ranging from 90 to 98 percent depending on flow, residence (contact) time, pressure drop, and solution freshness.  However, because the configuration of tanks within plating shops requires a large pressure drop across the scrubber, the control efficiency is typically 70 percent for the metal finishing industry.

###### Totally Enclosed Tanks

This technology, which is applicable only to hard chrome plating and chromic acid anodizing, uses a hinged tank cover to form a completely sealed system that contains chromic acid emissions within the enclosed tank area.  Hydrogen gas and oxygen resulting from the plating process is vented through membranes in the cover.  The membranes are sized to prevent passage of chromic acid mist or water vapor.  While the cover is closed and after plating is completed, any chromic acid vapors lingering in the headspace between the cover and the tank surface will dissipate back into the tank after several minutes or the vapors can be evacuated through a small cartridge filter.  Though the control efficiency is reported to be 100 percent, the applicability of this technology is limited to plating or anodizing activities that don’t require an operator to closely monitor or interrupt the process to check on the product prior to completion of the metal finishing task.

In summary, to comply with PAR 1469, the appropriate type of air pollution control equipment depends on the desired product finish as it corresponds to the applicable plating or anodizing process, the chemistry of the metal finishing, and the operational needs of an affected facility.  Table 1-6 summarizes the air pollution control equipment with respect to their approximate control efficiencies.

Table 1-6

Summary of Air Pollution Control Equipment Used for Metal Plating

| Control Technology | Substance Type Controlled | Control Efficiency (%) |
| --- | --- | --- |
| HEPA filter (with prefilter) | Dry particulates | 99.9 - 99.99 % |
| Mist suppression via Polyballs | Aerosols (wet particulates) | 50 - 80* % |
| High-efficiency mist eliminator | Aerosols (wet particulates) | 50 - 99 % |
| Wet packed bed scrubber | Aerosols (wet particulates) | –70 % |

*This is a first stage control that is meant to be used in conjunction with another control device such as a wet packed bed scrubber or a mist eliminator.

###### Cancer Risk Demonstration

# In lieu of making any physical changes to current operations, a facility may choose to comply with PAR 1469 by preparing an emission inventory and conducting a risk assessment to calculate the MICR using facility-specific data.  Facilities located more than 25 meters from a sensitive receptor or residence or more than 100 meters from an existing school (kindergarten through grade 12) can submit a health risk assessment to demonstrate that facility risk does not exceed 25 in a million (25 x 10-6) for all TAC compounds.  Facilities not located within these distances may elect to prepare an emission reduction plan that demonstrates the facility-wide cancer risk does not exceed 10 in a million (10 x 10-6) for hexavalent chromium.

###### Pollution Prevention

Emission reductions of hexavalent chromium and others can be achieved by implementing pollution prevention techniques such as using alternative plating processes or implementing process changes.  Whenever feasible, replacing hexavalent chromium or other metals in plating activities with less toxic or non-toxic alternatives will have a net effect of reducing emissions from this industry.  There are several processes that are potential alternatives to certain plating activities.  However, the alternatives are not necessarily a universal solution for the entire plating industry because of the extensive specifications for each product being fabricated.  For example, the features of each alternative vary by parameters such as quality of finish, durability, hardness, abrasion and corrosion resistance, heat sensitivity, wear, size and shape of the product, and cost.  The following discussion contains brief overviews highlighting some of the advantages and disadvantages of the various alternatives to hexavalent chrome plating, nickel plating, and chromic acid anodizing.  These alternative pertain to compliance with PAR 1469 and pollution prevention that could voluntarily be implemented for other metal plating.

###### Trivalent Chrome Plating

The use of trivalent chromium in decorative applications has been proven to be a limited, but successful alternative for hexavalent chrome plating when finish thicknesses are required to be no greater than 0.1 millimeter (mm).  Thicker finishes tend to cause problems with cracking and palling, so trivalent chromium is not considered a suitable replacement for hard chromium plating finishes, which are typically at least 20 mm thick.  The following summarizes the advantages of trivalent plating over hexavalent chrome:

- Lower Concentrations of Metal – metal concentrations of trivalent plating baths are typically lower than hexavalent chrome baths, which results in less quantities of hazardous waste to be treated, hauled away and disposed of as sludge, resulting in lower waste treatment costs overall.

- No Reduction Step – because wastes containing hexavalent chrome must first be reduced or converted to trivalent chromium before disposal, large quantities of chemicals such as sulfur dioxide, metabisulfite or sodium borohydride are used for the conversion process.  For example, three pounds of sodium metabisulfite are required for each pound of chromic acid converted to trivalent chrome.  Therefore, with trivalent chrome plating eliminating the reduction step, the need for the additional chemicals plus the equipment and labor costs associated can also be eliminated.

- Higher Rack Densities – rack density refers to the number of items that can be attached to the rack for submersion into a plating bath at any one time while maintaining a high quality finish.  Trivalent chromium plating allows 15 percent more items than hexavalent chrome.

- Lower Current Density – for lower current flow, the trivalent chrome process can utilize less expensive racks with inexpensive drawn copper wire hooks in lieu of the more expensive custom parts racks used for hexavalent chrome plating.

- Fewer Rejects – the ‘throwing power’ or the ability of trivalent chrome to plate evenly and consistently is higher than for hexavalent plating, which reduces the number of rejected or improperly plated parts.

- Reduced Dragout – because a trivalent bath solution is less viscous than hexavalent bath solutions, less plating solution clings to the parts when they are removed from the bath, resulting in lower costs for waste treatment and makeup chemicals.

- No Fumes – unlike hexavalent plating, trivalent plating does not produce chromic acid fumes which are highly corrosive and present a potential health hazard to personnel and the surrounding environment.

Despite the many benefits to using the trivalent chrome process in place of hexavalent chrome, the main barrier for converting is customer acceptance because the color tones of the trivalent deposit are darker overall and the resulting finish is not as shiny.  However, recent developments in new bath additives for the trivalent chrome processes have improved the finish so that it more closely resembles the look of hexavalent chrome.  Also, the trivalent chromium process has a slightly higher cost and requires more careful control of plating conditions.

###### Electroless Nickel Phosphorous

The process of electroless nickel plating from conventional hypophosphite solutions has been considered as an alternative to using hexavalent chrome.  However, its usefulness is limited due to the slightly poorer physical properties of the finish such as reduced hardness and abrasion resistance.  The corrosion-resistance and wear properties are dependent upon the phosphorous content of the bath, which ranges from one to 12 percent.

As an alternative to hypophosphite solutions, electroless nickel deposits from borohydride solutions have shown better wear, lower friction, and improved hardness, though heat treatment is required to achieve full hardness.  The electroless nickel process bath is more sensitive to impurities than the chrome plating bath.  As a result, it must be monitored closely to maintain the proper concentrations and balance of the metal ions and reducing agents.  In addition, the bath life is finite and requires frequent disposal and replenishment, especially for applying thick deposits.  Deposition rates and coating properties are affected by temperature, pH, and metal ion-reducing agent concentrations.

As compared to hexavalent chromium, an advantage of electroless nickel plating is that it produces an even, albeit brittle, deposit over the contours of the substrate without producing excess buildup at the edges and corners.  Thus, the need to overplate would be eliminated.  However, if grinding is necessary to even out the nickel deposit, the brittle quality of the nickel layer may make it difficult to grind if the deposit layer is thick.  Based on this and previously mention drawbacks, deposits of electroless nickel have limited industrial applications (e.g., for ground-based hydraulic component use) but it cannot be plated as cost effectively as hexavalent chrome.

###### Nickel-Tungsten Electroplating

There are two relatively new nickel tungsten-based electroplating processes available as potential alternatives to chrome plating:  1) nickel-tungsten boron (Ni-W-B); and, 2) nickel-tungsten silicon carbide composite (Ni-W-SiC).  Both processes are electrolytic and deposit a coating of nickel and tungsten.  The presence of small amounts of either boron or silicon carbide enhances the properties of the deposited coating.

A plating solution of nickel-tungsten-boron is mildly alkaline and far less toxic than chromium.  It is reflective with an appearance similar to chromium, bright silver, or bright nickel.  In addition, the coating has favorable chemical and abrasion resistance, high ductility, a low coefficient of friction, and a uniform finish.  Unlike most metals that exhibit a crystalline structure at ambient temperatures, the alloy is structureless so that the plate replicates the appearance of the substrate.  For instance, if the substrate has a bright appearance, so will the finish, but if the substrate is etched or patterned, the plated work piece will appear etched.

The nickel-tungsten silicon carbide composite technology has been patented by Takada Incorporated to replace hard chromium coatings.  Nickel-tungsten silicon carbide is similar to nickel-tungsten-boron, except that it uses silicon carbide particles interspersed in the matrix to relieve internal stress and improve coating hardness.  Nickel and tungsten ions become absorbed on the suspended silicon carbide particles in the plating solution.  The attached ions are then adsorbed on the cathode surface and discharged.  The silicon carbide particle becomes entrapped in the growing metallic matrix.

The nickel-tungsten silicon carbide process has several advantages over hard chromium plating including higher plating rates, higher cathode current efficiencies, better throwing power, and better wear resistance.  The main disadvantage of this process is its susceptibility to metallic and biological contamination.  Much is still unknown about this process including its susceptibility to hydrogen embrittlement, fatigue, and corrosion as well as its maximum finish thickness, lubricity, grinding characteristics, and facility requirements.

Both alternatives use less energy to operate the rectifiers and heaters, resulting in reduced energy costs when compared to hexavalent chrome plating.  Like electroless nickel plating, the deposits are more uniform than chrome which in turn increases plating line throughput and reduces the rate of rejection.  The nickel-tungsten electroplating process produces many of the same desirable physical properties as chrome plating, but it isn’t commonly used because additional performance testing is needed.  The major disadvantages of nickel-tungsten electroplating are the reliance on nickel and the potential increase in chemical costs.

###### Tin-Cobalt Alloy

Tin-cobalt alloys provide a finish that is similar in appearance to chromium.  The tin-cobalt appearance ranges in color from a bright, chromium appearance to a warm, silvery gray color.  Color is controlled by varying the percent of tin in the alloy.  To achieve the appearance of a chromium plate, the optimal tin-cobalt ratio in solution is 50:50.  This ratio results in a plate that consists of 80 percent tin and 20 percent cobalt.  Reducing the cobalt content of the plate below 17 percent results in a matte gray appearance.  Additional operating parameters include a pH of approximately 8.5 and an operating temperature ranging between 38 and 43 degrees Celsius.  The tin-cobalt finish provides hardness and wear-resistance that is sufficient for most indoor, decorative applications.  The process, either in rack or barrel operations, uses an alkaline sulfate system with optional wetter/amine-based liquid brighteners.  Current applications of this plating alternative for chromium include automotive interior parts, computer components, bicycle spokes, flexible shower hoses, and screws.

###### Tin-Nickel Alloy

Tin-nickel alloy plating results in a faint rose pink color and can be used as a replacement for decorative chromium plating for both indoor and outdoor applications.  This alloy is resistant to corrosion and tarnish and has good contact and wear resistance.  The hardness of a tin-nickel deposit ranges between chromium and nickel.  Other advantages of this coating include excellent frictional resistance and ability to retain an oil film on its surface.  Tin-nickel alloy plating solutions have a high throwing power, which enables the solution to function where plating chromium in deep recesses is a problem.

###### Aluminum Ion Vapor Deposition

Ion vapor deposition (IVD) produces a multi-purpose coating that has excellent corrosion protection and no embrittlement problems.  This technology has been used as an alternative to chromium coating in several applications.  Extensive testing has shown that IVD aluminum protects substrates better than electroplated or vacuum-deposited chromium in acetic salt fog and outdoor environments.  IVD also provides greater resistance to cracking.

###### Type II Sulfuric Acid Anodizing

The results of a National Aeronautics and Space Administration (NASA) study indicate that in applications where anodizing is used to impart corrosion protection on aluminum, Type II sulfuric acid anodizing is superior to Type I chromic acid anodizing.

Chemical suppliers claim that converting from chromic acid anodizing to sulfuric acid anodizing is not a simple chemical substitution.  Instead, the process requires a complete change of the anodizing equipment with partial modifications to downstream waste treatment facilities.  Due to the differences in the acidity levels of sulfuric acid and chromic acid, replacement of the anodizing tank is typically required.  Further, sulfuric acid anodizing processes also have different voltage and amperage requirements, necessitating replacement of the rectifier.  The operating temperature of the electrolytic bath is different for the two processes such that the chromic process is steam heated and maintained at an operating temperature ranging between 90 and 100 oF, whereas the sulfuric acid process is chilled with cooling water to an operating temperature ranging between 45 and 70 oF.

Operation and maintenance costs tend to be much lower for sulfuric acid anodizing than for chromic acid because of lower energy requirements.  Wastewater treatment costs are also lower because the sulfuric acid process only requires the removal of copper, whereas chromic acid requires more complex chrome reduction techniques.  The change in materials also means that the cost of sludge disposal is greatly reduced.

Table 1-7 summarizes the several alternative processes to hexavalent chromium electroplating.  Each of the alternatives may have limited application, but are potential strategies available to facilities to reduce hexavalent chromium emissions from the metal finishing industry.

Table 1-7

Summary of Alternative Processes *

| Alternative Process | Advantages | Disadvantages |
| --- | --- | --- |
| Trivalent Chromium (Cr+3) | Nontoxic Lower concentrations needed Less chemicals used – less waste No fumes Higher throughput of final product | Less durable finish than Cr+6 Color difference Limited to decorative applications |
| Electroless Nickel Phosphorus | Less toxic More uniform finish than Cr+6 No need to overplate Appropriate for use in ground- based hydraulic components | Lower hardness & abrasion resistance May require heat treatment for hardness Process bath sensitive to impurities |
| Nickel-Tungsten Electroplating | Less toxic More uniform finish than Cr+6 Lower energy costs than Cr+6 | Potentially higher chemical costs |
| Tin-Cobalt Alloy | Less toxic Similar finish to Cr+6 Appropriate for indoor decorative applications | Lower hardness & wear resistance |
| Tin-Nickel Alloy | Less toxic Hardness between chromium & nickel Good corrosion & tarnish resistance Good wear resistance Appropriate for indoor & outdoor use | Limited to decorative applications |
| Aluminum Ion Vapor Deposition (IVD) | Less toxic Excellent corrosion resistance Appropriate for outdoor use Good resistance to cracking | Extremely expensive Likely for highly specialized military or commercial aerospace applications |

*The alternative processes identified in this table may be considered pollution prevention techniques for chrome and other metals.

C H A P T E R   2  -  E N V I R O N M E N T A L   C H E C K L I S T

Introduction

General Information

Environmental Factors Potentially Affected

Determination

Environmental Checklist and Discussion

# INTRODUCTION

The environmental checklist provides a standard evaluation tool to identify a project's potential adverse environmental impacts.  This checklist identifies and evaluates potential adverse environmental impacts that may be created by the proposed project.

# GENERAL INFORMATION

| Project Title: | Proposed Rule 1426 – Emissions From Metal Finishing Operations; and, Proposed Amended Rule 1469 – Hexavalent Chromium Emissions From Chrome Plating and Chromic Acid Anodizing Operations |
| --- | --- |
| Lead Agency Name: | South Coast Air Quality Management District |
| Lead Agency Address: | 21865 E. Copley Drive, Diamond Bar, CA 91765 |
| CEQA Contact Person: | Ms. Barbara Radlein (909) 396-2716 |
| Rule 1469 Contact Person | Mr. Andrew Lee (909) 396-2643 |
| Project Sponsor's Name: | South Coast Air Quality Management District |
| Project Sponsor's Address: | 21865 E. Copley Drive, Diamond Bar, CA 91765 |
| General Plan Designation: | Not applicable |
| Zoning: | Not applicable |
| Description of Project: | PR 1426 is the first step of a two-step rule development process to establish a better characterization of the electroplating and chromic acid anodizing processes and the materials used, especially those containing TACs, for these sectors of the metal finishing industry. PR 1426 accomplishes this by obtaining operational data from facilities that conduct chromium, nickel, cadmium, lead and copper electroplating operations or chromic acid anodizing and the related process tanks that contain sulfuric acid, nitric acid, hydrochloric acid, chromic acid (excluding use in electroplating and anodizing tanks), and sodium hydroxide used in spraying operations. Data collected from PR 1426 will be compiled and analyzed to determine if future rulemaking (second step) is warranted. The objective of PAR 1469 is to further reduce the quantity of and cancer risk associated with hexavalent chromium emissions from the metal finishing industry by establishing additional, more stringent requirements for chrome plating and chromic acid anodizing processes, especially for those facilities near sensitive receptors such as schools. PAR 1469 is expected to achieve a reduction in the number of cancer cases for most chrome plating facilities to less than 25 in a million. Both rules require good operating practices. |
| Surrounding Land Uses and Setting: | Not applicable |
| Other Public Agencies Whose Approval is Required: | Not applicable |

# Environmental Factors Potentially Affected

The following environmental impact areas have been assessed to determine their potential to be affected by the proposed project.  As indicated by the checklist on the following pages, environmental topics marked with a "(" may be adversely affected by the proposed project.  An explanation relative to the determination of impacts can be found following the checklist for each area.

| ( | Aesthetics | ( | Agriculture Resources | ( | Air Quality |
| --- | --- | --- | --- | --- | --- |
| ( | Biological Resources | ( | Cultural Resources | ( | Energy |
| ( | Geology/Soils | ( | Hazards & Hazardous Materials | ( | Hydrology/ Water Quality |
| ( | Land Use/Planning | ( | Mineral Resources | ( | Noise |
| ( | Population/Housing | ( | Public Services | ( | Recreation |
| ( | Solid/Hazardous Waste | ( | Transportation/ Traffic | ( | Mandatory Findings of Significance |

# DETERMINATION

On the basis of this initial evaluation:

| ( | I find the proposed project, in accordance with those findings made pursuant to CEQA Guideline §15252, COULD NOT have a significant effect on the environment, and that an ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
| --- | --- |
| ( | I find that although the proposed project could have a significant effect on the environment, there will NOT be significant effects in this case because revisions in the project have been made by or agreed to by the project proponent. An ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
| ( | I find that the proposed project MAY have a significant effect(s) on the environment, and an ENVIRONMENTAL ASSESSMENT will be prepared. |
| ( | I find that the proposed project MAY have a "potentially significant impact" on the environment, but at least one effect 1) has been adequately analyzed in an earlier document pursuant to applicable legal standards, and 2) has been addressed by mitigation measures based on the earlier analysis as described on attached sheets. An ENVIRONMENTAL ASSESSMENT is required, but it must analyze only the effects that remain to be addressed. |
| ( | I find that although the proposed project could have a significant effect on the environment, because all potentially significant effects (a) have been analyzed adequately in an earlier ENVIRONMENTAL ASSESSMENT pursuant to applicable standards, and (b) have been avoided or mitigated pursuant to that earlier ENVIRONMENTAL ASSESSMENT, including revisions or mitigation measures that are imposed upon the proposed project, nothing further is required. |

Date:   March 7, 2003	 	Signature:			
			Steve Smith, Ph.D.	
			Program Supervisor

ENVIRONMENTAL CHECKLIST AND DISCUSSION

As discussed in Chapter 1, PR 1426 is primarily a data gathering rule to obtain operational data from facilities that conduct chromium, nickel, cadmium, lead and copper electroplating operations or chromic acid anodizing and the related process tanks that contain sulfuric acid, nitric acid, hydrochloric acid, chromic acid (excluding use in electroplating and anodizing tanks), and sodium hydroxide used in spraying operations.  The rule includes good housekeeping requirements to reduce emissions.  No primary or secondary emission impacts are associated with PR 1426 because no facility modifications such as the installation of air pollution control equipment will be required.  Therefore, PR 1426 will not be further analyzed in this document.

Because the objective of PAR 1469 is to further reduce the quantity of and cancer risk associated with hexavalent chromium emissions from the metal finishing industry by establishing additional, more stringent requirements for chrome plating and chromic acid anodizing processes, PAR 1469 is expected to reduce the number of cancer cases for most chrome plating facilities to less than 25 in a million.  Specifically, PAR 1469 would supplement the current emission limit requirements for chrome plating pursuant to the NESHAP promulgated in 40 CFR Part 63, Subpart N, National Emission Standards for Chromium Emissions From Hard and Decorative Chromium Electroplating and Chromium Anodizing Tanks, by reducing the cancer risk at most of the affected facilities to below 25 in one million (25 x 10-6).  Because PAR 1426 is an administrative rule for the purposes of this assessment, the response to the following checklist items focus only on the requirements in PAR 1469 and are based on the assumption that mechanical and chemical fume suppressants and add-on control equipment (i.e., HEPA filtration systems) would be used to comply with the requirements of PAR 1469, depending on the specific type of operation being controlled.

It is important to note that the basis for estimating the number of HEPA filtration systems, the number of HEPA filters needed, and the projected usage of chemical fume suppressants was derived from a combination of facility data with worst-case assumptions, when actual data were not available.  Thus, the estimates are conservative to the extent that the actual numbers of add-on controls and fume suppressant usage are expected to less than the calculated amounts. Further, the availability of alternative compliance options in PAR 1469 is also expected to keep the actual number of add-on controls below the calculated values analyzed in this document.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| I. AESTHETICS. Would the project: |  |  |  |
| Have a substantial adverse effect on a scenic vista? | ( | ( | ( |
| Substantially damage scenic resources, including, but not limited to, trees, rock outcroppings, and historic buildings within a state scenic highway? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| Substantially degrade the existing visual character or quality of the site and its surroundings? | ( | ( | ( |
| Create a new source of substantial light or glare which would adversely affect day or nighttime views in the area? | ( | ( | ( |

I.a), b), c) & d)  The proposed project would regulate chromium emissions from chromium electroplating and chromic acid anodizing operations.  For affected facilities that do not currently meet the more stringent rule requirements, the expected options for compliance are the use of mechanical and chemical fume suppressants and add-on control equipment (i.e., HEPA filtration systems).

The proposed project would not result in any new construction of buildings or other structures that would obstruct scenic resources or degrade the existing visual character of a site, including but not limited to, trees, rock outcroppings, or historic buildings.  Similarly, additional light or glare would not be created which would adversely affect day or nighttime views in the area since no light generating equipment would be required to comply with PAR 1469.  Further, any installation of HEPA filtration systems at the existing facilities, either inside or outside the existing building(s), would not appreciably change the visual profile of the affected building(s).

Based upon all of the above considerations, significant adverse aesthetics impacts are not anticipated and will not be further analyzed in the Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| II. AGRICULTURE RESOURCES. Would the project: |  |  |  |
| a) Convert Prime Farmland, Unique Farmland, or Farmland of Statewide Importance (Farmland), as shown on the maps prepared pursuant to the Farmland mapping and Monitoring Program of the California Resources Agency, to non- agricultural use? | ( | ( | ( |
| b) Conflict with existing zoning for agricultural use, or a Williamson Act contract? | ( | ( | ( |
|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| c) Involve other changes in the existing environment which, due to their location or nature, could result in conversion of Farmland, to non-agricultural use? | ( | ( | ( |

II.a), b), & c)  The proposed project would regulate chromium emissions from chromium electroplating and chromic acid anodizing operations.  For affected facilities that do not currently meet the more stringent rule requirements, the expected options for compliance are the use of mechanical and chemical fume suppressants, and add-on control equipment (i.e., HEPA filtration systems).

The proposed project would not result in any new construction of buildings or other structures that would convert farmland to non-agricultural use or conflict with zoning for agricultural use or a Williamson Act contract.  Further, any installation of HEPA filtration systems at the existing facilities, either inside or outside the existing building(s), would not require converting farmland to non-agricultural uses because equipment would be installed completely within the confines of an affected industrial facility’s boundaries.

Based upon all of the above considerations, significant adverse agricultural resources impacts are not anticipated and will not be further analyzed in the Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| III. AIR QUALITY. Would the project: |  |  |  |
| a) Conflict with or obstruct implementation of the applicable air quality plan? | ( | ( | ( |
| b) Violate any air quality standard or contribute to an existing or projected air quality violation? | ( | ( | ( |
| c) Result in a cumulatively considerable net increase of any criteria pollutant for which the project region is non-attainment under an applicable federal or state ambient air quality standard (including releasing emissions that exceed quantitative thresholds for ozone precursors)? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| d) Expose sensitive receptors to substantial pollutant concentrations? | ( | ( | ( |
| e) Create objectionable odors affecting a substantial number of people? | ( | ( | ( |
| f) Diminish an existing air quality rule or future compliance requirement resulting in a significant increase in air pollutant(s)? | ( | ( | ( |

III.a)  PAR 1469 is being implemented to reduce chromium emissions and the cancer risk from chromium electroplating and chromic acid anodizing operations.  Although the proposed project does not implement control measures in the SCAQMD’s AQMP, the proposed project is consistent with the air quality improvement goals of the AQMP because it is expected to contribute to the overall improvement of air quality in the region by reducing TAC emissions and the cancer risk from affected facilities.  Therefore, this is a beneficial effect such that it will not be further analyzed in this Draft EA.

III.b) & c)  The objective of the proposed project is to reduce chromium emissions and facility-wide cancer risk from chromium electroplating and chromic acid anodizing operations.  However, the implementation of PAR 1469, with respect to the use of chemical fume suppressants and add-on controls could create both direct and indirect air quality impacts.  These impacts are discussed separately below.

Air Quality Significance Criteria

To determine whether or not air quality impacts from adopting and implementing the proposed amendments are significant, impacts will be evaluated and compared to the following criteria.  If impacts exceed any of the following criteria, they will be considered significant.  All feasible mitigation measures will be identified and implemented to reduce significant impacts to the maximum extent feasible.  The project will be considered to have significant adverse air quality impacts if any one of the thresholds in Table 2-1 are equaled or exceeded.

Table 2-1

##### Air Quality Significance Thresholds

| Mass Daily Thresholds |
| --- |
| Pollutant | Construction | Operation |
| NOx | 100 lbs/day | 55 lbs/day |
| VOC | 75 lbs/day | 55 lbs/day |
| PM10 | 150 lbs/day | 150 lbs/day |
| SOx | 150 lbs/day | 150 lbs/day |
| CO | 550 lbs/day | 550 lbs/day |
| Lead | 3 lbs/day | 3 lbs/day |
| TAC, AHM, and Odor Thresholds |
| Toxic Air Contaminants (TACs) Accidental Release of Acutely Hazardous Materials (AHMs) | MICR > 10 in 1 million HI > 1.0 (project increment) and HI > 3.0 (facility-wide) CAA §112(r) threshold quantities |
| Odor | Project creates an odor nuisance pursuant to SCAQMD Rule 402 |
| NO2 1-hour average annual average | 20 ug/m3 (= 1.0 pphm) 1 ug/m3 (= 0.05 pphm) |
| PM10 24-hour annual geometric mean | 2.5 ug/m3 1.0 ug/m3 |
| Sulfate 24-hour average | 1 ug/m3 |
| CO 1-hour average 8-hour average | 1.1 mg/m3 (= 1.0 ppm) 0.50 mg/m3 (= 0.45 ppm) |

KEY:

| MICR = maximum individual cancer risk | HI = Hazard Index |
| --- | --- |
| ug/m3 = microgram per cubic meter | Pphm = parts per hundred million |
| mg/m3 = milligram per cubic meter | Ppm = parts per million |
| AHM = acutely hazardous material; | TAC = toxic air contaminant |

Direct Air Quality Impacts

PAR 1469 is estimated to reduce the cancer risk at most of affected facilities to below 25 in one million.  Based on an evaluation of inventories of facilities that would be subject to PAR 1469, the universe is comprised of about 32 facilities with 126 hard chrome tanks, 71 facilities with 106 decorative chrome tanks, 23 facilities with 32 chromic acid anodizing tanks, and five facilities that conduct multiple plating operations with 16 hard chrome tanks, 6 decorative chrome tanks, and 5 chromic acid anodizing tanks.  Consequently, reducing the cancer risk at the majority of these facilities will provide an air quality benefit in the near- and long-term.

Direct air quality impacts of amending PAR 1469 would result from the reduction of the risk levels.  Lowering toxic risk at affected facilities will provide air quality and human health benefits to the public, such as reducing cancer and non-cancer risk.

Indirect Air Quality Impacts

The installation and operation of add-on air pollution control equipment and the use of chemical fume suppressants can potentially create secondary or indirect air quality impacts (e.g., emissions), which can adversely affect local and regional air quality.  A project generates emissions both during the period of its construction and through ongoing daily operations.  During installation of new add-on air pollution control devices, emissions may be generated by onsite construction equipment and by offsite vehicles used for worker commuting.  After construction activities are completed, emissions may be generated by the operation of the add-on air pollution control devices, emissions generated from the use of chemical fume suppressants, or a combination of the two.

An affected facility may opt to install add-on air pollution control equipment in order to achieve the applicable emission limit or to meet the applicable cancer risk relative to the residential or sensitive receptor distance as required by PAR 1469.  Though there are several types of add-on controls commercially available, for the purpose of calculating a “worst-case” impact versus the achievable control efficiencies, this document assumes that all of the air pollution control devices to be installed as a result of PAR 1469 will be HEPA filtration systems combined with mist eliminators.  The total estimated number of air pollution control systems to be installed was determined by the number of existing tanks at each of the 131 affected facilities.  In addition, approximately half of the new air pollution control systems to be installed at the affected facilities may involve the dismantling and removal of an equal amount of existing air pollution control systems.  To estimate the “worst-case” construction- and operational-related emissions associated with the implementation of PAR 1469, the following assumptions were made.  Refer to Appendices C and D for the assumptions used to estimate indirect construction- and operational-related air quality impacts.

Assumptions Based on Incremental Number of Add-on Pollution Control Equipment

Of the 131 affected facilities with 291 tanks, the following facilities will need to install air pollution control equipment in response to PAR 1469:

- Eight facilities have 34 hard chrome plating tanks;

- 12 facilities have 18 decorative chrome plating tanks;

- Two facilities have two chromic acid anodizing tanks; and

- Three facilities conduct multiple hexavalent chromium plating processes with 13 hard chrome plating tanks, five decorative chrome plating tank, and three chromic acid anodizing tanks.

Based upon available information, the remaining 106 affected facilities already comply with the PAR 1469 requirements and will not need to install add-on pollution control equipment.  Therefore, these facilities are excluded from the analysis of indirect impacts resulting from installation of pollution control equipment.

The estimated the number of add-on pollution control equipment that is expected to be installed pursuant to PAR 1469 is based on the assumption that the 25 facilities will install a total of 37 air pollution control systems.  In addition, 11 of these facilities, as part of the installation process, will be dismantling and removing 18 of their older existing air pollution control devices which are comprised of scrubber technology.

Based on the type of plating that occurs at the affected facilities, Table 2-2 summarizes the size of the HEPA filtration systems relative to the ventilation rate or air flow throughput.  Refer to Appendix E for the assumptions and methodology for determining the designed ventilation rate for the HEPA filtration systems.

Table 2-2

Estimated Number of HEPA Systems Needed Per Designed Ventilation Rate

| Type of Plating Tank | No. of HEPA Systems Needed per Designed Ventilation Rate |
| --- | --- |
|  | 5,000 cfm | 10,000 cfm | 20,000 cfm |
| Hard | 5 | 2 | 8 |
| Decorative | 11 | 2 | 1 |
| Anodizing | 2 | 0 | 0 |
| Combination* | 2 | 2 | 2 |
| Total | 20 | 6 | 11 |

* Multiple Plating Processes with any combination of hard, decorative and anodizing operations.

cfm = cubic feet per minute

Construction Assumptions

Construction-related emissions can be distinguished as either onsite or offsite.  Onsite emissions generated during construction principally consist of exhaust emissions (NOx, oxides of sulfur (SOx), carbon monoxide (CO), VOC, and PM10) from heavy-duty construction equipment operation, PM10 from fugitive dust resulting from disturbed soil, and VOC emissions from asphaltic paving and painting.  Offsite emissions during the construction phase normally consist of exhaust emissions and entrained paved road dust as PM10 from worker commute trips, material delivery trips, and haul truck material removal trips to and from the construction site.

With respect to PAR 1469, no construction emissions from grading are anticipated because installation of new air pollution control equipment (i.e., HEPA filtration systems) and the dismantling of existing air pollution control equipment would occur at existing industrial/commercial facilities and, therefore, would not require activities such as digging, earthmoving, grading, slab pouring, or paving.  The type of construction-related activities attributable to facilities that would be dismantling existing scrubbers and/or installing new HEPA filtration systems would consist predominantly of cutting, welding, et cetera.  Activities during construction that could potentially adversely affect air quality are those activities associated with the installation of new and the dismantling of existing air pollution equipment, including the truck deliveries of equipment and the truck transport trips to remove the dismantled equipment.

PAR 1469 requires compliance with the emission limit for metal plating activities with tanks vented to air pollution control equipment to occur no later than two years from the adoption date of the proposed rule amendments.  However, before construction can begin, each facility will be required to apply for and received an approved permit to construct.  Therefore, as a practical matter, from the time each affected facility applies for and receives a permit, it is assumed that each affected facility will have one year to construct their HEPA filtration system and dismantle any existing air pollution control equipment, as applicable, in order to comply with PAR 1469.

- For “worst-case” construction emissions, it is assumed that all 37 HEPA filtration systems are constructed and all, though not simultaneously, within the second year following the adoption of PAR 1469.

- To derive the peak construction-related activities, the 37 add-on controls for the “worst-case” was divided by a three-month construction period (12 weeks) to yield a maximum of 12 add-on controls that could be installed during any month.  This “worst-case” assumption is based on the fact that some facilities may delay submitting their applications in accordance with the compliance timelines, the total number of permits received at any one time, the SCAQMD’s permitting resources, and the availability of contractors to install the add-on controls.

- Though the installation of new HEPA filtration systems alone may not take nearly as long as 12-weeks, the combination of installing new equipment and subsequently dismantling existing equipment may take the entire estimated time.  Therefore, the estimate period of 12-weeks represents a conservative average for all facilities that are expected to undergo construction alone or construction and dismantling, as applicable.

- The installation for every add-on control device requires the use of one air compressor and welder that operate four hours per day.

- Each add-on control requires a construction crew consisting of six members.

Construction Emissions

The total amount of construction emissions are generated from construction activities, including combustion equipment operating onsite and the workers’ offsite vehicle trips.  The assumptions used to derive estimates for offsite or mobile source emission increases are based on worker/power resources and hours required to deliver and install a typical HEPA filtration system and to dismantle and haul away an existing system.  Assuming a five-day week at four hours per day, the construction project would require six workers per day.  Using a 1.0 vehicle occupancy, the labor force would generate approximately six one-way vehicle trips per day for a total of 12 round-trip vehicle trips for every facility undergoing construction activities.  Assuming an estimated 40 mile round trip each day per vehicle and 80 mile round trip per day for delivery/haul away truck trips, the total daily offsite worker’s travel emissions that would be attributed to construction-related activities for installing twelve HEPA filtration systems in any one quarter are approximately 20 pounds of NOx, six pounds of VOC, 55 pounds of CO, 0.2 pound of SOx and 0.6 pound of PM10.  Refer to Appendix C for the calculations used to estimate offsite mobile source emissions.

Table 2-3 presents the results of the SCAQMD's construction air quality analysis.  It lists the total daily construction emissions from construction worker trips and use of equipment during the installation of new and the dismantling of existing control devices.  The calculations demonstrate that the total daily construction emissions would not generate emissions that exceed the SCAQMD’s CEQA air quality thresholds for construction emission significance of 100 pounds per day of NOx, 75 pounds per day of VOC, and 550 pounds per day of CO and 150 pounds of PM10 as discussed in the SCAQMD’s CEQA Air Quality Handbook (November 1993).  Therefore, air quality impacts from construction emissions are considered to be not significant.  Appendix C contains the spreadsheet with the results and assumptions used by the SCAQMD for this analysis.

Table 2-3

Construction Emissions

(in pounds per day)

| Peak Construction Activity | CO (lb/day) | VOC (lb/day) | NOx (lb/day) | SOx (lb/day) | PM10 (lb/day) |
| --- | --- | --- | --- | --- | --- |
| Onsite Emissions* | 7.8 | 1.4 | 12.7 | 1.4 | 0.7 |
| Offsite Emissions** | 55.1 | 6.0 | 19.5 | 0.2 | 0.6 |
| Total Offsite and Onsite | 62.9 | 7.4 | 32.2 | 1.6 | 1.3 |
| SIGNIFICANCE THRESHOLD | 550 | 75 | 100 | 150 | 150 |
| SIGNIFICANT? | NO | NO | NO | NO | NO |

*   Construction Activities

** Worker Commute

Operational Assumptions for HEPA Filtration Systems

Day to day operation of new HEPA filtration systems does not rely on natural gas for power and thus does not have the potential to generate significant adverse secondary air quality impacts due to combustion.  However, because trucks are used to transport the spent HEPA filters for disposal as hazardous waste, emissions from truck exhaust may contribute to adverse secondary air quality operation impacts.  It is important to keep in mind that the toxic and hazardous nature of the products used by the metal finishing industry contain toxic and hazardous materials, meaning that facilities affected by PAR 1469 currently follow procedures for the process, storage, transport, and disposal of hazardous waste via truck trips.  Based on facility data combined with conservative estimates when data was not available, of the 37 new add-on control devices to be installed at 25 facilities, a total of 76 HEPA filters are estimated to be needed.  Manufacturer recommendations suggest the replacement of HEPA filters should occur anywhere from once a year to once every two years, depending on the loading or throughput.  For a “worst-case” analysis, it is assumed that each HEPA filtration system will require replacement of its HEPA filter once per year, which means that each facility will have a maximum disposal rate of three HEPA filters per year.  With a typical dimension of one HEPA filter at approximately two feet wide by two feet long by twelve inches deep or four cubic feet, disposal of three HEPA filters per year equates to approximately 12 cubic feet of hazardous waste per facility.

Therefore, because the replacement and disposal frequency of the HEPA filters is calculated to be relatively low (i.e., less than one filter per year per system), it is not practical or likely that each facility will arrange for a separate transport trip uniquely for the purpose of disposing the spent HEPA filters.  Instead, the spent HEPA filters are expected to be included as part of the same number of truck trips that each facility currently has scheduled.  With no change to the current setting as it pertains to the delivery schedule for trucks to pick up and dispose the collected additional hazardous waste (as HEPA filters) expected, no increase in operational emissions due to the disposal of spent HEPA filters is anticipated as a result of implementing PAR 1469.  However, for every spent HEPA filter, a new replacement would be required.  Therefore, 76 fresh HEPA filters would need to be delivered to 25 facilities in a given year.  Given the number of work days in a year and the fact that only 25 facilities would require replacement HEPA filters, it is unlikely that more than one delivery trip per day will occur.  Therefore, to account for the additional deliveries, a maximum of one truck delivery trip per day at 80 miles round trip is assumed for this analysis.  Based on this scenario of a maximum of one heavy-duty truck trip per day, the total daily offsite travel emissions that would be attributed to HEPA filter deliveries are approximately: 0.25 pound of NOx, two pounds of VOC, two pounds of CO, 0.02 pound of SOx and 0.08 pound of PM10.  Refer to Appendix C of this document for the assumptions and calculations.

Operation Emissions from Chemical Fume Suppressants

Based on facility data combined with conservative estimates when data was not available for the universe of sources, 70 tanks at 39 facilities are estimated to begin using a certified fume suppressant to comply with PAR 1469.  However, PAR 1469 does not dictate the use of any particular chemical fume suppressant.  Based on the product material safety and data sheets (MSDS), the majority of the chemical fume suppressants that are expected to be used by the metal plating industry to comply with PAR 1469 consist mostly of water and surfactants but may contain a small quantity VOCs (i.e., no more 50 grams of VOC per liter of material).  Further, the MSDS sheets indicate that none of the chemical fume suppressants currently available on the market contain any ozone depleting compounds or global warming compounds.  Thus, use of these products would not be subject to additional permitting or regulatory requirements other than the certification requirements proposed in PAR 1469.  For the 39 facilities that are expected to start using chemical fume suppressants, an increase of approximately 0.85 pound per day of VOCs is expected.  Refer to Appendix D of this document for the assumptions and calculations.

Total Operation Emissions

Table 2-4 presents the results of the SCAQMD's operation air quality analysis.  It lists the total daily operation emissions from transport trips to deliver fresh HEPA filters and the use of chemical fume suppressants.  Again, the calculations demonstrate that the total daily operation emissions would not generate emissions that exceed the SCAQMD’s CEQA air quality thresholds for construction emission significance of 100 pounds per day of NOx, 75 pounds per day of VOC, and 550 pounds per day of CO and 150 pounds of PM10 as discussed in the SCAQMD’s CEQA Air Quality Handbook (November 1993).  Therefore, air quality impacts from operation emissions are considered to be not significant.  Appendices C and D contain the spreadsheet with the results and assumptions used by the SCAQMD for this analysis.

Conclusion

Based on the information provided above, the proposed project would not result in significant adverse air quality impacts.  As such, the proposal would not diminish an existing air quality rule or future compliance requirement, nor conflict with or obstruct implementation of the applicable air quality plan.  The proposal has no direct provision that would violate any air quality standard or directly contribute to an existing or projected air quality violation.  Since project-specific impacts are not expected to exceed air quality significance thresholds established by the SCAQMD, the effects of the proposed project are not considered cumulatively considerable.  Therefore the above facts and analyses demonstrating that project-specific air quality impacts from implementing the proposed project are not significant support the conclusion that the proposed project will not result in a cumulatively considerable net increase of any criteria pollutant.

Table 2-4

Operation Emissions

(in pounds per day)

| Peak Construction Activity | CO (lb/day) | VOC (lb/day) | NOx (lb/day) | SOx (lb/day) | PM10 (lb/day) |
| --- | --- | --- | --- | --- | --- |
| Onsite Emissions* | 0 | 0.85 | 0 | 0 | 0 |
| Offsite Emissions** | 1.85 | 2.37 | 0.25 | 0.02 | 0.08 |
| Total Offsite and Onsite | 1.85 | 3.22 | 0.25 | 0.02 | 0.08 |
| SIGNIFICANCE THRESHOLD | 550 | 75 | 100 | 150 | 150 |
| SIGNIFICANT? | NO | NO | NO | NO | NO |

*   Use of Chemical Fume Suppressants

** Truck trips for delivering fresh HEPA filters

III.d)  The primary objective of the proposed project is to reduce population exposure to toxic air contaminants.  Affected facilities are not expected to expose sensitive receptors to substantial secondary pollutant concentrations from the installation and operation of add-on controls or the use chemical fume suppressants for the following reasons:  1) the affected facilities are existing facilities located in industrial or commercial areas; 2) the purpose of the add-on controls is to reduce toxics generated by the metal finishing industry; 3) emissions to operate the add-on controls and for using chemical fume suppressants do not exceed any SCAQMD thresholds; and, 4) add-on controls and the use of chemical fume suppressants must comply with all applicable SCAQMD rules and regulations to receive a permit to operate.  Therefore, this impact issue will not be further analyzed in this Draft EA.

III.e) Most of the existing affected facilities are located in industrial and commercial areas, but some sensitive receptors and residential areas are located in the vicinity of some of the facilities.  Historically, the SCAQMD has enforced odor nuisance complaints through SCAQMD Rule 402 - Nuisance.  The proposed requirements in PAR 1469 are expected to reduce toxic emissions, hexavalent chrome in particular, which, to the extent that hexavalent chrome has any odors associated with it, can potentially reduce odors from affected facilities.  This effect would be most noticeable from those affected facilities that have sensitive receptors or residences located nearby.  Although PAR 1469 will require some affected facilities to modify their existing operations, the installation and operation of air pollution control equipment and the use of chemical fume suppressants serve to reduce emissions of air toxics and, therefore, are not expected to create objectionable odors affecting a substantial number of people.  Therefore, no significant adverse odor impacts are expected to result from implementing the proposed amendments.

III.f) The objective of PAR 1469 is to enhance the effectiveness of an existing rule by imposing more stringent requirements compared to existing Rule 1469.  Further, affected facilities will be required to comply with all relevant SCAQMD rules and regulations, which may include any or all of the following: source specific rules (Regulation XI); prohibitory rules (Regulation IV); toxic rules (Rules 1401, 1402, etc.); and New Source Review (Regulation XIII).  Accordingly, the proposed project is not expected to diminish an existing air quality rule so this impact issue will not be further analyzed in this Draft EA.

Based upon all of the above considerations, the SCAQMD has demonstrated that implementing the proposed project will not create significant adverse air quality impacts, either individually or cumulatively, and this topic will not be further analyzed in the Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IV. BIOLOGICAL RESOURCES. Would the project: |  |  |  |
| a) Have a substantial adverse effect, either directly or through habitat modifications, on any species identified as a candidate, sensitive, or special status species in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? | ( | ( | ( |
| b) Have a substantial adverse effect on any riparian habitat or other sensitive natural community identified in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? | ( | ( | ( |
| c) Have a substantial adverse effect on federally protected wetlands as defined by §404 of the Clean Water Act (including, but not limited to, marsh, vernal pool, coastal, etc.) through direct removal, filling, hydrological interruption, or other means? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| d) Interfere substantially with the movement of any native resident or migratory fish or wildlife species or with established native resident or migratory wildlife corridors, or impede the use of native wildlife nursery sites? | ( | ( | ( |
| e) Conflicting with any local policies or ordinances protecting biological resources, such as a tree preservation policy or ordinance? | ( | ( | ( |
| f) Conflict with the provisions of an adopted Habitat Conservation plan, Natural Community Conservation Plan, or other approved local, regional, or state habitat conservation plan? | ( | ( | ( |

IV.a), b), c), & d)  PAR 1469 would only affect equipment or processes located at existing facilities in areas that have already been developed, primarily industrial or commercial areas, which have already been greatly disturbed.  In general, these areas currently do not support riparian habitat, federally protected wetlands, or migratory corridors.  Additionally, special status plants, animals, or natural communities are not expected to be found in close proximity to the affected facilities.  In general, most plants, with the possible exception of some types of decorative plants, are typically removed from industrial or commercial facilities to reduce fire hazards.  Since the proposed project does not induce growth in the metal finishing sector, plant removal for the purpose of reducing fire hazards will not occur as result of implementing the proposed project.

IV.e) & f)  PAR 1469 is not envisioned to conflict with local policies or ordinances protecting biological resources nor local, regional, or state conservation plans.  Additionally, PAR 1469 will not conflict with any adopted Habitat Conservation Plan, Natural Community Conservation Plan, or any other relevant habitat conservation plan.

The SCAQMD, as the Lead Agency for the proposed project, has found that, when considering the record as a whole, there is no evidence that the proposed project, as amended, will have potential for any new adverse effects on wildlife resources or the habitat upon which wildlife depends.  Accordingly, based upon the preceding information, the SCAQMD has, on the basis of substantial evidence, rebutted the presumption of adverse effect contained in §753.5 (d), Title 14 of the California Code of Regulations.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| V. CULTURAL RESOURCES. Would the project: |  |  |  |
| Cause a substantial adverse change in the significance of a historical resource as defined in §15064.5? | ( | ( | ( |
| Cause a substantial adverse change in the significance of an archaeological resource as defined in §15064.5? | ( | ( | ( |
| Directly or indirectly destroy a unique paleontological resource or site or unique geologic feature? | ( | ( | ( |
| d) Disturb any human remains, including those interred outside a formal cemeteries? | ( | ( | ( |

V.a)  Since construction-related activities associated with the implementation of PAR 1469 are expected to be minimal and confined within the footprint of affected facilities (typically inside the affected facility), no substantial changes to historical resources are anticipated as a result of implementing the proposed project.

V.b), c), & d)  Installing add-on controls and other associated equipment to comply with PAR 1469 will require minimal disturbance at any individual site because affected facilities are typically located in previously disturbed and developed areas.  Since construction-related activities are expected to be minimal, PAR 1469 is not expected to require physical changes to the environment, which may disturb paleontological or archaeological resources or disturb human remains that may be interred outside of formal cemeteries.  Furthermore, it is envisioned that these areas are already either devoid of significant cultural resources or whose cultural resources have been previously disturbed.

Based upon the above considerations, significant adverse cultural resources impacts are not expected from the implementing PAR 1469 and will not be further assessed in the Final Draft EA

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VI. ENERGY. Would the project: |  |  |  |
| a) Conflict with adopted energy conservation plans? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| b) Result in the need for new or substantially altered power or natural gas utility systems? | ( | ( | ( |
| c) Create any significant effects on local or regional energy supplies and on requirements for additional energy? | ( | ( | ( |
| d) Create any significant effects on peak and base period demands for electricity and other forms of energy? | ( | ( | ( |
| e) Comply with existing energy standards? | ( | ( | ( |

VI.a) & e)  The proposed project would not conflict with energy conservation plans, use non-renewable resources in a wasteful manner, or result in the need for new or substantially altered power or natural gas systems.  Since PAR 1469 would affect existing facilities, it will not conflict with adopted energy conservation plans because existing facilities would be expected to continue implementing any existing energy conservation plans.  Additionally, affected facilities are expected to comply with existing energy conservation plans and standards to minimize operating costs, but still comply with the requirements of PAR 1469.  Accordingly these impact issues will not be further analyzed in the Draft EA.

VI.b), c), & d)  The use of chemical fume suppressants is not expected to change the energy demand at affected facilities for operating these devices.  The use of add-on control equipment may, however, require additional electricity for operation.  The SCAQMD has determined that the equipment and vehicles needed for construction- and operational-related activities associated with the implementation of PAR 1469 is necessary.  Potential adverse energy impacts from implementing the proposed project are analyzed in the following paragraphs.

The proposed project would require the installation of add-on control equipment, specifically HEPA filtration systems, and the use of chemical fume suppressants.  Though the use of chemical fume suppressants is not expected to change the energy demand for operating these devices, the use of add-on control equipment may, however, require additional electricity.  In addition, for the facilities that are also expected to dismantle their existing air pollution control equipment, as a practical matter, a slight reduction in the electricity demand could occur.  However, due to lack of actual facility data with respect to energy use for the existing devices, this reduction has not been calculated and thus, this document does not contain a quantified offset to the projected increase in electrical demand necessary for operating the new add-on controls.  Natural gas is not used for either the construction or operation of HEPA filtration systems.

Specifically, HEPA filtration control techniques are characterized by high removal efficiency and moderate to high energy requirements in most applications.  In order to achieve high removal efficiencies, the filters are made of extremely low porosity materials which impose a high resistance to the flow of gas, which results in an exhaust flow pressure drop through the filter media.  The higher the pressure drop across a control device, the higher the electrical energy requirement to operate larger fan motors needed to overcome the flow resistance.

Additional energy information and the energy consumption calculations as they relate to the operational activities of the proposed HEPA filtration systems were derived from the estimated ventilation rates as shown in Appendix E of this document.   In addition, an increase in the use of gasoline and diesel fuel is anticipated as a result of both construction and operation activities due to worker commute trips and truck delivery trips, respectively, is expected and the calculations are shown in Appendix C.

Construction Impacts

During the construction phase of PAR 1469, diesel and gasoline fuel will be consumed in portable construction equipment (e.g., compressors and welders) used to weld, cut, and grind metal structures and by construction workers’ vehicles commuting to and from construction sites.  To estimate the “worst-case” energy impacts associated with the construction phase of PAR 1469 (e.g., the installation of add-on controls), the SCAQMD assumed that portable equipment used to weld, cut, and grind metal structures would be operated up to four hours per day.  As previously noted the analysis of construction air quality impacts, site preparation using heavy-duty off-road construction equipment such as graders, dozers, scrapers, etc., will not be required for construction because construction consists primarily of installing HEPA filtration systems at existing facilities.  The reader is referred to Appendix C for the assumptions and calculations used by the SCAQMD to estimate fuel usage associated with the implementation of PAR 1469.

To estimate construction workers’ fuel usage per commute round trip, the SCAQMD assumed workers’ vehicles would get 20 miles to the gallon and would travel 40 miles round trip to and from the construction site in one day.  Table 2-5 lists the projected construction energy fuel use impacts associated with PAR 1469.  Therefore, the equipment and vehicles needed for construction-related activities associated with the implementation of PAR 1469 are necessary, will not use energy in a wasteful manner, and will not exceed SCAQMD significance thresholds.  There will be no substantial depletion of energy resources nor will significant amounts of fuel be needed when compared to existing supplies.  Further, the results confirm the energy impacts from the proposed project during construction will not be significant.

Table 2-5

Total Projected Fuel Usage for Construction Activities

| Construction Activity | Total Fuel Usage per Activity (gallons/yr) |
| --- | --- |
|  | Diesel | Gasoline |
| Onsite Equipment | 2,800 | -- |
| Offsite Equipment | 818 | 8,640 |
| Threshold Fuel Supplya | 1,086,000,000 | 6,469,000,000 |
| % of Fuel Supply | 0.0003% | 0.0001% |
| Significant (Yes/No)b | No | No |

a 	Year 2000 California Energy Commission (CEC) projections.  Construction activities in future years would yield similar results.

b 	SCAQMD's Energy Threshold for both Diesel and Gasoline is 1% of Supply.

Operational Impacts

To derive the “worst-case” potential electricity demand impacts associated with implementing PAR 1469, the SCAQMD assumed that all of the add-on controls will create electrical energy impacts associated with the operation of ancillary equipment (e.g., fans, motors, et cetera).  As shown in Appendix E of this document, it is estimated that 25 facilities will install 37 HEPA filtration systems at varying electrical horsepower (hp) ratings (15, 20, and 50 hp), depending on the estimated ventilation rates (5,000, 10,000, and 20,000 cfm) for 12 hours per day, five days per week, and 52 weeks per year (see also section “III. Air Quality” for additional assumptions regarding operation).  Based on these assumptions, the annual energy demand, in megawatt-hours per year (MW-hr/yr), and the daily instantaneous electricity demand in megawatts (MW) was calculated per installed system per ventilation rate.  For all 37 HEPA systems, the total projected electrical demand was calculated to be 2,257 MW-hr/yr and the instantaneous demand was calculated to be 0.72 MW.

Table 2-6 summarizes the projected electrical impacts associated with the operational phase of PAR 1469.  The complete methodology and assumptions that the SCAQMD used to estimate the operational impacts from add-on controls are contained in Appendix E.

It should be noted that any incremental fuel (e.g., natural gas) that may be required by in-district power plants to generate the incremental electricity needed by affected facilities to comply with PAR 1469 is not included in this analysis for the following reasons.  Almost 75 percent of the electricity used in the district is imported from out-of-state power plants.  Any additional electricity needed to power electric fans or motors would most likely be provided by out-of-state power plants.  Therefore, the SCAQMD does not anticipate that additional fuel beyond what is currently necessary to supply demand will be required by in-district power plants to provide electricity to affected facilities.  In the event that additional fuel is needed to meet affected facilities’ electrical demands, the consumption of fuel would be for the purpose of aiding facilities in complying with PAR 1469.  Further, fuel use at electricity generating facilities is limited to a certain extent because fuel combustion emissions from electricity generating equipment are capped either through Regulation XX – RECLAIM, or Rule 1135 – Emissions of Oxides of Nitrogen from Electric Power Generating Systems.  The consumption of fuel to comply with air quality regulations is not considered a wasteful use of energy.  Therefore, fuel consumed by in-district power plants to generate additional electricity for electric fans or motors used in conjunction with add-on controls is not considered to be a significant adverse energy impact.  Furthermore, the small amount of additional fuel that may be used to generate electricity would be negligible compared to existing supplies and, thus, would not substantially deplete existing energy resources.

Table 2-6

Total Projected Energy Impacts for Operation Activities

|  | Total Energy Usage per Activity |
| --- | --- |
| Operation Activity | Natural Gas | Electricity |
| HEPA Filtration Systems | 0 | 2,257 MW-hr/yr |
| Total | 0 TCF | 0.72 MW (instantaneous) |
| Threshold Fuel Supplya | 0 TCF | 8,115 MW (instantaneous) |
| % of Fuel Supply | 0 % | 0.009% |
| Significant (Yes/No)b | No | No |

a 	Year 2000 CEC projections.  Construction activities in future years are expected to yield similar results.

b 	SCAQMD's Energy Threshold for both Natural Gas Diesel and Electricity is 1% of Supply.

KEY:	mmcf = million cubic feet

TCF = trillion cubic feet

MW = Megawatt

Based upon the above considerations, the proposed project is not expected to use energy in a wasteful manner, and will not exceed SCAQMD significance thresholds.  There will be no substantial depletion of energy resources nor will significant amounts of fuel be needed when compared to existing supplies.  Furthermore, if additional fuel is needed to generate electricity for electric fans or motors used in conjunction with HEPA filtrations systems at affected facilities, it would not be a wasteful use of energy nor substantially deplete existing energy resources.  Therefore, implementing the proposed project is not anticipated to generate significant adverse energy resources impacts as demonstrated by the preceding analysis and will not be discussed further in this EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VII. GEOLOGY AND SOILS. Would the project: |  |  |  |
| a) Expose people or structures to potential substantial adverse effects, including the risk of loss, injury, or death involving: | ( | ( | ( |
| Rupture of a known earthquake fault, as delineated on the most recent Alquist-Priolo Earthquake Fault Zoning Map issued by the State Geologist for the area or based on other substantial evidence of a known fault? | ( | ( | ( |
| Strong seismic ground shaking? | ( | ( | ( |
| Seismic–related ground failure, including liquefaction? | ( | ( | ( |
| Landslides? | ( | ( | ( |
| b) Result in substantial soil erosion or the loss of topsoil? | ( | ( | ( |
| c) Be located on a geologic unit or soil that is unstable or that would become unstable as a result of the project, and potentially result in on- or offsite landslide, lateral spreading, subsidence, liquefaction or collapse? | ( | ( | ( |
| d) Be located on expansive soil, as defined in Table 18-1-B of the Uniform Building Code (1994), creating substantial risks to life or property? | ( | ( | ( |
| e) Have soils incapable of adequately supporting the use of septic tanks or alternative waste water disposal systems where sewers are not available for the disposal of waste water? | ( | ( | ( |

VII.a)  Southern California is an area of known seismic activity.  Accordingly, the installation of add-on controls at existing affected facilities to comply with PAR 1469 is expected to conform to the Uniform Building Code and all other applicable state codes.  New structures must be designed to comply with the Uniform Building Code Zone 4 requirements since the district is located in a seismically active area.  The local cities or counties are responsible for assuring that projects comply with the Uniform Building Code as part of the issuance of the building permits and can conduct inspections to ensure compliance.  The Uniform Building Code is considered to be a standard safeguard against major structural failures and loss of life.  The goal of the Code is to provide structures that will:  (1) resist minor earthquakes without damage; (2) resist moderate earthquakes without structural damage but with some non-structural damage; and (3) resist major earthquakes without collapse but with some structural and non-structural damage.

The Uniform Building Code bases seismic design on minimum lateral seismic forces ("ground shaking").  The Uniform Building Code requirements operate on the principle that providing appropriate foundations, among other aspects, helps to protect buildings from failure during earthquakes.  The basic formulas used for the Uniform Building Code seismic design require determination of the seismic zone and site coefficient, which represents the foundation conditions at the site.

Any potentially affected facilities that are located in areas where there has been historic occurrence of liquefaction, e.g., coastal zones, or existing conditions indicate a potential for liquefaction, including expansive or unconsolidated granular soils and a high water table, may have the potential for liquefaction induced impacts at the project sites.  The Uniform Building Code requirements consider liquefaction potential and establish more stringent requirements for building foundations in areas potentially subject to liquefaction.  Therefore, compliance with the Uniform Building Code requirements is expected to minimize the potential impacts associated with liquefaction.  The issuance of building permits from the local cities or counties will assure compliance with the Uniform Building Code requirements.  Therefore, no significant impacts from liquefaction are expected and this potential impact will not be considered further.

Because facilities affected by the proposed project are typically located in developed areas, primarily industrial or commercial areas, which are not typically located near known geological hazards (e.g., landslide, mudflow, seiche, tsunami or volcanic hazards), no significant adverse geological impacts are expected.  Tsunamis at the ports, i.e., Port of Los Angeles and Port of Long Beach, are not expected because the ports of Long Beach and Los Angeles are surrounded by breakwaters that protect the area from wave action.  As a result, these topics will not be further evaluated in this document.

VII.b)  As already noted in the analysis of construction air quality impacts, implementing the proposed project is not expected to require substantial site preparation such grading, scraping, et cetera, because construction activities will consist primarily of installing add-on air pollution control equipment at existing industrial facilities.  Since add-on controls will be installed with minimal construction activities at existing industrial or commercial facilities, there will be little or no soil disruption from excavation, grading, or filling activities; changes in topography or surface relief features; erosion of beach sand; or changes in existing siltation rates associated with the installation of add-on control equipment.

VII.c) & d)  PAR 1469 will not induce construction of new industrial facilities that might be susceptible to liquefaction or expansive soils as defined in Table 18-1-B of the Uniform Building Code.  Since PAR 1469 will affect existing facilities, it is expected that the soil types present at the affected facilities will not be further susceptible to expansion or liquefaction.  Furthermore, subsidence is not anticipated to be a problem since little excavation, grading, or filling activities will occur at affected facilities.  Additionally, the affected areas are not envisioned to be prone to landslides or have unique geologic features since the affected facilities are located in developed areas, typically industrial or commercial areas, which are not near unique geologic features prone to landslides.

VII.e)  PAR 1469 will not induce construction of new facilities using septic tanks or alternative wastewater disposal systems.  As a result, no significant adverse impacts involving soils incapable of supporting septic tanks or alternative wastewater disposal systems will be generated by implementing PAR 1469.

Based upon the above considerations, significant geology and soils impacts are not expected from the implementation of PAR 1469 and will not be further analyzed in this Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VIII. HAZARDS AND HAZARDOUS MATERIALS. Would the project: |  |  |  |
| a) Create a significant hazard to the public or the environment through the routine transport, use, disposal of hazardous materials? | ( | ( | ( |
| Create a significant hazard to the public or the environment through reasonably foreseeable upset and accident conditions involving the release of hazardous materials into the environment? | ( | ( | ( |
| Emit hazardous emissions, or handle hazardous or acutely hazardous materials, substances, or waste within one-quarter mile of an existing or proposed school? | ( | ( | ( |
| Be located on a site which is included on a list of hazardous materials sites compiled pursuant to Government Code §65962.5 and, as a result, would create a significant hazard to the public or the environment? | ( | ( | ( |
| For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project result in a safety hazard for people residing or working in the project area? | ( | ( | ( |
| For a project within the vicinity of a private airstrip, would the project result in a safety hazard for people residing or working in the project area? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| Impair implementation of or physically interfere with an adopted emergency response plan or emergency evacuation plan? | ( | ( | ( |
| Expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands? | ( | ( | ( |
| Significantly increased fire hazard in areas with flammable materials? | ( | ( | ( |

VIII.a) & b) To comply with PAR 1469, affected facilities are expected to use HEPA filtration systems.  The analysis of operational air quality impacts in the “Air Quality” section of this document estimated that disposal of the spent HEPA filters would occur relatively infrequently (i.e., less than one filter per year per system) as compared to the current setting for hazardous waste disposal of all the hazardous materials generated at the affected facilities.  Based on the infrequent disposal of spent HEPA filters, a substantial increase in the number of truck trips needed to transport the spent HEPA filters as hazardous wastes is not expected.  Because of the extensive state and federal requirements for tracking and accounting for hazardous wastes, disposal of spent HEPA filters is not expected to create new hazardous wasted transport trips, but  the waste filters are expected to be included as part of the hazardous waste transport trips that already occur periodically.  As a result, implementing PAR 1469 is not expected to create new hazards through the transport and disposal of hazardous wastes.

It is also expected that 70 tanks at 39 facilities will be required to begin using chemical fume suppressants to comply with PAR 1469.  The use of chemical fume suppressants in metal finishing operations is designed to alter the physical properties of bath chemistries used in these operations.  This analysis evaluates potential hazard impacts of using chemical fume suppressants.  Because many of the facilities subject to PAR 1469 may already use chemical fume suppressants, which are typically supplied by the same companies that distribute the main chemicals needed for metal plating and anodizing operations, this analysis assumes that there will be no increase in potential truck trips for delivery of fume suppressants to those facilities not currently using them.  Further, because the chemical fume suppressants are primarily comprised of water and surfactants that do not contain toxic or hazardous materials, this analysis assumes that there will not be an increase in any hazardous material or waste transport trips in response to PAR 1469.  In summary, implementation of PAR 1469 is not expected to alter any existing hazards involving the routine transport, use, or disposal of hazardous wastes (i.e., spent HEPA filters) or the routine transport and use of chemical fume suppressants used in metal plating and anodizing operations, especially since fume suppressants are typically not comprised of hazardous materials.  Similarly, implementing PAR 1469 is not expected to increase the probability of reasonably foreseeable accidents involving the release of hazardous materials into the environment.

VIII.c)  In general, PAR 1469 is expected to reduce emissions of hexavalent chrome, which is classified by EPA and OEHHA as a human carcinogen.  In particular, PAR 1469 would establish more stringent cancer risk control requirements for affected facilities within 25 meters of a sensitive receptor such as hospitals or day care as well as for residences and affected facilities within 100 meters of an existing school (kindergarten through grade 12).  As a result, PAR 1469 will serve to reduce cancer risks from exposure to hexavalent chromium emissions in general and will provide benefits for existing schools currently located within 100 meters of affected facilities.  Consequently, this topic will not be evaluated further.

VIII.d)  Even if some affected facilities are designated pursuant to Government Code §65962.5 as a large quantity generator of hazardous waste, it is anticipated that these facilities will continue to manage their hazardous wastes in accordance with all applicable federal, state, and local rules and regulations.  Complying with the requirements of PAR 1469 is not expected to interfere with existing hazardous waste management programs.  Accordingly, this impact issue is not further evaluated in this Draft EA.

VIII.e) & f)  Modifications at affected facilities are not expected to create hazardous emissions that could adversely affect public or private airports located in close proximity to the affected facilities.  Specifically, the main objective of implementing PAR 1469 is to reduce cancer risks in the district through further reductions in hexavalent chromium emissions.  As already noted, emissions from fume suppressants are expected to be minimal (refer to the analysis of operational air quality impacts in the “Air Quality” section).  Installing filtration systems at affected facilities will further reduce air toxic emissions at affected facilities, thus, providing emission reduction benefits to any public or private airports that may be located within two miles of affected facilities.  In permitting add-on controls for facility changes undertaken to comply with PAR 1469, the SCAQMD will analyze whether the operation of add-on controls and the use of chemical fume suppressants will adversely impact sensitive receptors near the affected facilities.  The SCAQMD will not issue permits for facility modifications unless they comply with all relevant SCAQMD rules and regulations, including Rule 1401.  Accordingly, these impact issues are not further evaluated in this Draft EA

VIII.g) PAR 1469 has no provisions that would impair or physically interfere with any adopted emergency response plans  Existing facilities that handle, store, or transport hazardous materials would already be expected to have an existing business emergency response plan.  Health and Safety Code §25506 specifically requires all businesses handling hazardous materials to submit a business emergency response plan to assist local administering agencies in the emergency release or threatened release of a hazardous material.  Business emergency response plans generally require the following:

- Identification of individuals who are responsible for various actions, including reporting, assisting emergency response personnel and establishing an emergency response team;

- Procedures to notify the administering agency, the appropriate local emergency rescue personnel, and the California Office of Emergency Services;

- Procedures to mitigate a release or threatened release to minimize any potential harm or damage to persons, property or the environment;

- Procedures to notify the necessary persons who can respond to an emergency within the facility;

- Details of evacuation plans and procedures;

- Descriptions of the emergency equipment available in the facility;

- Identification of local emergency medical assistance; and

- Training (initial and refresher) programs for employees in:

1.	The safe handling of hazardous materials used by the business;

2.	Methods of working with the local public emergency response agencies;

3.	The use of emergency response resources under control of the handler; and,

4.	Other procedures and resources that will increase public safety and prevent or mitigate a release of hazardous materials.

In general, every county or city and all facilities using a minimum amount of hazardous materials are required to formulate detailed contingency plans to eliminate, or at least minimize, the possibility and effect of fires, explosion, or spills.  In conjunction with the California Office of Emergency Services, local jurisdictions have enacted ordinances that set standards for area and business emergency response plans.  These requirements include immediate notification, mitigation of an actual or threatened release of a hazardous material, and evacuation of the emergency area.  Complying with the requirements of PAR 1469 is not expected to interfere with adopted emergency response plans; however, depending on the method of compliance some facilities may need to modify existing emergency response plans.  Modifications to an existing emergency plan are not considered to be a significant impact that would interfere with its implementation.

VIII.h)  Since the facility modifications will occur at existing industrial or commercial sites in urban areas where wildlands are not prevalent, risk of loss or injury associated with wildland fires is not expected.  Accordingly, this impact issue is not further evaluated in this Draft EA.

VIII.i)  Because fume suppressants are not flammable or hazardous, PAR 1469 will not affect current operations nor cause an increase in the storage or use of flammable and otherwise hazardous materials, cause an increase in the probability of an accidental release into the environment or cause an increase in existing fire hazards at affected facilities.  In general, existing emergency planning is anticipated to adequately minimize the risk associated with the use of chemical fume suppressants.  Local fire departments ensure that adequate permit conditions are in place to protect against potential risk of upset hazards.  Implementation of PAR 1469 is not expected to affect these permit conditions.

The Uniform Fire Code and Uniform Building Code sets standards intended to minimize risks from flammable or otherwise hazardous materials.  Local jurisdictions are required to adopt the uniform codes or comparable regulations.  Local fire agencies require permits for the use or storage of hazardous materials and permit modifications for proposed increases in their use.  Permit conditions depend on the type and quantity of the hazardous materials at the facility.  Permit conditions may include, but are not limited to, specifications for sprinkler systems, electrical systems, ventilation, and containment.  The fire departments make annual business inspections to ensure compliance with permit conditions and other appropriate regulations.

Further, all hazardous materials are expected to be used in compliance with established OSHA or Cal/OSHA regulations and procedures, including providing adequate ventilation, using recommended personal protective equipment and clothing, posting appropriate signs and warnings, and providing adequate worker health and safety training.  When taken together, the above regulations provide comprehensive measures to reduce hazards, if any, of explosive or otherwise hazardous materials.  Compliance with these and other federal, state and local regulations and proper operation and maintenance of equipment should ensure that the potential for explosions or accidental releases of hazardous materials will remain less than significant.

In conclusion, potential hazard impacts resulting from implementing PAR 1469 are not expected to be significant.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IX. HYDROLOGY AND WATER QUALITY. Would the project: |  |  |  |
| a) Violate any water quality standards or waste discharge requirements? | ( | ( | ( |
| Substantially deplete groundwater supplies or interfere substantially with groundwater recharge such that there would be a net deficit in aquifer volume or a lowering of the local groundwater table level (e.g. the production rate of pre-existing nearby wells would drop to a level which would not support existing land uses or planned uses for which permits have been granted)? | ( | ( | ( |
| c) Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, in a manner that would result in substantial erosion or siltation on- or offsite? | ( | ( | ( |
| d) Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, or substantially increase the rate or amount of surface runoff in a manner that would result in flooding on- or offsite? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| e) Create or contribute runoff water which would exceed the capacity of existing or planned stormwater drainage systems or provide substantial additional sources of polluted runoff? | ( | ( | ( |
| f) Otherwise substantially degrade water quality? | ( | ( | ( |
| g) Place housing within a 100-year flood hazard area as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood hazard delineation map? | ( | ( | ( |
| h) Place within a 100-year flood hazard area structures which would impede or redirect flood flaws? | ( | ( | ( |
| i) Expose people or structures to a significant risk of loss, injury or death involving flooding, including flooding as a result of the failure of a levee or dam? | ( | ( | ( |
| j) Inundation by seiche, tsunami, or mudflow? | ( | ( | ( |
| k) Exceed wastewater treatment requirements of the applicable Regional Water Quality Control Board? | ( | ( | ( |
| l) Require or result in the construction of new water or wastewater treatment facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? | ( | ( | ( |
| m) Require or result in the construction of new storm water drainage facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? | ( | ( | ( |
| n) Have sufficient water supplies available to serve the project from existing entitlements and resources, or are new or expanded entitlements needed? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| o) Require in a determination by the wastewater treatment provider which serves or may serve the project that it has adequate capacity to serve the project's projected demand in addition to the provider's existing commitments? | ( | ( | ( |

The Draft EA analyzes below whether existing wastewater treatment facilities, based on calculated water demand, have sufficient capacity to handle any incremental wastewater generated from PAR 1469 affected facilities.  The project will be considered to have significant adverse water demand impacts if any one of the following criteria is met by the project:

- The project increases demand for water by more than 5,000,000 gallons per day.

- The project requires construction of new water conveyance infrastructure.

The project will be considered to have significant adverse water quality impacts if any one of the following criteria is met by the project:

- The project creates a substantial increase in mass inflow of effluents to public wastewater treatment facilities.

- The project results in a substantial degradation of surface water or groundwater quality.

- The project results in substantial increases in the area of impervious surfaces, such that interference with groundwater recharge efforts occurs.

- The project results in alterations to the course or flow of floodwaters.

IX.a), f), k), l), & o)  It is not expected that potential changes in wastewater volume composition from affected facilities would violate any water quality standard or wastewater discharge requirements since the volume of chemical fume suppressant use associated with implementing PAR 1469 will be small and the amount of water required to operate the mist eliminator will be recycled for reuse.  Water quality impacts are evaluated more fully in the following paragraphs.

There are provisions in PAR 1469 that would require an increase in the amount chemical fume suppressants used in metal plating and anodizing tanks.  However, the chemical composition of the fume suppressants is comprised mostly of water and non-hazardous, non-toxic surfactants.  The contents of each metal finishing tank are currently subject to strict wastewater pre-treatment requirements to recapture, contain and dispose of or recycle various components of each tank bath.  Thus, the use of chemical fume suppressants will not change this requirement.  Further, the total quantity of chemical fume suppressants expected to be used by all the affected facilities are so minimal (e.g., approximately 409 gallons per year or 1.6 gallons per day).  Consequently, as a result of using chemical fume suppressants, there is minimal change anticipated in the composition or volume of existing wastewater streams from the affected facilities that would require additional wastewater disposal capacity, violate any water quality standard or wastewater discharge requirements, or otherwise substantially degrade water quality.

PAR 1469 is also expected to result in the installation of 37 HEPA filtration systems.  As part of the pre-filtration function of the HEPA filtration system, each system is also designed to function with a mist eliminator that uses water to wash down the mesh pads or chevron baffles.  The projected water usage for each mist eliminator is a function of the HEPA filter ventilation rate.  As calculated in section B of Appendix E, the total volume of water used while operating the HEPA filtration systems with mist eliminators would be as high as 648,000 gallons per day for all 25 new HEPA filter systems combined.  However, this water is typically treated and recycled for reuse through the system.  Because the contents of each metal finishing tank are currently subject to strict wastewater pre-treatment requirements to recapture, contain and dispose of or recycle various components of each tank bath, the wash down water will be subject to the same standards.  Thus, the use of mist eliminators will not change this requirement.  Further, the total quantity of chemical fume suppressants expected to be used by all the affected facilities are so minimal (e.g., approximately 409 gallons per year or 1.6 gallons per day).  Consequently, as a result of using mist eliminators, there is no change anticipated in the composition or volume of existing wastewater streams from the affected facilities that would require additional wastewater disposal capacity, violate any water quality standard or wastewater discharge requirements, or otherwise substantially degrade water quality.

Because the water will be treated and recycled back into the mist eliminator, the composition of each facility's wastewater streams are not expected to be altered because of the add-on controls.  Therefore, it is not expected that potential changes in wastewater composition from affected facilities would violate any water quality standard or wastewater discharge requirements since wastewater volumes associated with PAR 1469 will be at a maximum, equivalent to the water demand necessary to operate the mist eliminators.

Onsite removal and storage of toxic waste from pollution control equipment designed to remove TACs (hexavalent chrome) may increase the potential of spills, leaks, or accidental release which could be introduced into the surface water and contaminate the groundwater supplies.  Similarly, surface water impacts could occur from waste material generated from the use of plating and anodizing bath chemistry being illegally dumped into storm drains that flow to interconnected bodies of water.  However, each of the affected facilities already remove and store toxic waste from their processes and have established procedures in place making these events unlikely.  Thus, wastewater impacts associated with the disposal of toxic waste from add-on control equipment are considered not significant.

IX.b) & n)  The use of HEPA filtration systems equipped with mist eliminators has the potential to increase water demand in the district.  During the operation of the mist eliminator, the wet particulates collect on the mesh pad or chevron baffle, as applicable to the type of unit installed, the collected material is washed down with water, the collected plating solution is returned to the plating bath, and the water is treated and re-circulated into the unit again.  Over time, some water may evaporate and thus additional fresh water may need to be added to make up for the evaporative loss.  Staff has identified 25 facilities that will likely install HEPA filtration systems equipped with mist eliminators to comply with the proposed amendments.  For the purposes of this analysis, the maximum water flowrate per facility that can be used to estimate potential water demand generated by PAR 1469 is based on the design ventilation rate or cfm air flowrate of the HEPA filtration systems.  The assumptions of water flowrate are based on manufacturer specifications and the water demand calculation can be found in Appendix E, section B of this document.  If the owners or operators of all 25 facilities are assumed to install HEPA filtration systems equipped with mist eliminators, approximately 648,000 gallons per day would be needed for all affected facilities.  This incremental daily increase in water demand anticipated for PAR 1469 is negligible compared to the total district supply of 4.22 million acre-feet (MAF) for 1995.  Further, this incremental increase in water demand does not exceed the SCAQMD’s significance threshold of 5,000,000 gallons per day and, therefore, is not considered to be significant.

Water demand impacts associated with the use of HEPA filtration systems equipped with mist eliminators are not expected to exceed the SCAQMD’s significance threshold of 5,000,000 gallons per day.  It is within the capacity of the local water purveyors to supply the relatively small incremental increase in water demand associated with the PAR 1469.  Based on the preceding analysis, PAR 1469 has no provision that would require the construction of additional water resource facilities, the need for new or expanded water entitlements.

It should also be noted that water providers throughout the state are currently exploring various strategies for increasing water supplies and maximizing the use of existing supplies.  Options include increasing storage capacity, acquiring additional supplies of water from existing sources such as unused water allocations to other states or agricultural agencies, and advance delivery of water to irrigation districts.  These continuing and future water management programs help to assure that the area’s full-service water demands will be met at all times.  Therefore, no significant water demand impacts are expected as the result of implementing the proposed amendments.

IX.c), d), & e)  PAR 1469-related modifications would occur at existing facilities, that are typically located in developed areas, primarily industrial or commercial areas  Typically, developed areas are already paved and the drainage patterns and infrastructures are already in place.  Since PAR 1469 involves minor construction involving installation of air pollution control equipment within the boundaries of existing industrial facilities, no significant changes to storm water runoff, drainage patterns, groundwater characteristics, or flow are expected.  Therefore, implementing PAR 1469 is not expected generate water runoff impacts or alter drainage patterns in any way.

IX.g), h), i), & j)  PAR 1469 does not induce construction of new housing or contribute to the construction of new building structures that could be adversely affected by 100-year flood hazards.  Facility modifications and changes would occur at existing industrial facilities.  If these facilities are subject to 100-year flood hazards, this is an existing condition and not an effect of implementing PAR 1469.  Therefore, PAR 1469 is not expected to expose the public to any flood hazards or generate any flood hazards in 100-year flood areas as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood delineation map.  As a result, PAR 1469 is not expected to expose people or structures to significant flooding risks.  Finally, affected facilities are not typically located near the ocean or large inland bodies of water, inundation by seiche, tsunami or mudflow is not anticipated.  Tsunamis at the ports, i.e., Port of Los Angeles and Port of Long Beach, are not expected because the ports of Long Beach and Los Angeles are surrounded by breakwaters that protect the area from wave action.  As a result, these topics will not be further evaluated in this document.

IX.m)  PAR 1469 will not increase storm water discharge, since minimal paving of unpaved areas is contemplated at affected facilities.  Therefore, no new storm water discharge treatment facilities or modifications to existing facilities will be required due to the implementation of PAR 1469.  Accordingly, PAR 1469 is not expected to generate significant adverse impacts relative to construction of new storm water drainage facilities.

Based upon the foregoing analysis, potential adverse hydrology and water quality impacts resulting from implementing PAR 1469 are not expected to be significant.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| X. LAND USE AND PLANNING. Would the project: |  |  |  |
| a) Physically divide an established community? | ( | ( | ( |
| b) Conflict with any applicable land use plan, policy, or regulation of an agency with jurisdiction over the project (including, but not limited to the general plan, specific plan, local coastal program or zoning ordinance) adopted for the purpose of avoiding or mitigating an environmental effect? | ( | ( | ( |
| c) Conflict with any applicable habitat conservation or natural community conservation plan? | ( | ( | ( |

X.a)  The proposed project would regulate metal finishing operations at existing industrial facilities.  The expected options for compliance are add-on control equipment and the use of chemical fume suppressants.  Since PAR 1469 affects existing facilities, it does not include any components that would require physically dividing an established community.

X.b) & c)  There are no provisions in PAR 1469 that would conflict with land use plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements will be altered by regulating chromium emissions from metal finishing operations.  Since PAR 1469 would regulate chromium emissions, PAR 1469 would not affect in any way habitat conservation or natural community conservation plans, agricultural resources or operations, and would not create divisions in any existing communities.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XI. MINERAL RESOURCES. Would the project: |  |  |  |
| a) Result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state? | ( | ( | ( |
| b) Result in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan? | ( | ( | ( |

XI.a) & b)  There are no provisions in PAR 1469 that would result in the loss of availability of a known mineral resource, such as aggregate, shale, coal, etc.,  of value to the region and the residents of the state, or of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XII. NOISE. Would the project result in: |  |  |  |
| a) Exposure of persons to or generation of noise levels in excess of standards established in the local general plan or noise ordinance, or applicable standards of other agencies? | ( | ( | ( |
| b) Exposure of persons to or generation of excessive groundborne vibration or groundborne noise levels? | ( | ( | ( |
| c) A substantial permanent increase in ambient noise levels in the project vicinity above levels existing without the project? | ( | ( | ( |
| d) A substantial temporary or periodic increase in ambient noise levels in the project vicinity above levels existing without the project? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| e) For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project expose people residing or working in the project area to excessive noise levels? | ( | ( | ( |
| f) For a project within the vicinity of a private airship, would the project expose people residing or working in the project area to excessive noise levels? | ( | ( | ( |

XII.a)  Construction activities associated with the installation of HEPA filtration systems in response to PAR 1469 will take place at facilities that are located in existing industrial or commercial settings.  Construction activities are expected to occur primarily within the building of an affected facility.  Further, construction equipment expected to be used to install HEPA filtration systems, e.g., air compressors and welders are generally not noise intensive equipment.  Operation of HEPA filtration systems in industrial settings is not expected to expose persons to the generation of excessive noise levels above current facility levels because systems are typically within the building and the building’s walls would be expected to substantially attenuate noise levels.  It is also expected that any facility affected by PAR 1469 will comply with all existing noise control laws or ordinances.  Further, Occupational Safety and Health Administration (OSHA) and California-OSHA have established noise standards to protect worker health.

XII.b)  The proposed project is not anticipated to expose people to or generate excessive groundborne vibration or groundborne noise levels because neither construction equipment nor HEPA filtration systems are considered to be noise intensive equipment or produce intrusive groundborne vibrations.  As a result, the construction and operation noise levels at the affected facilities associated with the implementation of PAR 1469 are anticipated to be comparable to existing noise generating activities, within Occupational Safety and Health Administration (OSHA) worker safety standards, and are not expected to exceed existing noise control laws or ordinances.

XII.c)  Due to the nature of the add-on control equipment (e.g., HEPA filtration systems), a permanent increase in ambient noise levels at the affected facilities above existing levels without the proposed project is unlikely to occur as part of PAR 1469.  Noise levels resulting from the operation of the proposed project would be insignificant because HEPA filtration systems are generally not noise intensive systems and are unlikely to raise ambient noise levels in the project vicinities to above a level of significance.

XII.d)  A temporary or periodic increase in ambient noise levels in the vicinity of affected facilities above levels existing without the project is not anticipated from construction-related activities (e.g., installation of add-on controls) since these activities are short-term, no more than a few months at each facility; would involve a small amount of construction work, four hours per day; and utilize equipment that is not considered to be noise intensive equipment.  Furthermore, it is anticipated that contractors hired to install add-on control equipment at affected facilities will comply with all local noise ordinances.  Therefore, it is expected that the incremental noise levels would be less than significant.

XII.e) & f)  The proposed project consists of improvements within industrial or commercial facilities.  Even if an affected facility is located near a public/private airport, the noise expected from the installation of add-on controls would be unlikely to significantly interact with noise generated from a public/private airport.  This conclusion is based on the fact that construction equipment expected to be used and HEPA filtration systems are not considered to be noise intensive.  Thus, the PAR 1469 is not expected to expose people residing or working in the project vicinities to excessive noise levels.

Based upon these considerations, significant noise impacts are not expected from the implementation of PAR 1469 and are not further evaluated in this Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIII. POPULATION AND HOUSING. Would the project: |  |  |  |
| a) Induce substantial growth in an area either directly (for example, by proposing new homes and businesses) or indirectly (e.g. through extension of roads or other infrastructure)? | ( | ( | ( |
| b) Displace substantial numbers of existing housing, necessitating the construction of replacement housing elsewhere? | ( | ( | ( |
| c) Displace substantial numbers of people, necessitating the construction of replacement housing elsewhere? | ( | ( | ( |

XIII.a)  PAR 1469 is not anticipated to generate any significant effects, either direct or indirect, on the district's population or population distribution as no additional workers are anticipated to be required to comply with the implementation of these rules.  Human population within the jurisdiction of the SCAQMD is anticipated to grow regardless of implementing PAR 1469.

Though facility modifications are expected from the implementation of PAR 1469, these activities would occur within existing industrial or commercial facilities located typically in urbanized areas.  It is expected that the existing labor pool in this urbanized area would accommodate the labor requirements for the installation and operation of add-on controls in these areas.  Additionally, PAR 1469 is not expected to require affected facilities to hire additional personnel to operate and maintain any installed add-on control equipment.  In the event that new employees are hired, it is expected that the amount of new employees at any one facility would be small.  As such, PAR 1469 will not result in changes in population densities or induce significant growth in population.

XIII.b) & c)  Independent of the modifications/changes expected to occur at existing industrial and commercial facilities, implementation of PAR 1469 is not anticipated to result in the creation of any industry that would affect population growth, directly or indirectly induce the construction of single- or multiple-family units, or require the displacement of people elsewhere.

Based upon these considerations, significant population and housing impacts are not expected from the implementation of PAR 1469 and are not further evaluated in this Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIV. PUBLIC SERVICES. Would the proposal result in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response times or other performance objectives for any of the following public services: |  |  |  |
| a) Fire protection? | ( | ( | ( |
| b) Police protection? | ( | ( | ( |
| c) Schools? | ( | ( | ( |
| d) Parks? | ( | ( | ( |
| e) Other public facilities? | ( | ( | ( |

XIV.a) & b)  Although facilities subject to PAR 1469 may install air pollution control equipment and use chemical fume suppressants, neither the HEPA filtration technology nor the nature or the amount of usage of chemical fume suppressants at any one facility would likely contribute to an increase in fires or explosions requiring additional responses by local fire departments.  Furthermore, additional inspections at affected facilities associated with the air pollution control equipment and the use of chemical fume suppressants by city building departments or local fire departments are not expected.  Finally, PAR 1469 is not expected to have any adverse effects on local police departments because enforcement of the rule will be the responsibility of the SCAQMD.

XIV.c) & d)  The local labor pool (e.g., workforce) of a particular affected facility areas is expected to be adequate to fill the short-term construction positions associated with implementing PAR 1469.  Therefore, there will be no increase in local population and thus no impacts are expected to local schools or parks.

XIV.e)  Implementation of PAR 1469 will result in the use of add-on control equipment and chemical fume suppressants.  Besides permitting the equipment or altering permit conditions, there is no other need for government services.  The proposal would not result in the need for new or physically altered government facilities in order to maintain acceptable service ratios, response times, or other performance objectives.  There will be no increase in population and, therefore, no need for physically altered government facilities.

Based upon these considerations, significant public services impacts are not expected from the implementation of PAR 1469 and are not further evaluated in this Draft EA.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XV. RECREATION. |  |  |  |
| a) Would the project increase the use of existing neighborhood and regional parks or other recreational facilities such that substantial physical deterioration of the facility would occur or be accelerated? | ( | ( | ( |
| b) Does the project include recreational facilities or require the construction or expansion of recreational facilities that might have an adverse physical effect on the environment? | ( | ( | ( |

XV.a) & b)  Land use and other planning considerations are determined by local governments and no land use or planning requirements will be altered by regulating emissions from metal finishing, chrome plating and chromic acid anodizing operations.  PAR 1469 would not increase the demand for or use of existing neighborhood and regional parks or other recreational facilities or require the construction of new or expansion of existing recreational facilities that might have an adverse physical effect on the environment.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVI. SOLID/HAZARDOUS WASTE. Would the project: |  |  |  |
| a) Be served by a landfill with sufficient permitted capacity to accommodate the project’s solid and hazardous waste disposal needs? | ( | ( | ( |
| b) Comply with federal, state, and local statutes and regulations related to solid and hazardous waste? | ( | ( | ( |

XVI.a) & b)

Construction Impacts

During construction-related activities, there may be a potential for the creation of solid waste.  The wastes would most likely consist of concrete, asphalt, wood, and metal debris from demolition and construction activities.  In addition, if 18 of the existing scrubbers are dismantled and disposed of or recycled, additional waste from dismantling activities would be generated during construction.  However, it is expected that any construction debris, including the dismantled scrubbers, would be disposed in an appropriate landfill or recycled.  Currently, the estimated Class II (industrial) and Class III (municipal) landfill disposal capacity within the district is approximately 111,198 tons per day.  Since any increase in solid waste disposal from PAR 1469 construction/demolition/dismantling activities would be small, it is anticipated that existing landfill capacity in the district can accommodate this temporary increase in solid waste products.  Therefore, temporary significant solid waste impacts associated with PAR 1469 construction-related activities are not expected.

Operational Impacts

Once the HEPA filtrations systems are installed and process changes implemented (e.g., use of chemical fume suppressants), PAR 1469 could result in incremental increases in solid waste from operational activities.  Therefore, the potential adverse impacts to disposal facilities are discussed below.

HEPA Filtration Systems

To comply with PAR 1469, generation of solid/hazardous waste due to the anticipated disposal of 76 spent HEPA filters is assumed to occur every year.  As mentioned in the ‘Air Quality’ section, the typical dimensions of a HEPA filter is approximately two feet wide by two feet long by twelve inches deep or four cubic feet.  Therefore, disposal of 76 HEPA filters per year equates to approximately 304 cubic feet of hazardous waste per year, no more four cubic feet per day.  It should be noted that the amounts of solid waste generated from this process substantially overestimates solid waste impacts because HEPA filters can last up to two years or more, depending on the throughput.

There are no hazardous waste disposal sites with the district boundaries.  Hazardous waste generated at district facilities is typically disposed of at licensed in-state hazardous waste disposal facilities.  Two such facilities are the Chemical Waste Management, Inc. (CWMI) Kettleman Hills facility in Kings County and the Safety-Kleen facility in Buttonwillow in Kern County.  Kettleman Hills has an estimated 6.5 million cubic yard capacity and expects to continue receiving wastes for approximately 18 years under its current permit, or for approximately another 24 years with an approved permit modification.  Buttonwillow receives approximately 960 tons of hazardous waste per day and has a remaining capacity of approximately 10.3 million tons.  The expected life of the Buttonwillow facility is approximately 35 years.  Based upon these hazardous waste disposal capacities, the disposal of an addition 101 cubic feet of hazardous waste per year is not considered to be a significant adverse impact to existing hazardous waste disposal facilities.

Use of Chemical Fume Suppressants

Solid or hazardous waste impacts are not expected from the use of chemical fume suppressants in metal plating and anodizing tanks because chemical fume suppressants originate in a liquid rather than a solid form.  Therefore, in a liquid state, any handling, such as pretreating, recycling or disposal into the sanitary sewer system or storm drains, would constitute a water quality impact.  Refer to the analysis in the “Hydrology/Water Quality” section.

Based on the above analyses, PAR 1469 is not expected to substantially increase the volume of solid or hazardous wastes from metal finishing operations that cannot be handled by existing municipal or hazardous waste disposal facilities, or require additional waste disposal capacity.  Further, implementing PAR 1469 is not expected to interfere with any affected facility’s ability to comply with applicable local, state, or federal waste disposal regulations.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVII. TRANSPORTATION/TRAFFIC. Would the project: |  |  |  |
| a) Cause an increase in traffic which is substantial in relation to the existing traffic load and capacity of the street system (i.e., result in a substantial increase in either the number of vehicle trips, the volume to capacity ratio on roads, or congestion at intersections)? | ( | ( | ( |
| Exceed, either individually or cumulatively, a level of service standard established by the county congestion management agency for designated roads or highways? | ( | ( | ( |
| Result in a change in air traffic patterns, including either an increase in traffic levels or a change in location that results in substantial safety risks? | ( | ( | ( |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| Substantially increase hazards due to a design feature (e.g. sharp curves or dangerous intersections) or incompatible uses (e.g. farm equipment)? | ( | ( | ( |
| e) Result in inadequate emergency access or? | ( | ( | ( |
| f) Result in inadequate parking capacity? | ( | ( | ( |
| g) Conflict with adopted policies, plans, or programs supporting alternative transportation (e.g. bus turnouts, bicycle racks)? | ( | ( | ( |

XVII.a) & b)

Construction Impacts

During construction-related activities, PAR 1469 could potentially create a temporary increase in traffic in the immediate vicinity of the affected facilities during peak commute periods.  Increased traffic related to construction is related to construction worker commute trips and delivery trucks accessing the affected facilities during peak commute periods.

“Worst-case” construction-related activities associated with the implementation PAR 1469 (e.g., installation of add-on controls) is expected to generate 12 additional vehicle trips (six round trips) per facility from construction worker daily commutes.  However, these trips are temporary and are dispersed throughout the district.  These trips do not exceed the SCAQMD’s significance criteria of 350 additional trips per facility.  Further, it is not expected that 12 additional trips would increase the volume to capacity ratio of any intersections in the vicinity of the affected facility by two percent or more, which is another indicator of traffic impacts from a project.

The minor increase in commute trips is not anticipated to result in significant adverse changes to existing transit systems or transportation corridors.  Existing transit systems in the district will not be diminished, eliminated or affected in any way as a result of the implementation of PAR 1469.  Therefore, the implementation of PAR 1469 will not result in any significant adverse transportation/traffic impacts.

Operational Impacts

Once the construction-related activities cease, incremental transportation/traffic impacts are not expected from operational-related activities.  As mentioned earlier, affected facilities are not expected to hire additional personnel to operate and maintain add-on controls.  Furthermore, trips associated with the disposal of spent HEPA filters are expected to be incorporated into the current waste disposal schedule and delivery trips associated with acquiring fresh HEPA filters will occur once a year per facility.  These trips will be infrequent and dispersed throughout the district.  Therefore, additional operational-related trips are not anticipated to be significant.

In summary, PAR 1469 is not expected to significantly adversely affect circulation patterns on local roadways or the level of service at intersections near affected facilities.

XVII.c)  PAR 1469 will involve the installation of add-on controls at existing facilities.  The installed add-on controls are expected to be similar in height and appearance to the existing structures and are therefore not expected to adversely affect air traffic patterns.  Accordingly, no increase in air traffic is expected.  As a result of the project, this impact issue is not further evaluated in this Draft EA.

XVII.d)  PAR 1469 will involve the installation of add-on controls at existing facilities.  No offsite modifications to roadways are anticipated for the proposed project that would result in an additional hazard or incompatible uses.  Consequently, this impact issue is not further evaluated in this Draft EA.

XVII.e) PAR 1469 will involve the installation of add-on controls at existing facilities with no changes expected to emergency access at or in the vicinity of the affected facilities.  Therefore, the project is not expected to adversely impact emergency access and this impact issue is not further evaluated in this Draft EA.

XVII.f)  Additional parking will be required for construction workers during the construction phase of PAR 1469.  Since construction crews at the individual facilities will be small, sufficient parking space is expected to be available within the facility boundaries or on adjacent roadways.  Therefore, the project is not expected to result in inadequate offsite parking.  This impact issue is not further evaluated in this Draft EA.

XVII.g)  Facility modifications or changes associated with PAR 1469 will take place at existing facilities and will not result in conflicts with alternative transportation, such as bus turnouts, bicycle racks, etc..  Therefore, this impact issue is not further evaluated in this Draft EA.

Based upon the above considerations, PAR 1469 is not expected to generate significant adverse transportation traffic impacts and, therefore, this topic will not be considered further.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVIII. MANDATORY FINDINGS OF SIGNIFICANCE. |  |  |  |
| a) Does the project have the potential to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self-sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal or eliminate important examples of the major periods of California history or prehistory? | ( | ( | ( |
|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| Does the project have impacts that are individually limited, but cumulatively considerable? ("Cumulatively considerable" means that the incremental effects of a project are considerable when viewed in connection with the effects of past projects, the effects of other current projects, and the effects of probable future projects) | ( | ( | ( |
| c) Does the project have environmental effects that will cause substantial adverse effects on human beings, either directly or indirectly? | ( | ( | ( |

XVIII.a)  As discussed in the “Biological Resources” section, PAR 1469 is not expected to adversely affect plant or animal species or the habitat on which they rely because the affected equipment or processes are located at existing facilities in industrial or commercial areas which have already been greatly disturbed and that currently do not support such habitats.  Additionally, special status plants, animals, or natural communities are not expected to be found within close proximity to the facilities affected by PAR1469.

XVIII.b)  Based on the foregoing analyses, since PAR 1469 will not result in project-specific significant environmental impacts, implementation of PAR 1469 is not expected to cause cumulative impacts in conjunction with other projects that may occur concurrently with or subsequent to the proposed project.  Related projects to the currently proposed project include existing and proposed rules and regulations, as well as AQMP control measures, and measures identified in the ATCP.  The effects of PAR 1469 will not be "cumulatively considerable" because project-specific impacts do not exceed any significance criteria used by the SCAQMD.  For example, the environmental topics checked ‘No Impact’ (e.g., aesthetics, agriculture resources, biological resources, cultural resources, geology and soils, land use and planning, mineral resources, noise, population and housing, public services, recreation, and transportation and traffic) would not be expected to make any contribution to potential cumulative impacts whatsoever.  For the environmental topics checked ‘Less than Significant Impact’ (e.g., air quality, energy, hazards and hazardous materials, hydrology and water quality, and solid/hazardous waste), the analysis indicated that project impacts would not exceed any project-specific significance thresholds.  This conclusion is based on the fact that the analyses for each of these environmental areas concluded that the incremental effects of the proposed project would be minor and, therefore, not considered to be cumulatively considerable.  Also, in the case of air quality impacts, the net effect of implementing the proposed project with other proposed rules and regulations, AQMP control measures, and ATCP measures is an overall reduction in district-wide emissions leading to the attainment of state and national ambient air quality standards.  Therefore, the potential for significant cumulative or cumulatively considerable impacts is not further evaluated in this Draft EA.

XVIII.c)  Based on the foregoing analyses, PAR 1469 is not expected to cause adverse effects on human beings.  Significant air quality, energy, hazards and hazardous materials, hydrology and water quality, solid/hazardous waste, and transportation/traffic are not expected from the implementation of PAR 1469.  The direct impact from the proposed project, however, is a reduction of cancer risk to less than 25 in one million for most facilities affected by PAR 1469, and thus, there is an overall air quality benefit.

No impacts to aesthetics, agricultural resources, biological resources, cultural resources, geology and soils, land use/planning, mineral resources, noise, population and housing, pubic services, and recreation are expected as a result of the implementation of PAR 1469.  Therefore, these environmental issues will not be further analyzed in this Draft EA.

As discussed in items I through XVIII above, the proposed project has no potential to cause significant adverse environmental effects.

A P P E N D I X   A

P R O P O S E D   R U L E   1 4 2 6   -   E M I S S I O N S   F R O M   M E T A L

	F I N I S H I N G   O P E R A T I O N S

In order to save space and avoid repetition, please refer to the latest version of proposed Rule 1426 located elsewhere in the rule package.

The version “PR 1426 O (March 6, 2003)” of the proposed rule was circulated with the Draft Environmental Assessment that was released on March 7, 2003 for a 30-day public review and comment period ending April 8, 2003.

Original hard copies of the Draft Environmental Assessment, which include the version “PR 1426 O (March 6, 2003)” of the proposed rule, can be obtained through the SCAQMD Public Information Center at the Diamond Bar headquarters or by calling (909) 396-2039

A P P E N D I X   B

P R O P O S E D   A M E N D E D   R U L E   1 4 6 9   -   H E X A V A L E N T

C H R O M I U M   E M I S S I O N S   F R O M   C H R O M E   P L A T I N G

A N D   C H R O M I C   A C I D   A N O D I Z I N G   O P E R A T I O N S

In order to save space and avoid repetition, please refer to the latest version of proposed amended Rule 1469 located elsewhere in the rule package.

The version “PAR 1469 O (March 6, 2003)” of the proposed rule was circulated with the Draft Environmental Assessment that was released on March 7, 2003 for a 30-day public review and comment period ending April 8, 2003.

Original hard copies of the Draft Environmental Assessment, which include the version “PAR 1469 O (March 6, 2003)” of the proposed rule, can be obtained through the SCAQMD Public Information Center at the Diamond Bar headquarters or by calling (909) 396-2039.

A P P E N D I X   C

C O N S T R U C T I O N  -  R E L A T E D   E M I S S I O N S   C A L C U L A T I O N S

A.  Potential Construction Emissions Due to the Implementation of PAR 1469

| Facility Type | Total No. of Control Equipment Installed in One year | Maximum No. of Control Equipment Installed in quarter |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PAR 1469 Affected Facilities | 37 | 12 |  |  |  |  |

Construction Equipment Hours of Operation

| Construction Activity | Equipment | Pieces of | Hrs/day | Crew |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Type | Equipment |  | Size |  |  |
| Portable Equip. Operation | Air Compressor | 1 | 4.00 | 6 |  |  |
| (Actual Construction of Control Equipment) | Welder | 1 | 4.00 |  |  |  |

Construction Equipment Combustion Emission Factors

|  | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Equipment Type* | lb/BHP-hr | lb/BHP-hr | lb/BHP-hr | lb/BHP-hr | lb/BHP-hr |  |
| Air Compressor < 50 HP | 0.011 | 0.002 | 0.018 | 0.002 | 0.001 |  |
| Welder < 50 HP | 0.011 | 0.002 | 0.018 | 0.002 | 0.001 |  |
| Source: Nonroad Engine and Vehicle Study Report, EPA 460/3-91-02, November 1991 | *Assumed equipment is diesel fueled. |

Construction Equipment Ratings and Load Factors

| Equipment Type* | Rating (HP) | Load Factor (%) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Air Compressor < 50 HP | 9 | 56 |  |  |  |  |
| Welder < 50 HP | 19 | 51 |  |  |  |  |
| Source: Nonroad Engine and Vehicle Study Report, EPA 460/3-91-02, November 1991 | *Assumed equipment is diesel fueled. |

Construction Vehicle (Mobile Source) Emission Factors

| Construction Related Activity | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | lb/mile | lb/mile | lb/mile | lb/mile | lb/mile |  |
| Offsite (Construction Worker Vehicle) | 0.016559 | 0.001771 | 0.0018 | 0.000010 | 0.000113 |  |
| Offsite (Heavy Duty Delivery Truck) | 0.0232 | 0.0028 | 0.0448 | 0.00038 | 0.00077 |  |
| Source: CARB's emfac2002 v2.2, 2004 (Winter for all except CO for Construction Worker Vehicle is Annual) |

A.  Potential Construction Emissions Due to the Implementation of PAR 1469 (continued)

Construction Worker Number of Trips and Trip Length

| Vehicle | Number of One-Way | Trip Length |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Trips/Day | (miles) |  |  |  |  |
| Offsite (Construction Worker) | 6 | 20 |  |  |  |  |
| Offsite (Heavy Duty Delivery Truck) | 2 | 40 |  |  |  |  |

Incremental Increase in Onsite Combustion Emissions from Construction Equipment

Equation: Emission Factor (lb/BHP-hr) x Max No. of Equipment per quarter x Work Day (hr/day) x Equipment rating (hp) x Load Factor (%/100) = Onsite Construction Emissions (lbs/day)

|  | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Equipment Type | lbs/day | lbs/day | lbs/day | lbs/day | lbs/day |  |
| Air Compressor < 50 HP | 2.66 | 0.48 | 4.35 | 0.48 | 0.24 |  |
| Welder < 50 HP | 5.12 | 0.93 | 8.37 | 0.93 | 0.47 |  |
| Total | 7.8 | 1.4 | 12.7 | 1.4 | 0.7 |  |

Incremental Increase in Offsite Combustion Emissions from Construction Vehicles

Equation: Max. No. of Control Equipment per quarter x Emission Factor (lb/mile) x No. of One-Way Trips/Day x 2 x Trip length (mile)

= Offsite Construction Emissions (lbs/day)

|  | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Vehicle | lbs/day | lbs/day | lbs/day | lbs/day | lbs/day |  |
| Offsite (Construction Worker) | 47.690 | 5.100 | 5.184 | 0.029 | 0.325 |  |
| Offsite (Heavy Duty Delivery Truck) | 7.424 | 0.896 | 14.336 | 0.122 | 0.246 |  |
| Total | 55.1 | 6.0 | 19.5 | 0.2 | 0.6 |  |

A.  Potential Construction Emissions Due to the Implementation of PAR 1469 (concluded)

Total Incremental Combustion Emissions from Construction Activities

|  | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sources | lbs/day | lbs/day | lbs/day | lbs/day | lbs/day |  |
| Equipment & Workers' Vehicles | 63 | 7 | 32 | 2 | 1 |  |
| Significance Threshold | 550 | 75 | 100 | 150 | 150 |  |
| Exceed Significance? | NO | NO | NO | NO | NO |  |

Incremental Increase in Fuel Usage From Construction Equipment and Workers' Vehicles

|  |  |  |  |  | Construction | Worker's |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Diesel | Gasoline |
| Construction Activity | Total Hours of | Equipment | Equipment | Load Factor | Fuel Usage | Fuel Usage |
|  | Operation* | Type | HP | (%) | gal/yr** | gal/yr*** |
| Portable Equip. Operation | 240 | Air Compressor | 9 | 56 | 958 |  |
| (Actual Construction of control equip.) | 240 | Welder | 19 | 51 | 1,842 |  |
| Workers' Vehicles | N/A | Light-Duty Trucks | N/A | N/A |  | 8,640 |
|  |  | Heavy-Duty Trucks**** | N/A | N/A | 818 |  |
|  |  |  | Total |  | 2,800 | 8,640 |
| *Assume actual construction will take approximately three months (60 days/yr, 4 hrs/day). |
| **Used conversion factor of 0.066 gal/BHP-hr for diesel fired equipment. SCAQMD 1993 CEQA Air Quality Handbook. |
| ***Assume that construction workers' vehicles get 20 mi/gal and round trip length is 40 miles. |
| ****Assume that workers' vehicles for deliveries use diesel and get 4.89 mi/gal and round trip length is 80 miles. |

B.  Potential Operation Emissions Due to the Implementation of PAR 1469

| Facility Type | Total No. of Facilities Requiring Deliveries of Fresh HEPA Filters |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PAR 1469 Affected Facilities | 25 |  |  |  |  |  |

Operation Vehicle (Mobile Source) Emission Factors

| Operation Related Activity | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | lb/mile | lb/mile | lb/mile | lb/mile | lb/mile |  |
| Offsite (Truck Delivery of Fresh HEPA Filters) | 0.02309 | 0.029607 | 0.003148 | 0.000243 | 0.000961 |  |
| Source: CARB's EMFAC2002 V2.2, 2004 (Winter) |  |  |  |  |  |  |

| Worker Number of Trips and Trip Length |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| Vehicle | No. of One-Way Trips/Day | Trip Length (miles) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Offsite (Truck Delivery of Fresh HEPA Filters) | 1 | 40 |  |  |  |  |

Incremental Increase in Offsite Combustion Emissions from Transport or Delivery Vehicles

Equation: Emission Factor (lb/mile) x No. of One-Way Trips/Day x 2 x Trip length (mile) = Offsite Transport/Delivery Emissions (lbs/day)

|  | CO | VOC | NOx | SOx | PM10 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Vehicle | lbs/day | lbs/day | lbs/day | lbs/day | lbs/day |  |
| Offsite (Truck Delivery of Fresh HEPA Filters) | 1.85 | 2.37 | 0.25 | 0.02 | 0.08 |  |
| Total | 1.85 | 2.37 | 0.25 | 0.02 | 0.08 |  |

| Total Incremental Combustion Emissions from Operation Activities |  |
| --- | --- |
|  | CO | VOC | NOx | SOx | PM10 |  |
| Sources | lbs/day | lbs/day | lbs/day | lbs/day | lbs/day |  |
| Offsite Vehicles | 1.85 | 2.37 | 0.25 | 0.02 | 0.08 |  |
| Significance Threshold | 550 | 75 | 100 | 150 | 150 |  |
| Exceed Significance? | NO | NO | NO | NO | NO |  |

B.  Potential Operation Emissions Due to the Implementation of PAR 1469 (concluded)

| Incremental Increase in Fuel Usage From Offsite Vehicles |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Operation Activity | Total Hours of Operation | Equipment Type | Rating (hp) | Diesel Fuel Usage (gal/yr)** | Gasoline Fuel Usage (gal/yr) |  |
| Workers' Delivery Vehicles* | N/A | Delivery Truck | N/A | 818 | N/A |  |
|  |  |  | Total | 818 | N/A |  |
| *Assumes an additional of 1 truck delivery per year per facility. |  |
| **Assume that workers' vehicles for offsite hauling use diesel and get 4.89 mi/gal and round trip length is 80 miles. |  |

A P P E N D I X   D

O P E R A T I O N  -  R E L A T E D   E M I S S I O N S   C A L C U L A T I O N S

Operation–Related Emissions Calculations Related to Implementation of PAR 1469

Estimated Increase in VOC Emissions Due to Increased Use of Chemical Fume Suppressants

Assumptions:

  - For a worst-case calculation, all facilities are assumed to use the product ‘Fumetrol 140’ which at has been determined to have the highest VOC content (50 g/l) of any of chemical fume suppressants available on the market.

  - Based on fume suppressant manufacturer data, a fume suppressant usage rate of 0.075 liters per 10,000 ampere-hours is assumed.

  - The total estimated annual rectifier usage is a combination of actual rectifier usage data provided by each affected facility, plus a calculated adjustment to permitted rectifier usage rates for when actual data were not available.

  - The average annual operating hours for all the affected facilities is assumed to be 200 days per year.

Table D-1

Summary of Total Estimated Annual Rectifier Usage per Type of Plating Activity

| Type of Plating Activity | No. of Tanks to Start Using Chemical Fume Suppressants | Total Estimated Annual Rectifier Usage (Ampere-Hr/year) |
| --- | --- | --- |
| Hard | 40 | 199,030,152 |
| Decorative | 17 | 2,852,821 |
| Anodizing | 13 | 4,410,651 |
| Total | 70 | 206,293,624 |

Equation:

Annual Rectifier Usage (ampere-hr/year) x Fume Suppressant Usage Factor (0.075 liters of fume suppressants/10,000 ampere-hr) x Worst-case VOC content of Fume Suppressant (lb VOC/gal of fume suppressant) = Estimated Amount of VOCs to be emitted from new usage of fume suppressants per year (lb VOC/year)

Estimated Amount of VOCs to be emitted from new usage of fume suppressants = 
(206,293,624 ampere-hr/year) x (0.075 liter /10,000 ampere-hr) x (50 grams VOC/liter) x (1 pound /454 grams) =
   170 pounds VOC/year   x (1 year/  200 days) =  0.85 pounds VOC/day

A P P E N D I X  E

V E N T I L A T I O N  R A T E S  A N D 
E N E R G Y  A N D  W A T E R  C O N S U M P T I O N  F R O M
O P E R A T I O N  O F  C O N T R O L  E Q U I P M E N T

A.  Estimated Ventilation Rates for Designing New HEPA Filtrations Systems

Assumptions:

  - The surface area of each plating or anodizing tank is estimated to be sized at 36 square feet and the ventilation rate is approximately 150 cubic feet per minute (cfm) per square foot of tank surface area.

  - Based on vendor-supplied data, control systems and the individual filters are typically sized to handle either 5,000, 10,000, or 20,000 cfm.  Therefore, the calculated size of the control system is initially based on the tank surface area and then rounded to the nearest standard size relative to the number of tanks.  For example, a facility requiring controls for one tank would have a calculated ventilation rate of 5,400 cfm but it would be sized for a 5,000 cfm system to establish a designed ventilation rate.  However, if three or more tanks are vented to HEPA, the assumed filter sizes are rounded up.  Also, based on the designed ventilation rate, the number of HEPA filters required is determined by their individual capacities.  Table E-1 summarizes these assumptions.

Table E-1

Calculated and Vendor Design Ventilation Rates
and Filter Parameters for HEPA Systems

| No. of Tanks | Calculated Ventilation Rate for Entire System (cfm) | Designed Ventilation Rate for Entire System (cfm) | Estimated Total Number of HEPA Filters Needed |
| --- | --- | --- | --- |
| 1 | 5,400 | 5,000 | 1 |
| 2 | 10,800 | 10,000 | 2 |
| 3 | 16,200 | 20,000 | 4 |

  - To comply with PAR 1469, 37 new air pollution control systems venting 66 tanks at 25 facilities are expected to be installed, as summarized in Table E-2.

Table E-2

Estimated Number of HEPA Systems & Filters Needed 
Per Designed Ventilation Rate

| Designed Ventilation Rate (cfm) | No. of HEPA Systems Needed per Designed Ventilation Rate | No. of HEPA Filters Needed per Designed Ventilation Rate |
| --- | --- | --- |
| 5,000 | 20 | 20 |
| 10,000 | 6 | 12 |
| 20,000 | 11 | 44 |
| Total | 37 | 76 |

B.  Energy and Water Consumption From Operation of HEPA Filtration Systems

Total Number of Facilities:  25

Total Number of HEPA Filtration Systems Equipped with Mist Eliminators:  37

Number of Systems per Ventilation Rate:  20 – 5,000 cfm; 6 – 10,000 cfm; & 11 – 20,000 cfm

Assumptions:

- The horse-power (hp) rating of the blower/exhaust fan depends on the ventilation rate of the HEPA filtration system.  Likewise, the mist eliminator wash down rate in gallons per minute (gpm) depends on the ventilation rate.  The following blower ratings and wash down rates are assumed for the following ventilation rates:

| Ventilation Rate (cfm) | Blower Rating (hp) | Mist Eliminator Wash Down Rate (gpm) |
| --- | --- | --- |
| 5,000 | 15 | 10 |
| 10,000 | 20 | 25 |
| 20,000 | 50 | 50 |

- Electricity is used to operate the HEPA filtration systems.

- Water is used for washing down the mist eliminator.

- Independent of the ventilation rate, the operating schedule of each HEPA system is assumed to be 12 hr/day; 5 days/wk; 52 wk/yr  (3,120 hr/yr).

- Abbreviations Key:

| hp | = horsepower | W | = watt |
| --- | --- | --- | --- |
| hr | = hour | M | = mega |
| yr | = year | k | = kilo |
| wk | = week | scf | = standard cubic feet |
| lb | = pound | gpm | = gallons per minute |

5,000 cfm Systems

Facilities installing HEPA system rated at 5,000 cfm = 20

Electrical Rating = 15 hp

Wash Down Rate =  10 gpm

Total kilowatt-hours required for one 5,000 cfm system =

(15 hp) x (0.7457 kW-hr/hp-hr) x (3,120 hr/yr) = 34,899 kW-hr/yr

Total water consumption for one 5,000 cfm system =

(10 gpm) x (60 minute/hr) x (12 hr/day) = 7,200 gallons/day

# Total kW-hr for 20 facilities each equipped with a 5,000 cfm system
= (34,899 kW-hr/yr x 20) = 697,975 kW-hr/yr

# Instantaneous Electricity Used for 20 facilities equipped with a 5,000 cfm system = 
697,975 kW-hr/yr x 1 work yr/260 days x 1 work day/12 hr x 1 MW/1000 kW = 
0.224 MW

# Water Demand for 20 facilities equipped with a 5,000 cfm system = 
(7,200 gallons/day x 20) = 144,000 gallons/day

10,000 cfm Systems

# Facilities installing HEPA system rated at 10,000 cfm = 6

# Electrical Rating = 20 hp

Wash Down Rate =  25 gpm

Total kilowatt-hours required for one 10,000 cfm system =

(20 hp) x (0.7457 kW-hr/hp-hr) x (3,120 hr/yr) = 46,532 kW-hr/yr

Total water consumption for one 10,000 cfm system =

(25 gpm) x (60 minute/hr) x (12 hr/day) = 18,000 gallons/day

# Total kW-hr for 6 facilities each equipped with a 10,000 cfm system
= (46,532 kW-hr/yr x 6) = 279,190 kW-hr/yr

# Instantaneous Electricity Used for 6 facilities equipped with a 10,000 cfm system = 
279,190 kW-hr/yr x 1 work yr/260 days x 1 work day/12 hr x 1 MW/1000 kW = 
0.089 MW

# Water Demand for 6 facilities equipped with a 10,000 cfm system = 
(18,000 gallons/day x 6) = 108,000 gallons/day

20,000 cfm Systems

Facilities installing HEPA system rated at 20,000 cfm = 11

Electrical Rating = 50 hp

Wash Down Rate =  50 gpm

Total kilowatt-hours required for one 20,000 cfm system =

(50 hp) x (0.7457 kW-hr/hp-hr) x (3,120 hr/yr) = 116,329 kW-hr/yr

Total water consumption for one 20,000 cfm system =

(50 gpm) x (60 minute/hr) x (12 hr/day) = 36,000 gallons/day

# Total kW-hr for 11 facilities each equipped with a 20,000 cfm system
= (116,329 kW-hr/yr x 11) = 1,279,621 kW-hr/yr

# Instantaneous Electricity Used for 11 facilities equipped with a 20,000 cfm system = 
1,279,621 kW-hr/yr x 1 work yr/260 days x 1 work day/12 hr x 1 MW/1000 kW = 
0.410 MW

# Water Demand for 11 facilities equipped with a 20,000 cfm system = 
(36,000 gallons/day x 11) = 396,000 gallons/yr

GRAND TOTALS FOR FACILITY UNIVERSE:

Total MW-hrs per year of electricity used = 
698 MW-hrs/yr  + 279 MW-hrs/yr + 1,279 MW-hrs/yr =  2,257 MW-hrs per year

0.224  MW+ 0.089 MW + 0.410 MW = 0.723 MW  (instantaneous demand)

Total gallons per day of water used = 
144,000 + 108,000  + 396,000 = 648,000 gallons/day

A P P E N D I X  F

C O M M E N T  L E T T E R  O N  T H E  D R A F T  E A  A N D
 R E S P O N S E S  T O  T H E  C O M M E N T S

Comment Letter #1

Response to Comment Letter #1

Pacific Environmental Services, Inc.

April 2, 2003

  - The SCAQMD concurs and has corrected the Final EA to reflect the comment.

  - The commentator is correct; Benchmark products received SCAQMD approval for the fume suppressant, Benchbrite CR-1700 3X.  This product is certified at 99 percent efficiency for decorative, hard, and anodizing applications with a bath surface tension of 45 dynes per centimeter or less.  Table 1-5 has been amended to reflect this understanding.

  - According to manufacturer specifications, there are several standard sizes of typical HEPA filters used by the metal finishing industry.  The Draft EA assumed that all of the 76 filters projected in response to PAR 1469 will have the dimensions of two feet wide by two feet long by four inches deep.  The commenter indicated the depth of HEPA filters can be twelve inches deep.  To adjust for the possibility that all of the affected facilities may use the larger HEPA filters for their systems, the solid waste calculations in the Final EA have been modified to reflect the increased filter size.  This modification, however, does not change the conclusion in the analysis of air quality impacts from transporting spent filters to an appropriate disposal facility.  Similarly, the additional volume of hazardous waste resulting from increasing the size of each spent filter, will not change the conclusions regarding solid/hazardous waste impacts.

# Footnotes

The Lewis-Presley Air Quality Management Act, 1976 Cal. Stats., ch 324 (codified at Health & Safety Code, §§40400-40540).

Health & Safety Code, §40460 (a).

Health & Safety Code, §40440 (a).

This is an existing requirement that can be found in the current version of Rule 1469, paragraph (e)(1), and for clarity, has been relocated to paragraph (c)(2) of PAR 1469.

# Text boxes

1-1

1-3

1-2