## 1173-CLR
| RULE 1173 COMPONENT LEAK REPORT (FORMERLY FORM C) | [11 empty] | Please submit all Rule 1173
reports electronically to:
|  |  | YEAR: |  |  |  | QUARTER: | [5 empty] | Rule1173Reports@aqmd.gov
Facility Name: |  |  |  | Facility ID#: |  |  |  | Report Date:
Fac. Address: | [7 empty] | City/Zip:
Contact Name: |  |  |  | Phone: |  |  |  | Email:
|  | Component Data |  |  | Leak Data |  |  |  |  | Repair Data
ID | Type | Svc | Location | Date/Time | ppm | Visible Leak? | Visible Vapor? | Repair Action | Date/Time | ppm | Visible Leak? | Visible Vapor? | Comments/Notes

## Example (hidden)
| RULE 1173 COMPONENT LEAK REPORT (FORMERLY FORM C) | [11 empty] | Please submit all Rule 1173
reports electronically to:
|  |  | YEAR: | 2026 |  |  | QUARTER: | 1 (JAN-MAR) |  |  |  |  | Rule1173Reports@aqmd.gov
Facility Name: | Example Facility |  |  | Facility ID#: |  |  | 123456 | Report Date: | 2026-04-15
Fac. Address: | 21865 Copley Dr | [6 empty] | City/Zip: | Diamond Bar, CA 91765
Contact Name: | John Doe, Environmental Specialist |  |  | Phone: |  |  | (800) 555-1212 | Email: | jdoe@examplefacility.com
|  | Component Data |  |  | Leak Data |  |  |  |  | Repair Data
ID | Type | Svc | Location | Date/Time | ppm | Visible Leak? | Visible Vapor? | Repair Action | Date/Time | ppm | Visible Leak? | Visible Vapor? | Comments/Notes
Example 1: Visible vapor found with OGI, repaired, verified with OGI
207159.00 | Valve | G/V | Cellar 1, A-713 | 2026-01-09 09:52 | N/A | N/A | Yes | Greased | 2026-01-09 10:00 | N/A | N/A | No | None
Example 2: Visible vapor found with OGI, repaired, verified with analyzer
A146.13 | Fitting (Connector) | G/V | AGP, A1PU | 2026-01-09 10:15 | N/A | N/A | Yes | Tightened | 2026-01-09 10:20 | 5 | N/A | N/A | None
Example 3: Leak found with analyzer, repaired, verified with OGI. Note: for leak found with analyzer, component must be verified with analyzer to be under leak standard per Rule 1173(g)(2)(B)
B246.01 | Other (Meter) | G/V | Cellar 2, B-123 | 2026-01-09 10:30 | 25000 | N/A | N/A | Tightened | 2026-01-09 10:35 | 5000 | N/A | No | Meter ordered
NOTE: for Example 3 above, after initial repair, additional repair needed to bring under leak standard
B246.01 | Other (Meter) | G/V | Cellar 2, B-123 | Reinspection | 5000 | N/A | No | Replaced meter | 2026-01-19 09:15 | 5 | N/A | N/A | None
Example 4: Leak found with analyzer, repaired, verified with analyzer
123456.03 | Pump | HL | AGP, A1PU | 2026-01-09 10:40 | 300 | N/A | N/A | Serviced | 2026-01-09 11:00 | 12.4 | N/A | N/A | None
Example 5: Visible Leak
C345.03 | Fitting (Flange) | LL | LPG RACK 2" 1.7 | 2026-01-10 09:10 | N/A | Yes | N/A | Tightened | 2026-01-10 09:15 | N/A | No | N/A | None

## Data Validation (hidden)
Component Type | Service | Visible | Quarter
Valve | G/V | N/A | 1 (JAN-MAR)
Fitting (Flange) | LL | Yes | 2 (APR-JUN)
Fitting (Connector) | HL | No | 3 (JUL-SEP)
Pump |  |  | 4 (OCT-DEC)
Compressor
PRD (Atmos Proc)
PRD (non-AP)
Fin Fan
Other (Diaphragm)
Other (Hatch)
Other (Sight-glass)
Other (Meter)
Note on B2: gas/vapor
Note on B3: Light Liquid
Note on B4: Heavy Liquid
Note on A7: Atmospheric Process Pressure Relief Device
Note on A8: non-Atmospheric Process Pressure Relief Device